## Instructions for Use
AAFS Standards Resources and Training
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions, an on-demand training webinar and instructional videos.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASB 113-2023, 1st Ed.
ANSI ASB 113-2023 First Edition
Standard for Identification Criteria in Forensic Toxicology
Discipline: | Toxicology
Checklist version: | V1
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Requirements | 4 | Section Title
Background | 4.1 | Section Title
Background | 4.1.1 | Requirement | Toxicological examinations typically begin with screening techniques that rule out the presence of analytes or indicate if further testing is warranted. Screening techniques shall have limits of detection for analytes of interest.
Background | 4.1.2 | Informational Text | Historically, confirmation of presumptive positive screening results was accomplished using different chemistries or techniques.
Background | 4.1.3 | Informational Text | The combination of the data obtained from all techniques for a given matrix contributes to the identification of an analyte. For the purposes of identification, data obtained for a given matrix (e.g., blood, vitreous, or kidney) collected from different anatomic sites may be combined.
Background | 4.1.4 | Informational Text | A wide array of techniques and instrumentation exist within forensic toxicology laboratories for the identification of an analyte. Different techniques offer a range of identification potential. The purpose of this document is to establish a rating system for comparing and contrasting different identification techniques. Each technique is assigned a point value based on its specificity. Techniques can be combined to achieve a total score that meets or exceeds predefined criteria for identification.
Background | 4.1.5 | Recommendation | Although one hyphenated instrumental technique (e.g., LC-MS/MS) may be sufficient to achieve identification, this alone does not ensure the reliability, reproducibility, quality, and integrity of results. As a matter of good laboratory practice, two aliquots of the same or different matrices from the same subject should be independently analyzed.
Background | 4.1.6 | Informational Text | While mass spectrometry techniques are commonly used in forensic toxicology for analyte identification, this document does not mandate the use of mass spectrometry. However, in general, mass spectrometry techniques afford more specificity.
Analytical Methods | 4.2 | Section Title
Validation | 4.2.1 | Requirement | All analytical methods used to generate identification points shall be properly validated to meet the requirements of ANSI/ASB Standard 036, Standard Practices for Method Validation in Forensic Toxicology (2019) and demonstrate they are fit-for-purpose.
Chromatography | 4.2.2 | Requirement | At least one chromatographic or electrophoretic separation technique, including a concurrently analyzed reference standard/positive control of the analyte of interest, shall be performed to achieve identification. Chromatographic or electrophoretic acceptability criteria (retention time, peak shape, resolution, signal to noise) shall be specified in the validated analytical method and shall be met for analyte identification. Identification points for chromatographic and electrophoretic separations are only awarded when a reference standard/positive control is concurrently analyzed.
Point System Identification | 4.3 | Section Title
General Requirements | 4.3.1 | Section Title
General Requirements | 4.3.1.1 | Requirement | To identify an analyte, a minimum of four (4) points shall be achieved by combining no more than three different techniques on a specific matrix. ⎯ Hyphenated techniques count as one technique (e.g., GC-NPD, GC-MS, LC-MS/MS). ⎯ If mass spectrometry is not utilized, at least two different chromatographic separations shall be performed to alter the separation of target analytes and/or interferences.
General Requirements | 4.3.1.2 | Requirement | Each identified analyte in each matrix shall independently meet the minimum point criteria. For example, identification points obtained from an immunoassay of blood do not apply to the identification point total for an analyte in a urine sample from the same case.
General Requirements | 4.3.1.3 | Informational Text | Repetition of the same technique on the same matrix does not earn additional points toward the total needed for identification. For example, repeating the same GC-MS analysis of blood does not earn additional points for an identification.
General Requirements | 4.3.1.4 | Requirement | Identification points from an analytical scheme shall only be combined based on the specificity of any given test, as demonstrated by method validation. ⎯ A blood specimen analyzed by ELISA detects the presence of cannabinoids. Points are only allowed for those cannabinoids with sufficient cross-reactivity. During method validation, only carboxy-THC was determined to have sufficient cross-reactivity. A GC-MS analysis confirms the presence of carboxy-THC in the blood specimen, but also detects THC. The points for the ELISA may be used toward the identification of carboxy-THC, but not the THC. ⎯ A blood specimen analyzed by ELISA detects the presence of benzodiazepines. A LC-MS/MS analysis confirms the presence of two different benzodiazepines in the blood specimen: alprazolam and diazepam. During method validation, both drugs demonstrated sufficient cross-reactivity in the benzodiazepine immunoassay. The points for the ELISA may be used toward the identification of both the alprazolam and diazepam. ⎯ A urine specimen analyzed by full scan GC-MS detects only a quetiapine metabolite (norquetiapine) using a spectral library match. A LC-MS/MS analysis confirms the presence of norquetiapine in the urine specimen, but also detects the parent drug, quetiapine, and another metabolite, hydroxyquetiapine. The points for the initial full scan GC-MS may be used toward the identification of norquetiapine, but not toward quetiapine and hydroxyquetiapine.
General Requirements | 4.3.1.5 | Requirement | Specific identification of an isomeric compound shall meet the minimum point requirements of this document (e.g., escitalopram, d-amphetamine). Unless differentiation is achieved, it is only acceptable to identify the mixed isomeric compound (e.g., amphetamine or d/l-amphetamine, methorphan or dextro/levomethorphan).
Assignment of Points to Specific Techniquesc | 4.3.2 | Section Title | c According to 4.2.2, in order to achieve minimum identification criteria, a chromatographic or electrophoretic separation technique and a minimum of four (4) points shall be required.
Non-Mass Spectrometric Techniques | Table | Section Title | Non-Mass Spectrometric Techniques, Points earned
Non-Mass Spectrometric Techniques | Table | Requirement | Colorimetric Tests (e.g., Fujiwara, Diphenylamine, TLC Visualization Techniques, Trinders), 0.5
Non-Mass Spectrometric Techniques | Table | Requirement | Non-instrument Immunoassay (e.g., Dipstick, Lateral flow immunoassay cards, Urine cup), 0.5
Non-Mass Spectrometric Techniques | Table | Requirement | Instrument Immunoassay (e.g., ELISA, EMIT, CEDIA, KIMS), 1
Non-Mass Spectrometric Techniques | Table | Requirement | Chromatographic or Electrophoretic Separationd, 1 d According to 4.2.2, identification points for chromatographic and electrophoretic separations are only awarded when a reference standard/positive control is concurrently analyzed.
Non-Mass Spectrometric Techniques | Table | Requirement | Each Non-selective Detector (e.g., FID, TCD, UV), 0.5
Non-Mass Spectrometric Techniques | Table | Requirement | Each Selective Detector (e.g., NPD, DAD, ECD, Fluorescence), 1
Non-Chromatographic Mass Spectrometric Techniques | Table | Section Title | Non-Chromatographic Mass Spectrometric Techniquese, Points earned e According to 4.5.6, no more than two points shall be awarded for non-chromatographic mass spectrometry techniques.
Non-Chromatographic Mass Spectrometric Techniques | Table | Requirement | Low Resolution MS (e.g., DART, LDTD, direct infusion), 1
Non-Chromatographic Mass Spectrometric Techniques | Table | Requirement | High Resolution MS (e.g., DART, LDTD, direct infusion), 2
Non-Chromatographic Mass Spectrometric Techniques | Table | Requirement | MSn (e.g., DART, LDTD, direct infusion), 2
Chromatographic Techniques with Mass Spectrometric Ion Monitoring | Table | Section Title | Chromatographic Techniques with Mass Spectrometric Ion Monitoring , Points earned
Chromatographic Techniques with Mass Spectrometric Ion Monitoring | Table | Requirement | Chromatographic or Electrophoretic Separationc, 1 c According to 4.2.2, in order to achieve minimum identification criteria, a chromatographic or electrophoretic separation technique and a minimum of four (4) points shall be required.
Chromatographic Techniques with Mass Spectrometric Ion Monitoring | Table | Requirement | Low Resolution MS, 1 per ion
Chromatographic Techniques with Mass Spectrometric Ion Monitoring | Table | Requirement | Low Resolution MSn, precursor product ion transition, 2 per ion transition
Chromatographic Techniques with Mass Spectrometric Ion Monitoring | Table | Requirement | High Resolution MS 2.5 per ion,
Chromatographic Techniques with Mass Spectrometric Ion Monitoring | Table | Requirement | High Resolution MSn, precursor product ion transition, 3 per ion transition
Chromatographic Techniques with Mass Spectral Library Matching | Table | Section Title | Chromatographic Techniques with Mass Spectral Library Matchingf , Points earned f According to 4.5.3, mass spectrometry library matches shall meet pre-defined library match criteria as specified in the validated analytical method.
Chromatographic Techniques with Mass Spectral Library Matching | Table | Requirement | Chromatographic or Electrophoretic Separationc, 1 c According to 4.2.2, in order to achieve minimum identification criteria, a chromatographic or electrophoretic separation technique and a minimum of four (4) points shall be required.
Chromatographic Techniques with Mass Spectral Library Matching | Table | Requirement | Low Resolution Full Scan, 2
Chromatographic Techniques with Mass Spectral Library Matching | Table | Requirement | Low Resolution MSn, product ion spectrum, 3
Chromatographic Techniques with Mass Spectral Library Matching | Table | Requirement | High Resolution Full Scan, 3.5
Chromatographic Techniques with Mass Spectral Library Matching | Table | Requirement | High Resolution MSn, product ion spectrum, 4
Chromatographic Requirements | 4.4 | Section Title
Chromatographic Requirements | 4.4.1 | Informational Text | Chromatography performed on different stationary phases receives one point for each column chemistry.
Chromatographic Requirements | 4.4.2 | Informational Text | Chromatography performed on the same stationary phase employing two different detection techniques is awarded one point for the chromatography and additional points for each detection technique. For example, the same chemistry column with FID and NPD detection would be awarded 2.5 points.
Mass Spectrometry Requirements | 4.5 | Section Title
Mass Spectrometry Requirements | 4.5.1 | Requirement | When two or more diagnostic MS ions are measured, ion ratio acceptability criteria shall be met as specified in ANSI/ASB Standard 098, Standard for Mass Spectral Data Acceptance in Forensic Toxicology (2023).
Mass Spectrometry Requirements | 4.5.2 | Requirement | When points are awarded for ion transitions, the product ions can derive from the same (e.g., a single precursor ion yields two different product ions) or different precursor ions (e.g., two different precursor ions yield the same or different product ions). All precursor and product ions are required to be diagnostic per ANSI/ASB Standard 098, Standard for Mass Spectral Data Acceptance in Forensic Toxicology (2023).
Mass Spectrometry Requirements | 4.5.3 | Requirement | When spectral library searches are conducted, the results shall meet or exceed a predefined match factor that is documented in the laboratory’s standard operating procedures and meet the criteria specified in ANSI/ASB Standard 098, Standard for Mass Spectral Data Acceptance in Forensic Toxicology (2023).
Mass Spectrometry Requirements | 4.5.4 | Informational Text | When ions are acquired in the full scan mode, points may only be awarded for either the library match or extracted ion ratios.
Mass Spectrometry Requirements | 4.5.5 | Informational Text | Ionization processes such as electron ionization, electrospray ionization, chemical ionization, atmospheric pressure chemical ionization, and atmospheric pressure photoionization are considered different techniques. Points awarded for a specific ionization process may only be awarded for either the full scan or the selected ion monitoring mode, but not both. Points for both single- and multi-stage mass spectrometry with the same ionization process are allowed, provided different ions are monitored in each technique.
Mass Spectrometry Requirements | 4.5.6 | Informational Text | For non-chromatographic MS and MSn techniques, a maximum of two points is permitted, regardless of the number of monitored ions.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed |  | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics