## Instructions for Use
AAFS Standards Resources and Training
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions, an on-demand training webinar and instructional videos.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASB 156-2023 1st Ed
ANSI ASB 156-2023 First Edition
Best Practices for Specimen Collection and Preservation for Forensic Toxicology
Discipline: | Toxicology
Checklist version: | V1
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
General Specimen Handling Guidelines | 4 | Section Title
General Specimen Handling Guidelines | 4.1 | Recommendation | All specimens should be collected and handled using universal precautions.
General Specimen Handling Guidelines | 4.2 | Recommendation | As a general rule, specimens should not be collected in expired tubes. It is recognized, however, that the expiration date may not reflect the suitability of a particular collection tube.
General Specimen Handling Guidelines | 4.3 | Recommendation | Except in postmortem cases, blood specimens should be collected using aseptic techniques and a suitable non-alcohol based antiseptic (e.g., povidone-iodine, hydrogen peroxide, aqueous chlorhexidine).
General Specimen Handling Guidelines | 4.4 | Recommendation | Specimens should be stored in containers that mitigate leakage and limit the headspace above any fluid. Containers should be checked for a tight seal before transport.
General Specimen Handling Guidelines | 4.5 | Recommendation | Unless otherwise specified in this document, specimens should be collected and stored in glass or plastic containers. Consult with the laboratory for any potential effects the type of container may have on a specific drug or toxin. If specimens stored in glass are to be frozen, care must be taken to mitigate the potential loss of specimen due to breakage (e.g., plastic sleeve around container).
General Specimen Handling Guidelines | 4.5 | Recommendation | For collection tubes containing additives (e.g., anticoagulants and/or preservatives): a) the presence and labeled identity of any additive should be visually confirmed prior to collection, and b) capped tubes should be inverted a minimum of eight times immediately after collection.
General Specimen Handling Guidelines | 4.7 | Recommendation | Tubes containing a gel separator (e.g., orange, red/gray, gold, light green, green/gray) should not be used.
General Specimen Handling Guidelines | 4.8 | Requirement | Head hair should be cut as close to the scalp as possible (do not pull). Collect one lock, approximately ¼ in. (6.35 mm) in diameter, about the size of a pencil, from the crown of the head. If hair is less than 1.5 in. (38.1 mm) in length, collect additional locks for a larger specimen. After collecting hair, secure the bundle(s) with foil or paper to maintain orientation. The proximal (root) end(s) should be designated and kept together.
General Specimen Handling Guidelines | 4.9 | Requirement | Containers shall be labeled with sufficient information to link the specimen to a specific individual. The specimen type (e.g., heart blood), date and time of collection, and identity of the collector should also be provided to the laboratory (e.g., on the label, in a requisition form, within chain of custody documentation).
General Specimen Handling Guidelines | 4.1 | Recommendation | Unless immediately transported, specimens should be stored following the guidelines in the tables below.
General Specimen Handling Guidelines | 4.11 | Recommendation | Specimens should be sealed in a secondary container and transported in a timely manner to the laboratory.
General Specimen Handling Guidelines | 4.12 | Recommendation | Specimens should be packaged to prevent damage during transport (e.g., protect tubes in Styrofoam sleeves or other protective material).
Responsibilities of the Forensic Toxicology Laboratory | 5 | Section Title
Responsibilities of the Forensic Toxicology Laboratory | 5.1 | Recommendation | Laboratories should provide instructions to customers regarding specimen collection and storage criteria based on the scope of testing. This may include storage conditions and timelines that could minimize degradation.
Responsibilities of the Forensic Toxicology Laboratory | 5.2 | Recommendation | Laboratories should inform customers of any test-specific requirements regarding specimen collection beyond the tables in this document.
Responsibilities of the Forensic Toxicology Laboratory | 5.3 | Recommendation | Laboratories should inform customers of the reason(s) they have rejected a specimen for analysis.
Responsibilities of the Forensic Toxicology Laboratory | 5.4 | Requirement | When results may have been compromised by inappropriate use of specimen containers or storage conditions (e.g., vitreous chemistry profile requested on a specimen collected in a gray top container), the current version of ANSI/ASB Standard 053 Standard for Report Content in Forensic Toxicology shall be followed for reporting requirements.
Responsibilities of the Forensic Toxicology Laboratory | 5.5 | Recommendation | Laboratories should inform customers under what circumstances a specimen may be consumed during testing.
Human Performance Toxicology | 6 | Section Title
Common Specimens for Human Performance Toxicology | Table 1 | Informational Text | Table 1 lists the common specimens that may be submitted for human performance toxicological testing. Specimen; Recommended Minimum Amount; Preservatives/Collection Information; Storage
Common Specimens for Human Performance Toxicology | Table 1 | Recommendation | Specimen: Whole Blood Recommended Minimum Amount: 2 x 10 mL Preservatives/Collection Information: Sodium Fluoride: 1% to 2%; Potassium Oxalate: 0.2% (e.g., gray top tube); Immediately invert* * See Section 4, General Specimen Handling Requirements Storage: ≤ 80C
Common Specimens for Human Performance Toxicology | Table 1 | Recommendation | Specimen: Urine Recommended Minimum Amount: 20 mL Preservatives/Collection Information: Either no preservative or 1% to 2% sodium fluoride Storage ≤ 80C
Common Specimens for Human Performance Toxicology | Table 1 | Recommendation | Specimen: Oral Fluid Recommended Minimum Amount: Based on device requirements Preservatives/Collection Information: Follow device requirements for collection; Entire device to be submitted to the laboratory Storage: ≤ 80C
Common Specimens for Human Performance Toxicology | Table 1 | Recommendation | Specimen: Head or Body Hair Recommended Minimum Amount: 100 mg Preservatives/Collection Information: Secure bundle(s); Identify root end of hair* * See Section 4, General Specimen Handling Requirements Storage: Room temperature
Postmortem Toxicology | 7 | Section Title
Common Specimens for Postmortem Toxicology | Table 2 | Informational Text | Table 2 is not all encompassing of the specimen types that may be collected in a postmortem investigation (e.g., bone, meconium, etc.); contact laboratory for specific collection requirements. Specimen; Recommended Minimum Amount; Preservatives/Collection Information; Storage
Common Specimens for Postmortem Toxicology | Table 2 | Recommendation | Specimen: Central (e.g., Heart, Subclavian, Inferior Vena Cava) Blood Recommended Minimum Amount: 20 mL* * If multiple blood specimens are collected within a case, when available, a minimum total volume should be 20 mL. Preservatives/Collection Information: Sodium Fluoride: 1% to 2%; Potassium Oxalate: 0.2% (e.g., gray top tube); Immediately invert** ** See Section 4, General Specimen Handling Requirements Storage: ≤ 80C
Common Specimens for Postmortem Toxicology | Table 2 | Recommendation | Specimen: Peripheral (Femoral, Iliac) Blood Recommended Minimum Amount: 20 mL* * If multiple blood specimens are collected within a case, when available, a minimum total volume should be 20 mL. Preservatives/Collection Information: Sodium Fluoride: 1% to 2%; Potassium Oxalate: 0.2% (e.g., gray top tube); Immediately invert** ** See Section 4, General Specimen Handling Requirements Storage: ≤ 80C
Common Specimens for Postmortem Toxicology | Table 2 | Recommendation | Specimen: Hematoma Recommended Minimum Amount: All Available Preservatives/Collection Information: No Preservative Storage: ≤ 80C
Common Specimens for Postmortem Toxicology | Table 2 | Recommendation | Specimen: Decomposition Fluid or Chest Cavity Blood/Fluid Recommended Minimum Amount: 20 mL Preservatives/Collection Information: Sodium Fluoride: 1% to 2%; Potassium Oxalate: 0.2% (e.g., gray top tube); Immediately invert** ** See Section 4, General Specimen Handling Requirements Storage: ≤ 80C
Common Specimens for Postmortem Toxicology | Table 2 | Recommendation | Specimen: Urine Recommended Minimum Amount: 20 mL Preservatives/Collection Information: No preservative or 1% to 2% sodium fluoride Storage: ≤ 80C
Common Specimens for Postmortem Toxicology | Table 2 | Recommendation | Specimen: Vitreous Humor Recommended Minimum Amount: All available, collect from each eye (Both eyes can be combined) Preservatives/Collection Information: No preservative Storage: ≤ 80C
Common Specimens for Postmortem Toxicology | Table 2 | Recommendation | Specimen: Tissue (e.g., Liver, Brain, Muscle, Lung) Recommended Minimum Amount: 15 g Preservatives/Collection Information: No preservative Storage: ≤ 80C
Common Specimens for Postmortem Toxicology | Table 2 | Recommendation | Specimen: Gastric Contents Recommended Minimum Amount: 10 mL of a representative sample (document total volume) Preservatives/Collection Information: No preservative Storage: ≤ 80C
Common Specimens for Postmortem Toxicology | Table 2 | Recommendation | Specimen: Bile Recommended Minimum Amount: 5 mL Preservatives/Collection Information: No preservative Storage: ≤ 80C
Common Specimens for Postmortem Toxicology | Table 2 | Recommendation | Specimen: Antemortem Specimens Recommended Minimum Amount: All available Preservatives/Collection Information: Storage: ≤ 80C
Common Specimens for Postmortem Toxicology | Table 2 | Recommendation | Specimen: Head or Body Hair Recommended Minimum Amount: 100 mg Preservatives/Collection Information: Secure bundle(s); Identify root end of hair** ** See Section 4, General Specimen Handling Requirements Storage: Room temperature
Common Specimens for Postmortem Toxicology | Table 2 | Recommendation | Specimen: Nail Recommended Minimum Amount: Excise the entire nail(s) taking care not to collect skin tissue Preservatives/Collection Information: Place each nail in a separate envelope and designate the anatomic origin (e.g., left index finger) Storage: Room temperature
Common Specimens for Postmortem Toxicology | Table 2 | Recommendation | Specimen: Entomological Specimens (e.g., Maggots) Recommended Minimum Amount: 15 g Preservatives/Collection Information: No preservative Storage: ≤ 80C
Court‐Ordered Toxicological Testing | 8 | Section Title
Common Specimens for Court‐Ordered Toxicology | Table 3 | Informational Text | Table 3 lists the common specimens that may be submitted for court-ordered toxicological testing. Specimen; Recommended Minimum Amount; Preservatives/Collection Information; Storage
Common Specimens for Court‐Ordered Toxicology | Table 3 | Recommendation | Specimen: Urine Recommended Minimum Amount: 45 mL Preservatives/Collection Information: No preservative Storage: ≤ 80C
Common Specimens for Court‐Ordered Toxicology | Table 3 | Recommendation | Specimen: Oral Fluid Recommended Minimum Amount: Based on device requirements Preservatives/Collection Information: Follow device requirements for collection; Entire device to be submitted to the laboratory Storage: ≤ 80C
Common Specimens for Court‐Ordered Toxicology | Table 3 | Recommendation | Specimen: Head or Body Hair Recommended Minimum Amount: 100 mg Preservatives/Collection Information: Secure bundle(s); Identify root end of hair* *See Section 4, General Specimen Handling Requirements. Storage: Room temperature
Non‐Regulated Occupational Testing | 9 | Section Title
Common Specimens for Non‐Regulated Occupational Testing | Table 4 | Informational Text | Table 4 lists the common specimens that may be submitted for non-regulated occupational testing. Specimen; Recommended Minimum Amount; Preservatives/Collection Information; Storage
Common Specimens for Non‐Regulated Occupational Testing | Table 4 | Recommendation | Specimen: Urine Recommended Minimum Amount: 45 mL Preservatives/Collection Information: No preservative Storage: ≤ 80C
Common Specimens for Non‐Regulated Occupational Testing | Table 4 | Recommendation | Specimen: Oral Fluid Recommended Minimum Amount: Based on device requirements Preservatives/Collection Information: Follow device requirements for collection; Entire device to be submitted to the laboratory Storage: ≤ 80C
Common Specimens for Non‐Regulated Occupational Testing | Table 4 | Recommendation | Specimen: Body or Head Hair Recommended Minimum Amount: 100 mg Preservatives/Collection Information: Secure bundle(s); Identify root end of hair* *See Section 4, General Specimen Handling Requirements. Storage: Room temperature
Suspected Poisoning Toxicology | 10 | Section Title
Common Specimens for Toxicological Testing in Suspected Poisonings | Table 5 | Requirement | Table 5 lists the common specimens that may be submitted for toxicological testing in suspected poisonings. Contact the laboratory before collecting any specimen to determine the appropriate specimen, preservative and collection information, and storage requirements based on the suspected poison. Specimen; Recommended Minimum Amount; Preservatives/Collection Information; Storage
Common Specimens for Toxicological Testing in Suspected Poisonings | Table 5 | Recommendation | Specimen: Whole Blood Recommended Minimum Amount: 10 mL Preservatives/Collection Information: Contact laboratory for specific requirements based on suspected poison Storage: ≤ 80C
Common Specimens for Toxicological Testing in Suspected Poisonings | Table 5 | Recommendation | Specimen: Serum Recommended Minimum Amount: 10 mL Preservatives/Collection Information: Separate serum from other blood components within two hours (e.g., red top tube) DO NOT USE A SEPARATOR GEL Storage: ≤ 80C
Common Specimens for Toxicological Testing in Suspected Poisonings | Table 5 | Recommendation | Specimen: Plasma Recommended Minimum Amount: 10 mL Preservatives/Collection Information: EDTA or another anticoagulant (e.g., purple top tube); Separate plasma from other blood components within two hours; DO NOT USE A SEPARATOR GEL Storage: ≤ 80C
Common Specimens for Toxicological Testing in Suspected Poisonings | Table 5 | Recommendation | Specimen: Urine Recommended Minimum Amount: 10 mL Preservatives/Collection Information: No preservative Storage: ≤ 80C
Infant or Child Welfare | 11 | Section Title
Common Specimens for Toxicological Testing in Infant and Child Welfare | Table 6 | Informational Text | Table 6 lists the common specimens that may be submitted for toxicological testing in infant and child welfare cases. Specimen; Recommended Minimum Amount; Preservatives/Collection Information; Storage
Common Specimens for Toxicological Testing in Infant and Child Welfare | Table 6 | Recommendation | Specimen: Urine Recommended Minimum Amount: 10 mL Preservatives/Collection Information: No preservative Storage: ≤ 80C
Common Specimens for Toxicological Testing in Infant and Child Welfare | Table 6 | Recommendation | Specimen: Umbilical Cord Recommended Minimum Amount: 6-in. segment Preservatives/Collection Information: No preservative; Avoid contact with ethyl alcohol Storage: ≤ 80C
Common Specimens for Toxicological Testing in Infant and Child Welfare | Table 6 | Recommendation | Specimen: Body or Head Hair Recommended Minimum Amount: 100 mg Preservatives/Collection Information: Secure bundle(s); Identify root end of hair* *See Section 4, General Specimen Handling Requirements. Storage: Room temperature
Common Specimens for Toxicological Testing in Infant and Child Welfare | Table 6 | Recommendation | Specimen: Fingernails, Toenails Recommended Minimum Amount: 100 mg to 200 mg Preservatives/Collection Information: Place in an envelope and designate the anatomic origin (e.g., left index finger); Do not combine clippings from fingernails and toenails Storage: Room temperature
Common Specimens for Toxicological Testing in Infant and Child Welfare | Table 6 | Recommendation | Specimen: Meconium Minimum Amount: 3 g to 5 g Preservatives/Collection Information: No preservative; Avoid contact with ethyl alcohol Storage: ≤ 80C
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed |  | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics