## Instructions for Use
AAFS Standards Resources and Training
This checklist is made possible through the following financial assistance award 70NANB24H078 awarded to AAFS from U.S. Department of Commerce, National Institute of Standards and Technology Each checklist is specific to a version of a standard, which is hyperlinked in the checklist. Not all sections of a standard are included in a checklist. A checklist is a supplementary tool and should not be used independently. To properly use a checklist, reference the complete standard. Go to https://www.nist.gov/organization-scientific-area-committees-forensic-science/access-standards for information on how to access published standards. A checklist does not provide interpretation guidance. If you have questions related to interpretation, please contact the standard developing organization (SDO). The SDO may have standard specific training available.
A checklist can be used for one or both of the following purposes: • to evaluate the implementation of a standard, or • to audit (internal or external) conformance with requirements in the standard and an FSSP’s management system
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions and an on-demand training webinar.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASB 136-2026 1st Ed
ANSI/ASB 136-2026 First Edition
Forensic Laboratory Standard for Prevention, Monitoring, and Mitigation of Human DNA Contamination
Discipline: | Biology/DNA
Checklist version: | V1
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Requirements | 4 | Section Title
General | 4.1 | Requirement | The laboratory shall develop and follow appropriate documented laboratory procedures and policies to address each of the requirements in this standard. The DNA technical leader (or equivalent role, position, or title as designated by the laboratory) shall ensure the laboratory follows all requirements.
Physical Requirements for Laboratory Areas, Evidence Processing, Reagents, Consumables, Storage, and Personal Protective Equipment | 4.2 | Section Title
Physical Requirements for Laboratory Areas, Evidence Processing, Reagents, Consumables, Storage, and Personal Protective Equipment | 4.2.1 | Requirement | Access to laboratory areas shall be restricted to authorized individuals to reduce the risk of introducing extraneous DNA into work areas and samples.
Physical Requirements for Laboratory Areas, Evidence Processing, Reagents, Consumables, Storage, and Personal Protective Equipment | 4.2.2 | Requirement | The laboratory shall have separate work areas with dedicated equipment and supplies for pre- and post-PCR activities to reduce the risk of introducing amplified DNA into samples. Pre-PCR includes all activities prior to the amplification of the DNA. Post-PCR includes PCR and all activities involving amplified DNA.
Physical Requirements for Laboratory Areas, Evidence Processing, Reagents, Consumables, Storage, and Personal Protective Equipment | 4.2.2.1 | Requirement | Separation of pre- and post-PCR areas shall be accomplished by use of physical barriers (this requires floor-to-ceiling walls and closed doors).
Physical Requirements for Laboratory Areas, Evidence Processing, Reagents, Consumables, Storage, and Personal Protective Equipment | 4.2.2.2 | Requirement | Equipment, tools, and supplies dedicated to post-amplification areas shall not be moved outside the post-amplification area without first being decontaminated.
Physical Requirements for Laboratory Areas, Evidence Processing, Reagents, Consumables, Storage, and Personal Protective Equipment | 4.2.2.3 | Requirement | Separate personal protective equipment shall be dedicated to and worn in pre- and post-amplification areas.
Physical Requirements for Laboratory Areas, Evidence Processing, Reagents, Consumables, Storage, and Personal Protective Equipment | 4.2.3 | Requirement | Evidence shall be stored in pre-PCR areas separate from reagents, consumables, and work products.
Physical Requirements for Laboratory Areas, Evidence Processing, Reagents, Consumables, Storage, and Personal Protective Equipment | 4.2.4 | Requirement | Evidence and evidence derivative /work product shall be packaged and handled in a manner to minimize the transfer of biological material. An analyst shall only handle one evidence item or derivative/work product at a time. NOTE See The Biological Evidence Preservation Handbook: Best Practices for Evidence Handler for additional information
Physical Requirements for Laboratory Areas, Evidence Processing, Reagents, Consumables, Storage, and Personal Protective Equipment | 4.2.5 | Requirement | Separate storage areas shall exist for reagents, consumables, DNA extracts, and PCR products.
Physical Requirements for Laboratory Areas, Evidence Processing, Reagents, Consumables, Storage, and Personal Protective Equipment | 4.2.5.1 | Requirement | Applicable reagents, consumables, and DNA extracts shall be stored separately in pre-PCR areas.
Physical Requirements for Laboratory Areas, Evidence Processing, Reagents, Consumables, Storage, and Personal Protective Equipment | 4.2.5.2 | Requirement | Applicable reagents, consumables, and PCR products shall be stored separately in post-PCR areas.
Physical Requirements for Laboratory Areas, Evidence Processing, Reagents, Consumables, Storage, and Personal Protective Equipment | 4.2.6 | Requirement | The laboratory shall arrange the working environment to mitigate potential contamination.
Physical Requirements for Laboratory Areas, Evidence Processing, Reagents, Consumables, Storage, and Personal Protective Equipment | 4.2.7 | Requirement | The laboratory shall have and follow a written, regularly scheduled decontamination procedure to include laboratory areas, items to be decontaminated, and decontamination frequency. The decontamination schedule shall be determined by volume, frequency, and nature of use.
Physical Requirements for Laboratory Areas, Evidence Processing, Reagents, Consumables, Storage, and Personal Protective Equipment | 4.2.8 | Requirement | The laboratory shall have and follow a written, regularly scheduled DNA contamination monitoring program. The results from the program shall be documented and made available for inspection upon request.
Physical Requirements for Laboratory Areas, Evidence Processing, Reagents, Consumables, Storage, and Personal Protective Equipment | 4.2.9 | Requirement | When possible, the laboratory shall purchase reagents and consumables from a manufacturer compliant with the current version of ISO 18385.
Physical Requirements for Laboratory Areas, Evidence Processing, Reagents, Consumables, Storage, and Personal Protective Equipment | 4.2.10 | Requirement | The laboratory shall institute procedures to minimize the possibility of contamination from laboratory equipment, glassware, reagents, and consumables. These procedures may include UV irradiation, ethylene oxide treatments, and bleach (or commercial equivalent) treatments, as appropriate.
Physical Requirements for Laboratory Areas, Evidence Processing, Reagents, Consumables, Storage, and Personal Protective Equipment | 4.2.11 | Requirement | The laboratory shall have a system to track reagent lot numbers and consumables to assist in the investigation of a contamination event.
Procedural Requirements | 4.3 | Section Title
Procedural Requirements | 4.3.1 | Requirement | The laboratory shall define and use appropriate decontamination and/or cleaning agents, or procedures for each method, technology, tool and instrument, and laboratory area.
Procedural Requirements | 4.3.1.1 | Requirement | Decontamination agents or procedures known to destroy DNA shall be used as appropriate on the items and surfaces being cleaned.
Procedural Requirements | 4.3.2 | Requirement | The laboratory shall have procedures and policies for the proper disposal of post-PCR waste.
Procedural Requirements | 4.3.2.1 | Requirement | Post-PCR waste shall not be stored in pre-PCR spaces.
Procedural Requirements | 4.3.2.2 | Requirement | Post-PCR waste shall not be transported through pre-PCR areas without adequate precautions (e.g., double bagging).
Procedural Requirements | 4.3.3 | Requirement | The laboratory shall have procedures and policies to reduce potential contamination events during evidence and evidence derivative/work product processing to include the following requirements: a) the use of personal protective equipment; b) the decontamination of work surfaces and examination tools that are not single use with decontamination and/or cleaning agents or processes before new evidentiary items are examined; c) handle and package evidence and evidence derivative/work product to limit the possibility of contamination; d) limit the opening and examination to one item of evidence at a time at each workstation; e) separate in time or space the processing of reference samples from evidentiary items; f) examine potential high template evidence (e.g., blood, semen, saliva) separately in time or space and independently from potential low-template evidence (e.g., trace amounts of DNA), when possible; g) have validated procedures to mitigate the contamination risk associated with concurrently extracting high template DNA and low template DNA evidence NOTE See SWGDAM Contamination Prevention and Detection Guidelines for Forensic DNA Laboratories for detailed steps on how to evaluate and mitigate contamination.
Procedural Requirements | 4.3.4 | Requirement | For non-databasing laboratories, the separation by time or space used for requirements 4.3.3 e) and f) shall be defined in the laboratory protocol.
Procedural Requirements | 4.3.5 | Requirement | The choice of time or space shall be supported by validation data.
Procedural Requirements | 4.3.6 | Requirement | The laboratory shall document in the case record when items of evidence are received packaged together and how they were packaged.
Procedural Requirements | 4.3.7 | Requirement | The laboratory shall perform quality checks of extraction and PCR reagents prior to use in forensic DNA analysis to monitor for contamination.
Procedural Requirements | 4.3.8 | Requirement | The laboratory shall use positive and negative controls for the detection of contamination. NOTE A negative control in DNA testing is used to detect contamination introduced into the assay during the testing process via reagents, disposables, or handling errors (which may impact the results observed from samples tested at the same time). The use of negative controls helps assess the overall robustness of the testing process but cannot be used to determine whether a particular sample is free from contamination.
Procedural Requirements | 4.3.9 | Requirement | The laboratory shall document, maintain, and periodically evaluate a log containing exogenous DNA (contamination) found in any sample or control.
Procedural Requirements | 4.3.9.1 | Requirement | This log shall include the source of the contamination (if known), step of processing in which the contamination likely occurred, and other information that would inform procedures to prevent future contamination events.
Procedural Requirements | 4.3.9.2 | Requirement | This log shall be made available for inspection upon request.
Procedural Requirements | 4.3.10 | Requirement | The laboratory shall maintain and use a searchable DNA elimination database to detect contamination of casework and database samples. These searches shall occur for every interpretable/comparable DNA profile obtained, and all results shall be documented in the case record. Exceptions can be made and shall be documented.
Procedural Requirements | 4.3.10.1 | Requirement | At a minimum, this database shall include biology/DNA staff and positive control samples from donors and kits, contamination elimination profiles such as unknown DNA profiles obtained from negative or positive controls, or profiles that have been putatively assigned as possible contaminant profiles (e.g., from consumables). To the extent possible, typing shall use the same genetic markers/amplification test kit(s) utilized by the laboratory. Where possible, the laboratory shall include profiles from any DNA laboratory visitors and individuals who are involved in the collection and handling of evidence, work samples, reagents, equipment, or consumables (e.g., staff, agency personnel, janitorial staff and other associated workers such as medical examiners, law enforcement, sexual assault nurses, service personnel, laboratory vendors, and employees involved in any criminal proceedings who may have handled evidence in post-conviction cases).
Procedural Requirements | 4.3.10.2 | Requirement | Collection and confidentiality of DNA profiles within the elimination database shall follow applicable laws and regulations.
Procedural Requirements | 4.3.10.3 | Requirement | DNA elimination database profiles shall be added in a defined timeframe in order to maximize the potential of detecting a contamination event.
Procedural Requirements | 4.3.11 | Requirement | The laboratory shall conduct intra-batch comparisons (i.e., samples processed concurrently) to detect contamination in a defined timeframe.
Procedural Requirements | 4.3.12 | Requirement | The laboratory shall assess the occurrence of contamination and its possibility when conducting a validation project (internal or developmental), and determine the extent of decontamination/cleaning necessary for reagents, consumables, surfaces, tools, equipment, and sample set up, etc., to produce acceptable genetic data.
Procedural Requirements | 4.3.12.1 | Requirement | The laboratory shall include the contamination assessment and underlying data in the validation documentation.
Procedural Requirements | 4.3.12.2 | Requirement | The laboratory shall conduct a contamination assessment when a laboratory method/technology is modified.
Procedural Requirements | 4.3.13 | Requirement | If the laboratory uses probabilistic genotyping software, or other software, the laboratory shall use such software within its validated capabilities to detect contamination in casework and database samples to include: a) searching all interpretable/comparable mixtures, single source profiles, or deduced profiles to profiles contained within the DNA elimination database; b) performing mixture-to-mixture comparisons to detect common sources; c) performing contamination and cross-contamination checks; d) performing batch comparisons; e) determining a likelihood ratio threshold value (or defined threshold value for laboratories using non-probabilistic genotyping software) to report for comparisons to an elimination database.
Procedural Requirements | 4.3.14 | Recommendation | The threshold value should be documented in the case record.
Procedural Requirements | 4.3.15 | Requirement | Suspected contamination events shall be investigated and referenced or documented within the case record or sample record.
Procedural Requirements | 4.3.16 | Requirement | When contamination is identified, a root cause analysis shall be conducted, documented, and referenced within the case record or sample record.
Procedural Requirements | 4.3.17 | Requirement | Records of contamination events shall be maintained in accordance with the laboratory's documented retention schedule and applicable laws/regulations in a centralized manner that allows such events to be tracked across cases/batches and over time. Tracking information shall include a general description of the event, identifying information (date, case number, individuals involved), and outcome.
Procedural Requirements | 4.3.18 | Requirement | The laboratory shall have and follow protocols requiring reporting and communicating contamination events to customers including legal parties (e.g., prosecution and defense), if known.
Corrective Measures | 4.4 | Section Title
Corrective Measures | 4.4.1 | Requirement | The laboratory shall mitigate and address the impact of the contamination event. The type of corrective measure shall be determined by the root cause analysis.
Corrective Measures | 4.4.2 | Requirement | The laboratory shall, at a minimum, have policies and protocols defining when each action is warranted and documented: a) suspension of casework; b) decontamination; c) review of casework; d) reevaluation of procedures/protocols; e) retraining.
Personnel and Training Requirements | 4.5 | Section Title
Personnel and Training Requirements | 4.5.1 | Requirement | Personnel defined by the laboratory shall receive documented practical training to include the detection and minimization of contamination.
Personnel and Training Requirements | 4.5.2 | Requirement | The laboratory shall have and follow documented policies and protocols to include: a) use of personal protective equipment; b) handling and packaging of evidence and evidence derivatives; c) cleaning and decontamination; d) quality control measures used to detect and minimize contamination; and e) documentation, investigation, and reporting of contamination events.
Requirements Specific to Use of Rapid DNA Instruments and Consumables in a Laboratory | 4.6 | Section Title
Requirements Specific to Use of Rapid DNA Instruments and Consumables in a Laboratory | 4.6.1 | Requirement | All previous requirements outlined in this document shall be followed.
Requirements Specific to Use of Rapid DNA Instruments and Consumables in a Laboratory | 4.6.2 | Requirement | Except as provided in 4.6.3, Rapid DNA instrumentation and cartridges/chips shall be maintained in dedicated spaces away from other laboratory areas used for evidence and DNA extract storage, examination, and testing, including rooms containing amplified DNA.
Requirements Specific to Use of Rapid DNA Instruments and Consumables in a Laboratory | 4.6.3 | Requirement | If maintained inside a room containing amplified DNA, the sample cartridge/chip shall be loaded in an area that does not contain amplified DNA.
Requirements Specific to Use of Rapid DNA Instruments and Consumables in a Laboratory | 4.6.4 | Requirement | Rapid DNA consumables shall be monitored for extraneous DNA through the use of positive and negative controls per lot.
Requirements Specific to Use of Rapid DNA Instruments and Consumables in a Laboratory | 4.6.5 | Requirement | Personal protective equipment shall be worn while preparing samples for and using Rapid DNA instrumentation.
Requirements Specific to Use of Rapid DNA Instruments and Consumables in a Laboratory | 4.6.6 | Requirement | Lot numbers for Rapid DNA consumables shall be recorded and monitored.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed | Clause involves options; this option was not chosen | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Forensic Document Examination
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics