## Instructions for Use
AAFS Standards Resources and Training
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions, an on-demand training webinar and instructional videos.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ASB 110-2020 1st Ed
ASB 110-2020 First Edition
Standards for Training in Forensic Serological Methods
Discipline: | Biology/DNA
Checklist version: | V1.1
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Requirements | 4 | Section Title
General | 4.1 | Section Title
General | 4.1.1 | Requirement | The laboratory shall have a documented training program for qualifying all personnel that will conduct and report forensic serological examinations.
General | 4.1.2 | Requirement | All personnel processing potential biological evidence shall have documentation of successful completion of the training program before being authorized to perform forensic casework.
General | 4.1.3 | Requirement | The training program shall be overseen by the technical designee. Qualified individual(s) designated by the technical designee shall perform training.
General | 4.1.4 | Requirement | The training program for personnel conducting and reporting biological fluid examinations shall define the technical skills and knowledge required to perform forensic serological analysis. The training provided to each trainee shall be applicable to the individual’s job responsibilities.
General | 4.1.5 | Requirement | Each area of instruction shall have an objective(s) documented in the training program.
General | 4.1.6 | Requirement | Examination(s) (e.g., written test, oral test, and/or laboratory practical exercise) shall be defined and administered in order to measure the trainee’s knowledge. Each examination shall be graded according to laboratory policy. Final conformance and authorization of independence of a trainee shall be determined and documented by the technical designee.
General | 4.1.7 | Requirement | Supporting documentation of an individual’s previous training and experience in biological fluid examination shall be recorded and used to assess if modifications to the training program can be made. Any modifications shall be documented by the technical designee.
General | 4.1.8 | Requirement | Expectations regarding satisfactory progression through the training program and performance on competency test(s) shall be provided to the trainee.
General | 4.1.9 | Requirement | A competency test shall be successfully completed for the range of forensic serological examinations that will be performed regardless of previous experience.
General | 4.1.10 | Requirement | For personnel who had an integral role in the validation sufficient to master the technical skills, concepts and knowledge pertaining to the validation, the technical designee may allow the validation to serve as the competency test in this method of serological analysis. The technical designee shall document the level of involvement of the individual in the validation to indicate how it applies to the individual’s job responsibilities.
Knowledge-based Training | 4.2 | Section Title
Knowledge-based Training | 4.2.1 | Requirement | The laboratory’s training program shall provide the trainee with an understanding of the fundamental principles of forensic serological methods, the function of the reagents and other components used in each method, the limitations of each method, and the laboratory’s own forensic serological protocols.
Knowledge-based Training | 4.2.2 | Requirement | At a minimum, the knowledge-based portion of the training program shall require review of the following: a) the laboratory’s protocols for forensic serological methods, including technical and administrative review process; b) the laboratory’s applicable validation studies; c) literature used to support validation and the test methods in the laboratory; d) applicable literature as assigned by the trainer; e) general understanding of forensic serology testing and its impact on other forensic disciplines.
Knowledge-based Training | 4.2.3 | Requirement | At a minimum, the knowledge-based portion of the training program shall cover the following topics: NOTE Knowledge of historical methods is intended to provide an educated perspective on current methods. a) the fundamentals of serological testing and the composition of body fluids; b) mechanisms of biological fluid examinations to include visual and chemical analyses; c) information regarding test specificity and limits of detection for presumptive and confirmatory testing; d) the analytical information involved in establishing which assay to use (e.g. size of stain, age of stain); e) the proper preservation of biological material to include safety, handling, packaging, storing, and chain of custody procedures to maintain the integrity of the evidence; f) limitations of the methodology.
Practical Training | 4.3 | Section Title
Practical Training | 4.3.1 | Requirement | The laboratory’s training program shall provide the trainee with sufficient practical instruction for the trainee to obtain the skills for successfully performing forensic serological methods used by the laboratory. This shall be done by a combination of direct observation, mock testing, and supplemented with case file review as necessary.
Practical Training | 4.3.2 | Requirement | At a minimum, the practical portion of the training program shall include the observation of the process at least once or until clearly understood, representative of the range, type, and complexity of routine casework samples processed by the laboratory. These include: a) DNA forensic serological methods to be utilized by the trainee; b) sample selection methods necessary to permit downstream DNA analysis; c) the preferred order in which serological tests should be applied to evidence as per laboratory policy; d) the interpretation of the serological examination results, including the interpretation of appropriate controls; e) reporting of serological examination results according to laboratory policy; f) proper documentation of the process.
Practical Training | 4.3.3 | Requirement | At a minimum, the practical portion of the training program shall include exercises representative of the range, type, limits of detection, and complexity of casework samples processed by the laboratory. These include: a) forensic serological methods to be utilized by the trainee; b) evaluation of controls and expected results; c) proper documentation of the process; d) the number and quality of samples processed by the trainee shall be appropriate to demonstrate the ability to follow the laboratory’s forensic serological method protocol(s) and documentation protocol(s), and produce reliable and accurate results.
Competency Testing | 4.4 | Section Title
General | 4.4.1 | Requirement | Prior to performing work in any area of the knowledge-based or technical areas of the training program, the trainee shall successfully complete the competency test(s). The assigned competency testing shall be based on the individual’s job responsibilities and the extent to which they will participate in forensic serological examination. The competency test(s) shall establish that the trainee has the knowledge, skill, and ability required to perform the assigned job responsibilities.
Knowledge-based Competency | 4.4.2 | Requirement | The trainee shall successfully complete a knowledge-based competency test covering the critical information obtained during the training of forensic serological examinations. The test(s) shall cover, at a minimum: a) the theoretical and scientific basis of forensic serology to include false positive and false negative results; b) the function of the reagents and other components used in each method; c) the proper application of each method and strategy for use; d) the quality control steps pertaining to forensic serological examinations, including the evaluation of controls; e) the laboratory’s analytical procedures pertaining to forensic serological methods.
Practical Competency | 4.4.3 | Requirement | The trainee shall successfully complete a practical test covering each of the forensic serological examination methods for which he or she will be independently authorized to perform. Samples of known type will be used. The trainee shall be able to satisfactorily perform the following, as applicable: a) properly and accurately execute the analytical procedures related to forensic serological examinations without contaminating the samples; b) apply the laboratory’s analytical procedures to a variety of evidentiary casework type samples; c) operate relevant equipment and instrumentation used in the laboratory; d) correctly document work performed in accordance with laboratory procedures.
Conformance | 5 | Requirement | In order to demonstrate conformance with this standard, the laboratory shall have the following. a) A documented training program which includes the following. 1) A written training manual covering all validated technologies and methodologies currently used by the laboratory as well as all of the forensic serological procedures to be performed by laboratory personnel. 2) Documentation of the knowledge and technical skills required to perform forensic serological examinations. 3) Documentation of the training activities and competency testing to be completed prior to performing forensic serological examinations. b) Documented approval of the training program by the technical designee as required by laboratory policy prior to implementation by the laboratory. c) Records of successful completion of training activities and competency test(s) for each trainee prior to performing forensic serological analysis. The records shall include any modifications made to the individual’s training plan and documented approval of the modifications by the technical designee. All training activities for each trainee shall be documented and records retained. The technical designee shall review and approve the training records for completeness. d) Documented acknowledgement from the technical designee that each individual has demonstrated the knowledge, skills, and ability to perform the assigned job responsibilities as they apply to forensic serological examinations.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed |  | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics