## Instructions for Use
AAFS Standards Resources and Training
This checklist is made possible through the following financial assistance award 70NANB24H078 awarded to AAFS from U.S. Department of Commerce, National Institute of Standards and Technology Each checklist is specific to a version of a standard, which is hyperlinked in the checklist. Not all sections of a standard are included in a checklist. A checklist is a supplementary tool and should not be used independently. To properly use a checklist, reference the complete standard. Go to https://www.nist.gov/organization-scientific-area-committees-forensic-science/access-standards for information on how to access published standards. A checklist does not provide interpretation guidance. If you have questions related to interpretation, please contact the standard developing organization (SDO). The SDO may have standard specific training available.
A checklist can be used for one or both of the following purposes: • to evaluate the implementation of a standard, or • to audit (internal or external) conformance with requirements in the standard and an FSSP’s management system
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions and an on-demand training webinar.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## OSAC Proposed Std 2022-S-0041
OSAC Proposed Standard 2022-S-0041, Version 2.0
Best Practice Recommendations for Internal Validation of DNA Extraction Methods
Discipline: | Biology/DNA
Checklist version: | V1
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Recommendations | 4 | Section Title
Considerations for Validation studies | 4.1 | Section Title
Considerations for Validation studies | 4.1.1 | Recommendation | The experiments designed to characterize a new extraction method should include defining the range of samples for which it is suitable (including concordance evaluation), the limits of yield produced from different sample types, and if the susceptibility to contamination is within a range deemed acceptable by the laboratory.
Considerations for Validation studies | 4.1.2 | Recommendation | If the experiments are designed to compare a new extraction method with an existing method in use by the laboratory, then comparative studies should be performed using statistical means to evaluate DNA yields for specific sample types expected to be extracted using the new chemistry, the ranges of DNA yields for different biological quantities, and if the susceptibility to contamination is similar to the current method.
Considerations for Validation studies | 4.1.3 | Recommendation | Reagent blank controls should be extracted concurrently and tested with all sample sets throughout the validation process.
Considerations for Validation studies | 4.1.4 | Recommendation | Applicable DNA quantitation and amplification controls should be tested with all sample sets.
Considerations for Validation studies | 4.1.5 | Recommendation | Calibration and/or maintenance status of the laboratory instrumentation used should be verified prior to sample analysis to ensure the systems are operating optimally and within manufacturer’s parameters.
Considerations for Validation studies | 4.1.6 | Recommendation | Biological samples with known genotypes should be used where possible.
Considerations for Validation studies | 4.1.7 | Informational Text | The suitability of a DNA extraction method for its intended use need not be solely defined by sensitivity, yield, or quality. For example, the extraction method used for buccal reference samples may not optimize yield or DNA quality; however, it may perform sufficiently well for that specific application to be deemed acceptable.
Considerations for Validation studies | 4.1.8 | Recommendation | Additional experiments should be performed if any modifications are made to the DNA extraction method, which could affect results (e.g., addition of chemicals beyond what is included in vendor kits, addition of bovine serum albumin (BSA), change in incubation times, change to the number of wash steps, etc.).
Considerations for Validation studies | 4.1.9 | Recommendation | Additional experiments should be performed if any modifications are made to consumables used during the DNA extraction method, which could affect the results (e.g., introduction of lyse and spin tubes).
Considerations for Validation studies | 4.1.10 | Recommendation | Differential extraction methods should be evaluated to determine the effectiveness of the method for minimizing carryover between sperm and non-sperm fractions and ensuring DNA yields are maintained as determined during sensitivity evaluation.
Considerations for Validation studies | 4.1.11 | Recommendation | Data should be compared with previously internally or externally validated methods or published results (e.g., proficiency test consensus profile, NIST Standard Reference Material (SRM), or purchased sample with published results), when possible.
Considerations for Validation studies | 4.1.12 | Informational Text | Consistent preparation of sample replicates is needed to minimize variation.
Defining Acceptance Criteria | 4.2 | Section Title
Defining Acceptance Criteria | 4.2.1 | Informational Text | Requirement from Standard NOTE: Refer to section 4.2 of the Standard for Internal Validation of DNA Extraction Methods. “The laboratory shall design experiments and define acceptance criteria, where applicable, based, at a minimum, on the requirements listed in 4.3 through 4.8 below.”
Defining Acceptance Criteria | 4.2.2 | Recommendation | Objective The purpose of defining acceptance criteria is to establish a list of objectives in validating a particular procedure and determining if that procedure fulfills the objectives and is suitable for use. Ideally this should be established prior to the study being performed, however objectives can be changed based on findings.
Defining Acceptance Criteria | 4.2.3 | Section Title | Considerations
Defining Acceptance Criteria | 4.2.3.1 | Informational Text | Failing to meet a pre-defined objective may not be grounds for rejecting an extraction method.
Defining Acceptance Criteria | 4.2.3.2 | Recommendation | A brief justification should be provided as to why the extraction method itself should not be rejected.
Defining Acceptance Criteria | 4.2.3.3 | Informational Text | Objectives may include procedural improvements such as efficiency, use of resources, cost, time savings, ease of use or application, and others, rather than simply DNA yield.
Defining Acceptance Criteria | 4.2.4 | Section Title | Implementation
Defining Acceptance Criteria | 4.2.4.1 | Informational Text | Objectives are defined for each validation task, if applicable.
Defining Acceptance Criteria | 4.2.5 | Recommendation | An evaluation of the results should be performed upon completion of each task/study to determine if the pre-defined acceptance criteria were met (if applicable). This evaluation may differ according to each task/study performed.
Concordance | 4.3 | Section Title
Concordance | 4.3.1 | Informational Text | Requirement from Standard NOTE: Refer to section 4.3 and its sub-sections of the Standard for Internal Validation of DNA Extraction Methods. “The laboratory shall demonstrate concordance by comparison to published developmental validation results or previously developed internal validation data.”
Concordance | 4.3.2 | Informational Text | Objective The purpose of concordance testing is to demonstrate agreement between the DNA typing results obtained from the DNA extraction method compared to previous results.
Concordance | 4.3.3 | Section Title | Considerations
Concordance | 4.3.3.1 | Informational Text | Concordance may be confirmed through a stand-alone experiment or the use of data generated from another experiment within the internal validation.
Concordance | 4.3.3.2 | Informational Text | Concurrent comparison of the new extraction method to previously validated methods can inform the laboratory if differences in results are due to the extraction procedures or downstream variables and its general applicability.
Concordance | 4.3.4 | Section Title | Experimental Method
Concordance | 4.3.4.1 | Requirement | Quantify the amount of DNA purified using the new extraction method and perform DNA typing on all samples.
Concordance | 4.3.4.2 | Recommendation | Concordance should be evaluated by comparing the DNA typing results of the DNA extraction method to the results from a previously internally or externally validated method or published results (e.g., proficiency test consensus profile, NIST Standard Reference Material (SRM) or purchased sample with published results).
Concordance | 4.3.5 | Section Title | Data Analysis and Results
Concordance | 4.3.5.1 | Recommendation | A comparison of observed DNA typing results to the known values should be performed.
Concordance | 4.3.5.2 | Recommendation | Observed discordance should be documented and if possible, a reason provided. Discordance might be the production of a partial profile instead of the expected complete profile for a sample with sufficient DNA quantity.
Concordance | 4.3.6 | Section Title | Implementation
Concordance | 4.3.6.1 | Informational Text | Observed discordance may not invalidate the concordance study. NOTE: Common reasons for discordance may include analysis of samples in the stochastic range, a null allele resulting from a primer binding site mutation, a difference in allele call due to different PCR primer sets, or a different method of fragment separation affecting resolution or migration.
References and Casework-like Samples | 4.4 | Section Title
References and Casework-like Samples | 4.4.1 | Informational Text | Requirement from Standard NOTE: Refer to section 4.4 and its sub-sections of the Standard for Internal Validation of DNA Extraction Methods. “The laboratory shall evaluate the DNA extraction method using known references, casework-like samples, and substrates representative of those typically analyzed by the testing laboratory.”
References and Casework-like Samples | 4.4.2 | Informational Text | Objective The purpose of testing representative samples is to assess the performance of the extraction method using different sample types, collection methods, and substrates to reflect those commonly submitted for laboratory analysis, including inhibited, degraded, or otherwise challenging samples.
References and Casework-like Samples | 4.4.3 | Section Title | Considerations
References and Casework-like Samples | 4.4.3.1 | Recommendation | This experiment should be used to assess whether the new DNA extraction method is fit for purpose through comparison with another validated DNA extraction method or developmental validation.
References and Casework-like Samples | 4.4.3.1.1 | Informational Text | When a laboratory performs a statistical assessment, then quantitative metrics such as DNA yield and number of alleles obtained may be used for comparative analyses with the current extraction method. Statistical assessment may involve comparative tests such as Student's t-test, standard deviation, or %CV. A Bonferroni correction may be performed.
References and Casework-like Samples | 4.4.3.1.2 | Informational Text | If a laboratory performs a qualitative assessment, then it may be solely assessed based on the DNA profile obtained (i.e., completeness of the profile, peaks above stochastic threshold, etc.), or a DNA concentration threshold, etc.
References and Casework-like Samples | 4.4.3.2 | Recommendation | The DNA extraction method being validated should generate reproducible results for pristine samples and consistent results for challenged samples. For example, if a sample with known inhibitors present (a challenged sample) is extracted with the new extraction method, yet PCR inhibition is still observed, the experiment will have demonstrated that the new method does not remove that inhibitor efficiently.
References and Casework-like Samples | 4.4.3.3 | Recommendation | Preparation of inhibited and adulterated sample sets should include control samples prepared using the same source of biological material without the inhibitor/adulterant to ensure comparable data sets.
References and Casework-like Samples | 4.4.3.4 | Informational Text | This experiment can assist in identifying optimal extraction volumes, weights, inputs, and/or appropriate sampling strategies for some extraction substrates.
References and Casework-like Samples | 4.4.4 | Section Title | Experimental Method
References and Casework-like Samples | 4.4.4.1 | Recommendation | The laboratory should quantify the amount of DNA and perform DNA typing on all samples.
References and Casework-like Samples | 4.4.4.2 | Recommendation | The testing laboratory should analyze known and case-type samples representing those expected to be encountered by the laboratory for casework using the DNA extraction method. Samples should include the following: a) single source samples; b) samples containing more than one contributor in varying template amounts; c) diverse biological sample types (e.g., blood, saliva, semen); d) inhibited samples (e.g., heme and humic acid) where the concentration of the inhibitor, if known, should be used at quantities known to cause inhibition; e) adulterated samples (e.g., latent print processing reagents, gun oil); f) degraded samples, including differential degradation in mixed samples; g) different substrates (e.g., cotton, denim, synthetic fabrics, cotton swabs, paper); h) different DNA collection methods (e.g., swabbing, tape-lift, cuttings).
References and Casework-like Samples | 4.4.5 | Section Title | Data Analysis and Results
References and Casework-like Samples | 4.4.5.1 | Recommendation | The amount of DNA recovered should be compared to expected quantities from previous methods, if applicable, or purchased standards that provide an expected range of yields.
References and Casework-like Samples | 4.4.5.2 | Recommendation | DNA results from samples should be compared to any previous results, where applicable (e.g., the numbers of alleles, other quantitative profile comparisons).
References and Casework-like Samples | 4.4.5.3 | Informational Text | A laboratory may define that the new extraction method must produce yields for specific sample types within a range of that produced by the current method.
References and Casework-like Samples | 4.4.5.4 | Recommendation | If comparison with a previous method and using the same samples is not possible, then comparison with validation data from the previous method using similar samples should be performed.
References and Casework-like Samples | 4.4.5.5 | Recommendation | The method’s ability to remove or mitigate PCR inhibition should be determined through the evaluation of the DNA quantitation and typing results.
References and Casework-like Samples | 4.4.6 | Recommendation | Implementation The results from this experiment should be used to develop laboratory procedures for use in casework or databank operations.
Inhibition and Degradation | 4.5 | Section Title
Inhibition and Degradation | 4.5.1 | Informational Text | Requirement from Standard NOTE: Refer to section 4.5 and its sub-sections of the Standard for Internal Validation of DNA Extraction Methods. “The laboratory shall determine the susceptibility of the DNA extraction method to cause degradation or to inhibit PCR amplification.”
Inhibition and Degradation | 4.5.2 | Informational Text | Objective The purpose of this experiment is to determine if the DNA extraction method introduces inhibition or causes degradation.
Inhibition and Degradation | 4.5.3 | Section Title | Considerations
Inhibition and Degradation | 4.5.3.1 | Informational Text | Quantitation methods that provide information related to sample degradation or inhibition may assist in sample evaluation.
Inhibition and Degradation | 4.5.3.2 | Informational Text | While an extraction method may lead to degradation or inhibition, this may be variable based on the extraction method being evaluated and thus degradation and inhibition may not always be detected.
Inhibition and Degradation | 4.5.4 | Section Title | Experimental Method
Inhibition and Degradation | 4.5.4.1 | Recommendation | The laboratory should quantify the amount of DNA and perform DNA typing on all samples.
Inhibition and Degradation | 4.5.4.2 | Recommendation | Samples should be single-source DNA samples of good quality and not limited in concentration, i.e., pristine samples.
Inhibition and Degradation | 4.5.4.3 | Informational Text | DNA extracts that appear to show inhibition may be re-amplified and the new amplification reaction spiked with high-quality DNA, such as a commercial positive control, to demonstrate that the high quality, exogenous DNA is also inhibited by the DNA extract. Also, a dilution of the inhibited DNA extract may be performed to demonstrate that it can be successfully amplified.
Inhibition and Degradation | 4.5.5 | Recommendation | Data Analysis and Results DNA quantitation and/or typing results should be evaluated to determine if any adverse effect is observed that may be attributable to the extraction chemistry (e.g., signal reduction, partial or complete inhibition, allelic or locus dropout). Either quantitative or qualitative analyses can be performed.
Inhibition and Degradation | 4.5.6 | Recommendation | Implementation The data from this experiment should inform the laboratory as to the applicability of this extraction method to case samples and also if modifications to the extraction may need to be implemented.
Sensitivity | 4.6 | Section Title
Sensitivity | 4.6.1 | Informational Text | Requirement from Standard NOTE: Refer to section 4.6 of the Standard for Internal Validation of DNA Extraction Methods. “The laboratory shall conduct a sensitivity study to determine the limits of the DNA extraction method for obtaining DNA sufficient for analysis.”
Sensitivity | 4.6.2 | Informational Text | Objective The purpose of sensitivity studies is to assess the ability of the extraction method to yield reliable results from biological samples containing a range of DNA quantities.
Sensitivity | 4.6.3 | Recommendation | Considerations High-quality samples should be used (i.e., samples that are not degraded or inhibited).
Sensitivity | 4.6.4 | Section Title | Experimental Method
Sensitivity | 4.6.4.1 | Recommendation | Serial dilutions of single source biological material consisting of at least three concentrations should be extracted in triplicate.
Sensitivity | 4.6.4.2 | Requirement | At least one of the biological sample types targeted for use with the new method shall be tested from a minimum of two different individuals.
Sensitivity | 4.6.5 | Section Title | Data Analysis and Results
Sensitivity | 4.6.5.1 | Requirement | Evaluate the DNA typing results from replicate extractions to determine at what sample dilution a full DNA profile is no longer obtained and when the DNA profile obtained is no longer interpretable.
Sensitivity | 4.6.5.2 | Requirement | Compare the DNA typing results from replicate extractions to determine consistency of the DNA extraction method.
Sensitivity | 4.6.5.2.1 | Requirement | Compare recovered quantities with previous methods, if possible, to determine if the method has comparable performance.
Sensitivity | 4.6.5.2.2 | Recommendation | If comparison with a previous method using the same samples is not possible, then comparison with validation data from the previous method using similar samples should be performed.
Sensitivity | 4.6.6 | Recommendation | Implementation The laboratory should evaluate the DNA yields to determine the suitability for use with casework for the sample types tested. For example, if the new extraction method fails to generate sufficient DNA for a specific type of sample (e.g., blood), but appears to perform efficiently for other samples, that information should inform the laboratory about the new method’s suitability for the variety of sample types for which it is intended.
Reproducibility and Repeatability | 4.7 | Section Title
Reproducibility and Repeatability | 4.7.1 | Informational Text | Requirement from standard NOTE: Refer to section 4.7 of the Standard for Internal Validation of DNA Extraction Methods. “The laboratory shall determine the precision (i.e., the reproducibility and repeatability) of the DNA extraction method by calculating the average DNA yields or concentrations and standard deviations.”
Reproducibility and Repeatability | 4.7.2 | Informational Text | Objective The purpose of this study is to demonstrate that the method consistently yields comparable quantities of DNA with minimal operator-to-operator and/or instrument-to-instrument variability, if applicable, when used for the same type and amount of sample, and when performed using the same equipment.
Reproducibility and Repeatability | 4.7.3 | Recommendation | Considerations Samples should be homogeneous to the extent possible.
Reproducibility and Repeatability | 4.7.4 | Section Title | Experimental Method
Reproducibility and Repeatability | 4.7.4.1 | Recommendation | Samples should be single-source DNA of good quality and not limited in concentration.
Reproducibility and Repeatability | 4.7.4.2 | Recommendation | The laboratory should quantify all samples.
Reproducibility and Repeatability | 4.7.4.3 | Recommendation | The laboratory should determine the reproducibility of the method through repeated tests by different individuals and instruments, where applicable.
Reproducibility and Repeatability | 4.7.4.4 | Recommendation | The laboratory should determine the repeatability of the method through repeated tests by the same individual.
Reproducibility and Repeatability | 4.7.5 | Section Title | Data Analysis and Results
Reproducibility and Repeatability | 4.7.5.1 | Recommendation | A comparison of DNA quantitation values should be performed.
Reproducibility and Repeatability | 4.7.5.2 | Recommendation | The range, mean and standard deviation values for the concentration of DNA in the extracted product should be calculated.
Reproducibility and Repeatability | 4.7.5.3 | Recommendation | The laboratory should evaluate inconsistencies in DNA concentrations, such as when a DNA concentration is greater than two standard deviations from the mean.
Reproducibility and Repeatability | 4.7.6 | Recommendation | Implementation The laboratory should evaluate the data and determine if the method produces reproducible results and suitability for use with casework.
Contamination | 4.8 | Section Title
Contamination | 4.8.1 | Informational Text | Requirement from standard NOTE: Refer to section 4.8 and its sub-sections of the Standard for Internal Validation of DNA Extraction Methods. “The laboratory shall determine the susceptibility of the DNA extraction method to the introduction of exogenous DNA during the extraction process. The samples shall be taken through the complete DNA typing process.”
Contamination | 4.8.2 | Informational Text | Objective The purpose of the contamination study is to inform the laboratory as to the susceptibility of the DNA extraction method to the introduction of exogenous DNA originating from reagents, consumables, laboratory personnel, instrumentation, workflow, and environment.
Contamination | 4.8.3 | Section Title | Considerations
Contamination | 4.8.3.1 | Informational Text | The following is a non-exhaustive list of possible sources for the origin of contamination: a) consumables (e.g., tubes, reagents, pipette tips); b) laboratory personnel (e.g., use of appropriate personal protective equipment (PPE), training, sample handling); c) laboratory environment (e.g., possible new cleaning schedule/procedure, HVAC systems, workflow, dedicated lab space); d) laboratory workflow (e.g., automation equipment, hoods, centrifuges); e) DNA sampling method (e.g., M-vac, swabs, tape lift)
Contamination | 4.8.3.2 | Informational Text | Additional controls may be processed to test the system based on the variables described in the considerations above. NOTE: For example, an effective contamination susceptibility test utilizes an alternating arrangement of reagent blank samples and those containing an abundant source of biological material during the DNA extraction process.
Contamination | 4.8.4 | Section Title | Experimental Method
Contamination | 4.8.4.1 | Recommendation | All validation samples where a DNA profile has been developed should be evaluated for the presence of exogenous DNA.
Contamination | 4.8.4.2 | Recommendation | The laboratory should quantify and perform DNA typing on all reagent blank controls that are run with each sample set.
Contamination | 4.8.5 | Recommendation | Data Analysis and Results If observed, the source of the contamination should be characterized (i.e., differentiating between a drop-in allele event and extensive contamination), attribution attempted, and the rate of occurrence estimated.
Contamination | 4.8.6 | Recommendation | Implementation The results of this study may identify the point(s) in the laboratory extraction process and related quality assurance/quality control processes where contamination event(s) occur and should be used to establish laboratory policies concerning the following: a) laboratory procedures to prevent and detect contamination; b) control measures (e.g., use of appropriate PPE); c) procedural requirements concerning controls (e.g., placement and number); d) corrective measures required when contamination is detected; e) systemic problems that may require further improvements; f) contamination tolerance interpretation guidelines; g) laboratory environmental requirements (e.g., design, workflow, cleaning, instrument maintenance).
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed | Clause involves options; this option was not chosen | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Forensic Document Examination
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics