## Instructions for Use
AAFS Standards Resources and Training
This checklist is made possible through the following financial assistance award 70NANB24H078 awarded to AAFS from U.S. Department of Commerce, National Institute of Standards and Technology Each checklist is specific to a version of a standard, which is hyperlinked in the checklist. Not all sections of a standard are included in a checklist. A checklist is a supplementary tool and should not be used independently. To properly use a checklist, reference the complete standard. Go to https://www.nist.gov/organization-scientific-area-committees-forensic-science/access-standards for information on how to access published standards. A checklist does not provide interpretation guidance. If you have questions related to interpretation, please contact the standard developing organization (SDO). The SDO may have standard specific training available.
A checklist can be used for one or both of the following purposes: • to evaluate the implementation of a standard, or • to audit (internal or external) conformance with requirements in the standard and an FSSP’s management system
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions and an on-demand training webinar.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASTM E2997-25
ANSI/ASTM E2997-25
Standard Test Method for Analysis of Biodiesel Products by Gas Chromatography-Mass Spectrometry
Discipline: | Fire Debris & Explosives
Checklist version: | V1
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Apparatus | 6 | Section Title
Apparatus | 6.1 | Requirement | Gas Chromatograph A chromatograph capable of using capillary columns and being interfaced to a mass spectrometer.
Apparatus | 6.1.1 | Requirement | Inlet System An inlet system that can be operated in either split or splitless mode with capillary columns; the inlet system can use on-column technology.
Apparatus | 6.1.2 | Requirement | Column A non-polar capillary, bonded phase, methylsilicone or phenylmethylsilicone column or equivalent, or a polar capillary, bonded phase column, such as a cyanopropyl- based FAME-specific column or equivalent, can be used to determine the presence of fatty acids.
Apparatus | 6.1.2.1 | Informational Text | A polar capillary, bonded phase column, such as a cyanopropyl-based FAME-specific column or equivalent is used to perform comparative analysis between specimens of neat liquid samples, debris extracts, or both.
Apparatus | 6.1.2.2 | Informational Text | Any column length or temperature program conditions can be used for the polar column provided that each component of the reference mixture (see 7.6.2) is adequately separated.
Apparatus | 6.1.3 | Requirement | GC Oven A column oven capable of reproducible temperature program operation in the range from 50 °C to 300 °C.
Apparatus | 6.2 | Requirement | Mass Spectrometer A mass spectrometer capable of acquiring mass spectra from m/z 40 to m/z 400 with unit resolution or better, with continuous data output.
Apparatus | 6.2.1 | Requirement | Sensitivity and Resolution A system capable of detecting each component of the reference or test mixture (see 7.6) and providing sufficient ion intensity data to identify each compound, either by computer search of a mass spectral library or by comparison with reference spectra.
Apparatus | 6.3 | Requirement | Data Station A computerized data station capable of storing time sequenced mass spectral data files of analyzed specimens.
Apparatus | 6.3.1 | Requirement | Data Handling A system capable of performing, either through its operating system or by user programming, various data handling functions, including input and storage of data files, generation of extracted ion profiles, searching data files for selected compounds, and qualitative and semiquantitative compound analysis.
Apparatus | 6.3.2 | Requirement | Mass Spectral Libraries A system capable of retrieving a specified mass spectrum from a data file and comparing it against a library of mass spectra available to the data system. This capability is considered an aid to the analyst, who will use it in conjunction with chromatographic data and known reference materials to identify unknown compounds.
Apparatus | 6.4 | Requirement | Syringes A syringe capable of introducing a specimen size in the range from 0.1 μL to 10.0 μL.
Apparatus | 6.5 | Requirement | Steam Bath or Heating Device For use in warming sample extracts in containers used during evaporation steps.
Reagents and Materials | 7 | Section Title
Reagents and Materials | 7.1 | Requirement | Purity of Reagents Reagent grade, or better, chemicals shall be used in all tests. Unless otherwise indicated, it is intended that all reagents conform to the specifications of the Committee on Analytical Reagents of the American Chemical Society, where such specifications are available. Other grades can be used, provided it is first ascertained that the reagent is of sufficiently high purity to permit its use without lessening the accuracy of the determination.
Reagents and Materials | 7.2 | Requirement | Solvent A suitable solvent, such as n-pentane or carbon disulfide, that will not interfere with the analysis.
Reagents and Materials | 7.2.1 | Informational Text | Solvent purity is evaluated prior to use with specimens. The solvent is analyzed using the same conditions that will be used for specimens in accordance with Test Method E161
Reagents and Materials | 7.3 | Requirement | Filter Apparatus Free of extractable hydrocarbons, oils, and fats.
Reagents and Materials | 7.4 | Requirement | Evaporation Accelerants Compressed dry nitrogen, filtered air, or inert gas used in the concentration of solvent extracts.
Reagents and Materials | 7.5 | Requirement | Carrier Gas Helium or hydrogen of purity 9.995 % or higher.
Reagents and Materials | 7.6 | Requirement | Reference and Test Mixtures:
Reagents and Materials | 7.6.1 | Informational Text | Refer to Test Method E1618, Section 6, for the appropriate test mixture for the hydrocarbon portion of the analysis.
Reagents and Materials | 7.6.2 | Informational Text | Refer to Test Method E2881, Section 6, for the appropriate reference mixture for the “bio” portion of the analysis.
Reagents and Materials | 7.6.3 | Recommendation | Reference biodiesel products should be obtained for comparison and identification purposes. Typical chromatograms of B100 and B20 on a non-polar fire debris column are shown in Fig. 1. Typical chromatograms of B100 and B20 on a FAME-specific polar column are shown in Fig. 2.
Reagents and Materials | 7.7 | Requirement | Glassware or Labware Clean glassware (beakers, test tubes, and vials) or disposable labware free of extractable hydrocarbons, oils, and waxes.
Quality Assurance and Quality Control | 8 | Section Title
Quality Assurance and Quality Control | 8.1 | Informational Text | Refer to Test Method E1618 for equipment calibration and maintenance procedures.
Quality Assurance and Quality Control | 8.2 | Informational Text | Refer to Test Methods E1618 and E2881 for performance criteria for both the polar and non-polar columns.
Quality Assurance and Quality Control | 8.3 | Informational Text | Refer to Practice E3255 for other quality assurance procedures.
Sample Handling Procedure | 9 | Section Title
Sample Handling Procedure | 9.1 | Requirement | Observe the appropriate procedures for handling and documentation of all submitted samples as described in Practices E1492 and E3255 and Guide E3245.
Sample Handling Procedure | 9.2 | Requirement | Warning—In rare instances, some biodiesel-soaked materials could spontaneously ignite. Use caution when handling samples suspected of containing biodiesel.
Sample Handling Procedure | 9.3 | Requirement | Analyze specimens of appropriate dilution on a GC-MS system. Following sample handling procedures in Test Method E161
Sample Handling Procedure | 9.4 | Requirement | Maintain a reference collection that includes known biodiesel products that have been prepared and analyzed in the same manner as the specimens.
Procedure | 10 | Section Title
Procedure | 10.1 | Requirement | Extract a fire debris sample using one or more techniques as described in Practices E1386, E1412, E1413, E2154, or E3189 to isolate ignitable liquid residues and FAME compounds for analysis.
Procedure | 10.1.1 | Requirement | Warning—Extract a fire debris sample using headspace techniques (Practice E1412, E1413, E2154, or E3189) prior to performing any solvent extraction if the identification of all classes of ignitable liquids is of interest.
Procedure | 10.2 | Requirement | Extract an aliquot of a liquid sample or dilute as appropriate.
Procedure | 10.3 | Requirement | Analyze the specimen(s) along with comparable reference materials or standards to identify the components of biodiesel products and other ignitable liquid residues in accordance with Test Method E1618 (also see Fig. 1).
Procedure | 10.3.1 | Requirement | If any FAMEs are detected, additional analysis could be required to further identify the FAME compounds. Follow Practice E1386 to extract a portion of the original sample, or concentrate the original extract, if necessary, and analyze on a FAME-specific column using the conditions described in Fig. 2 and 6.1.2.2. Conditions other than those listed in Fig. 2 and 6.1.2.2 can be used if they have been validated or verified in accordance with Practice E2549 and they provide sufficient sensitivity and resolution to detect and separate the compounds in the test mixture.
Procedure | 10.3.2 | Requirement | Extracts can be further concentrated for re-analysis. Evaporate at room temperature to a suitable final volume or use compressed dry nitrogen, filtered air, or an inert gas to accelerate evaporation. Using heat to facilitate concentration is acceptable for suspected biodiesel as polymerization does not occur with FAMEs.
Procedure | 10.3.3 | Requirement | Warning—Do not evaporate an extract to dryness if lighter ignitable liquid residues were identified and no other sample extract is available for archiving and long-term storage.
Procedure | 10.4 | Informational Text | See Annex A1 for sample and extract storage guidance.
Data Analysis and Interpretation | 11 | Section Title
Data Analysis and Interpretation | 11.1 | Requirement | Identify FAMEs in liquid and fire debris extracts by comparing GC retention time and mass spectral data to certified standards or reference materials (see 7.6) and document the comparison in accordance with Test Method E161. For biodiesel, this will include C16:0, C18:0, C18:1, C18:2, and C18:3, if present. Refer to Test Method E1618 for identification of petroleum distillates. Typical chromatograms of B100 and B20 on a traditional non-polar fire debris column collected following Practice E1412 are shown in Fig. 3.
Data Analysis and Interpretation | 11.1.1 | Requirement | Warning—The presence of fatty acids or FAMEs does not necessarily indicate that a foreign fatty acid-based product is present. These can be inherent to the scene and found in low abundance. In order to identify a fatty acid-based product, the FAMEs should be at least one order of magnitude greater than the average abundance of the fire debris sample matrix peaks. Use caution when identifying fatty acids when only saturated fatty acids, such as C16:0 and C18:0, are present.
Data Analysis and Interpretation | 11.1.2 | Requirement | Warning—Some household and commercial products, such as some laundry products and some cosmetics, contain FAMEs. Thoroughly inspect fire debris samples after analysis for items or materials that could be a source of FAMEs in an extract other than a biodiesel fuel.
Data Analysis and Interpretation | 11.2 | Section Title | Extracted Ion Profiling (EIP):
Data Analysis and Interpretation | 11.2.1 | Requirement | Use extracted ion profiles to elucidate petroleum distillates and FAME peaks from other interferences in the chromatograms.
Data Analysis and Interpretation | 11.2.2 | Requirement | Use a data station to extract and draw extracted ion profiles (mass chromatograms) for major ions characteristic of petroleum distillates and FAMEs.
Data Analysis and Interpretation | 11.2.3 | Informational Text | Typically ions 67, 74, and 79 m/z or the molecular ion for the FAME of interest can be summed together to form a useful EIP. Refer to Table 1 in Test Method E2881 for a list of common fatty acids and the molecular weights of the resulting methyl esters. Typical EIPs of B100 and B20 on a traditional non-polar fire debris column collected following Practice E1412 are shown in Fig. 4.
Data Analysis and Interpretation | 11.2.4 | Informational Text | Refer to Test Method E1618 for general information on extracted ion profiles and chromatographic characteristics of petroleum distillates.
Data Analysis and Interpretation | 11.3 | Requirement | Conduct a comparative analysis between specimens from neat liquid samples, debris extracts, or both with data from specimens analyzed on a polar capillary, bonded phase column, such as a cyanopropyl-based FAME-specific column or equivalent.
Data Analysis and Interpretation | 11.3.1 | Requirement | Use caution when comparing data obtained from liquid and debris samples, as patterns are markedly different depending on the sample preparation technique and the effect of fire and evaporation.
Report Wording | 12 | Section Title
Report Wording | 12.1 | Section Title | Suggested Wording for Liquid and Debris Samples Containing FAMEs:
Report Wording | 12.1.1 | Informational Text | Fatty acid methyl esters (FAMEs), which are ignitable liquids, were identified. Examples of ignitable liquid FAME-based products include biodiesel and some charcoal lighter fluids. Other non-ignitable liquid products that can contain FAMEs include some laundry products and some cosmetics.
Report Wording | 12.1.2 | Informational Text | A heavy petroleum distillate (HPD) and fatty acid methyl esters (FAMEs) were identified. This combination is indicative of a biodiesel product. Biodiesel products are ignitable liquids.
Report Wording | 12.1.2.1 | Recommendation | Biodiesel products except for B100 can be classified using the Ignitable Liquid Classification Scheme (see Table 1 in Test Method E1618) as a “Heavy Petroleum Distillate” containing FAMEs or as an “Others-Miscellaneous” blended product. B100 should be classified as an “Oxygenated” product comprised of FAMEs.
Report Wording | 12.2 | Section Title | Suggested Wording in Fuel Tampering Cases
Report Wording | 12.2.1 | Informational Text | Sample #1 (liquid from vehicle fuel tank) and Sample #2 (Company Y biodiesel fuel) contained a heavy petroleum distillate (HPD) and fatty acid methyl esters (FAMEs). Sample #3 (liquid from Company Y fuel delivery truck) contained only an HPD.
Report Wording | 12.3 | Informational Text | Suggested Wording for Negative Reports for Fire Debris Cases:
Report Wording | 12.3.1 | Informational Text | No ignitable liquids were identified. It should be noted that due to the destructive nature of fire, there are no test methods that can exclude the possibility of ignitable liquids evaporating, being consumed in a fire, being environmentally altered or removed, or being otherwise indistinguishable from background materials.
Report Wording | 12.4 | Informational Text | Refer to Practice E620 and Test Method E1618 for general information on report writing.
Limitations | 13 | Section Title
Limitations | 13.1 | Recommendation | This is a qualitative technique and should not be used to quantitate FAME or HPD content.
Limitations | 13.2 | Informational Text | The identification of a specific source of the FAMEs or the proportion of the blend of biodiesel is beyond the scope of this test method.
Limitations | 13.3 | Requirement | Identify the HPD portion of a biodiesel specimen using a non-polar capillary bonded phase column as specified in 6.1.2 (and Test Method E1618).
Limitations | 13.3.1 | Requirement | Identify the FAME portion of a biodiesel specimen using either a non-polar capillary column or a polar capillary, bonded phase column as specified in 6.1.2 (and Test Method E1618).
Precision and Bias | 14 | Section Title
Precision and Bias | 14.1 | Informational Text | No information is presented about either the precision or bias of Test Method E2997 for the analysis and identification of the FAME and petroleum distillate components of biodiesel products since the test result is nonquantitative.
Sample Storage | A1 | Section Title | Annex (Mandatory Information)
Sample Storage | A1.1 | Requirement | After extraction, store the original debris or liquid sample using appropriate procedures for handling and documentation as set forth in Practice E1492.
Sample Storage | A1.2 | Requirement | Extract Storage Short-Term Store extracts, liquid samples, or solvents in septum seal or screw cap glass vials with PTFE-lined seals to prevent evaporation.
Sample Storage | A1.3 | Requirement | Extract Storage Long-Term Follow the procedures set forth in Practice E2451 for long-term storage of extracts or liquid samples.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed | Clause involves options; this option was not chosen | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Forensic Document Examination
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics