## Instructions for Use
AAFS Standards Resources and Training
This checklist is made possible through the following financial assistance award 70NANB24H078 awarded to AAFS from U.S. Department of Commerce, National Institute of Standards and Technology Each checklist is specific to a version of a standard, which is hyperlinked in the checklist. Not all sections of a standard are included in a checklist. A checklist is a supplementary tool and should not be used independently. To properly use a checklist, reference the complete standard. Go to https://www.nist.gov/organization-scientific-area-committees-forensic-science/access-standards for information on how to access published standards. A checklist does not provide interpretation guidance. If you have questions related to interpretation, please contact the standard developing organization (SDO). The SDO may have standard specific training available.
A checklist can be used for one or both of the following purposes: • to evaluate the implementation of a standard, or • to audit (internal or external) conformance with requirements in the standard and an FSSP’s management system
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions and an on-demand training webinar.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASTM E3423-24
ANSI/ASTM E3423-24
Standard Guide for Forensic Analysis of Explosives By Polarized Light Microscopy
Discipline: | Fire Debris & Explosives
Checklist version: | V1
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Apparatus | 6 | Section Title
Apparatus | 6.1 | Requirement | Polarized Light Microscope— A compound microscope with a rotating stage, polarizing filters, substage condenser, and compensator slot. NOTE 1—Most commercially available polarized light microscopes should be adequate for the forensic analysis of explosives and appropriate for use following this guide.
Apparatus | 6.2 | Requirement | Objectives— Strain-free typically 10×, 20×, and 40×.
Apparatus | 6.2.1 | Informational Text | A 40× objective with a numerical aperture of 0.65 or higher is recommended to provide the widest view of the back focal plane for conoscopic observations.
Apparatus | 6.2.2 | Informational Text | A 10× dispersion staining objective is required if performing dispersion staining.
Apparatus | 6.3 | Requirement | Compensator— A full wave compensator for use with the microscope. Optional compensators include quarter-wave plate and quartz wedge.
Apparatus | 6.4 | Requirement | Hot Stage— A temperature controlled hot stage for use with the microscope with a range of approximately 30 °C to 300 °C.
Apparatus | 6.5 | Requirement | Alcohol Lamp.
Reagents and Materials | 7 | Section Title
Reagents and Materials | 7.1 | Requirement | Purity of Reagents Reagent grade chemicals shall be used in all tests. It is intended that all reagents conform to the specifications of the Committee on Analytical Reagents of the American Chemical Society. Other grades may be used, provided it is first ascertained that the reagent is of sufficiently high purity to permit its use without lessening the accuracy of the determination.
Reagents and Materials | 7.2 | Requirement | 10 % Platinum Chloride (H2PtCl6) in water.
Reagents and Materials | 7.3 | Requirement | Zinc Uranyl Acetate.
Reagents and Materials | 7.4 | Requirement | Ammonium Molybdate ((NH4)6Mo7O24·4H2O).
Reagents and Materials | 7.5 | Requirement | Squaric Acid.
Reagents and Materials | 7.6 | Requirement | Potassium Iodide (KI).
Reagents and Materials | 7.7 | Requirement | Nitron Sulfate.
Reagents and Materials | 7.8 | Requirement | Strychnine Sulfate.
Reagents and Materials | 7.9 | Requirement | 0.3 % Methylene Blue in deionized water (Methylene Blue Reagent).
Reagents and Materials | 7.10 | Requirement | 20 % Potassium Nitrate (KNO3) in deionized water.
Reagents and Materials | 7.11 | Requirement | Saturated Zinc Sulfate (ZnSO4) in deionized water.
Reagents and Materials | 7.12 | Requirement | Toluene or Methylene Chloride.
Reagents and Materials | 7.13 | Requirement | Sodium Hydroxide.
Reagents and Materials | 7.14 | Requirement | Deionized water.
Reagents and Materials | 7.15 | Requirement | Reference Materials, including reagent grade chemicals and explosive materials, can be obtained from commercial and retail sources or directly from the distributor or manufacturer.
Reagents and Materials | 7.16 | Requirement | Refractive Index Liquids with known temperature coefficients (dn/dt) and tolerance at nD.
Reagents and Materials | 7.17 | Requirement | Microscope Slides and Coverslips.
Reagents and Materials | 7.18 | Requirement | Glass Rod with a tapering tip of approximately 1 mm or less in diameter.
Reagents and Materials | 7.19 | Requirement | Wood Toothpicks.
Reagents and Materials | 7.20 | Requirement | Glass Ring with an approximate diameter of 10 mm to 12 mm and 5 mm to 10 mm in height.
Reagents and Materials | 7.21 | Requirement | Tungsten Needles.
Reagents and Materials | 7.22 | Requirement | 589 nm Light Filter.
Initial Microscopical Examination | 8 | Section Title
Initial Microscopical Examination | 8.1 | Informational Text | Preliminary assessment of the samples using visual and stereo microscopical examinations are conducted following Practices E3253 and E3329. If preliminary examinations indicate that the sample is an explosive mixture or a component thereof, a portion of the sample is examined by PLM in order to obtain further information regarding the composition of the sample.
Initial Microscopical Examination | 8.2 | Recommendation | One to three particles or grains (approximately 1 mg or less) are mounted on a glass microscope slide with a cover slip and dispersed in a refractive index oil. For post-blast evidence a similar quantity of residue material is mounted in the same manner. Any refractive index oil in the 1.400 to 1.800 range should be used, however, if preliminary examinations indicate a particular explosive material (for example, black powder, ammonium nitrate-fuel oil (ANFO), or Composition C-4), the examiner should select a refractive index oil that will enable confirmation of characteristic optical crystallographic data based upon Tables 1 and 2.
Initial Microscopical Examination | 8.3 | Informational Text | The mounted sample is examined with a polarized light microscope at low magnification (for example, 10×). The magnification is increased as needed to better view particles for examination.
Initial Microscopical Examination | 8.4 | Informational Text | Charcoal, if present, will appear as irregularly shaped, black and opaque particles, and as brown flakes often with cellular features such as pits or cell walls.
Initial Microscopical Examination | 8.5 | Informational Text | Most common explosives and oxidizers are colorless when viewed microscopically with transmitted plane polarized light. Crossed polarizers are used to determine if the crystals are isotropic or anisotropic. Interference colors are assessed to determine if the birefringence is low (less than ~0.01), moderate (~0.01 to 0.10) or high (above ~0.10).
Initial Microscopical Examination | 8.6 | Informational Text | The relative refractive indices of the crystals present in the specimen are determined using the Becke line method or dispersion staining.
Initial Microscopical Examination | 8.7 | Informational Text | The morphology, relative refractive indices, and interference colors can indicate the presence of an explosive ingredient or chemical component. See Tables 1 and 2.
Initial Microscopical Examination | 8.7.1 | Informational Text | If explosive related components are indicated, additional microscopical analysis is performed to further characterize the components via optical crystallography (Sections 9 and 10).
Initial Microscopical Examination | 8.7.2 | Informational Text | If inorganic salts are indicated, additional microscopical analysis may be performed by microcrystal tests (Section 11).
Initial Microscopical Examination | 8.7.3 | Informational Text | If no explosive related components are indicated, further analysis using microscopy or other instrumental analyses could be performed to characterize or identify the substance in the case sample. Such examinations are beyond the scope of this document.
Optical Crystallography by Solvent Recrystallization | 9 | Section Title
Optical Crystallography by Solvent Recrystallization | 9.1 | Informational Text | Solvent recrystallization allows for a more detailed optical crystallographic characterization of a compound as it recrystallizes from a small drop of suitable solvent.
Optical Crystallography by Solvent Recrystallization | 9.2 | Section Title | Water Recrystallization for Inorganic Oxidizers and Salts:
Optical Crystallography by Solvent Recrystallization | 9.2.1 | Recommendation | A small drop (5 mm to 7 mm in diameter) of distilled or deionized water is placed on a microscope slide. One to three particles or grains (approximately 1 mg or less) from the sample with similar appearance are added to the drop. If the specimen does not readily dissolve, it should be crushed and dispersed with the tip of a glass rod to aid dissolution.
Optical Crystallography by Solvent Recrystallization | 9.2.1.1 | Informational Text | Alternatively, if a large amount of insoluble component is present, a portion of the specimen can be mixed with water and filtered to remove water insoluble components such as carbon, aluminum, and sulfur. A small drop of the filtered water extract is then placed on a microscope slide.
Optical Crystallography by Solvent Recrystallization | 9.2.2 | Informational Text | The test drop is examined using the PLM and a low magnification objective, for example, 10×. Crystals typically form at the edge of the drop first. Distorted or subhedral crystals, if formed, are pushed back into the center of the drop using a device such as a glass rod, toothpick or metal probe to produce characteristic euhedral crystals. Multiple water-soluble components can be present in the sample and, depending on their concentration and solubility, could recrystallize at different times as the drop evaporates.
Optical Crystallography by Solvent Recrystallization | 9.2.3 | Informational Text | Crystals formed as the drop evaporates are examined using plane-polarized and crossed-polarized light. Observe their crystal habit, relief, and whether they are isotropic or anisotropic.
Optical Crystallography by Solvent Recrystallization | 9.2.4 | Informational Text | For anisotropic euhedral crystals, extinction is determined to be parallel, symmetrical, or oblique.
Optical Crystallography by Solvent Recrystallization | 9.2.5 | Informational Text | Interference colors are assessed to determine if the birefringence is low (less than ~0.01), moderate (~0.01 to 0.10), or high (above ~0.10).
Optical Crystallography by Solvent Recrystallization | 9.2.6 | Informational Text | Observable interference figures are used to determine if the crystal is uniaxial or biaxial and the optic sign. Interference figures can also be used to relate morphology of the crystal to its optical orientation, and, if the crystal is biaxial, estimate the optic axial angle (2V).
Optical Crystallography by Solvent Recrystallization | 9.2.7 | Informational Text | The optical crystallographic properties of the crystals are documented by description, sketch, or photomicrographs.
Optical Crystallography by Solvent Recrystallization | 9.2.8 | Informational Text | The optical crystallographic properties of the crystals formed are compared to recrystallized known reference materials or published Refs (2 and 3). A tentative identification is made if the optical crystallographic properties of the specimen are the same as a given compound. Table 1 lists optical crystallographic properties for twelve common oxidizers.
Optical Crystallography by Solvent Recrystallization | 9.2.9 | Informational Text | If two or more oxidizers recrystallize from the drop, their tentative identification is compared to the optical properties determined from examinations of the intact sample (Sections 8 and 10) to assess if a metathetical reaction has occurred. If a metathetical reaction occurred, the optical properties of the intact crystals and those obtained from recrystallization will be different.
Optical Crystallography by Solvent Recrystallization | 9.2.10 | Informational Text | Depending on the analytical scheme chosen, dried crystals can be (1) mounted in refractive index oils for refractive index determination (Section 10), (2) analyzed via microcrystal tests (Section 11), or (3) analyzed by other instrumental techniques (Practices E3253 and E3329). If the crystals cannot be further analyzed on the glass slide, a tungsten needle is used to transfer the crystals from the glass slide to another substrate such as a potassium bromide pellet for additional analysis.
Optical Crystallography by Solvent Recrystallization | 9.3 | Section Title | Organic Solvent Recrystallization for Sulfur:
Optical Crystallography by Solvent Recrystallization | 9.3.1 | Informational Text | A small drop (5 mm to 7 mm in diameter) of a suitable solvent, such as toluene or methylene chloride, is placed on a microscope slide. One to three particles or grains (approximately 1 mg or less) of sample are added to the solvent drop. Sulfur, if present, will recrystallize as highly refractive, birefringent dipyramids (diamond-shaped) or form liquid drops that crystallize when touched with a tungsten needle.
Optical Crystallography by Solvent Recrystallization | 9.3.2 | Informational Text | The optical crystallographic properties of the crystals are documented by description, sketch, or photomicrograph.
Optical Crystallography by Solvent Recrystallization | 9.3.3 | Informational Text | The optical crystallographic properties of the crystals formed are compared to recrystallized known reference materials or published Refs (2 and 6). A tentative identification is made if the optical crystallographic properties of the specimen are the same as a given compound. Table 1 lists optical crystallographic properties for sulfur.
Optical Crystallography by Solvent Recrystallization | 9.3.4 | Informational Text | Depending on the analytical scheme chosen, dried crystals can be further analyzed by other analytical techniques (Practices E3253 and E3329). If the crystals cannot be further analyzed while on the glass slide, a tungsten needle is used to transfer crystals from the glass slide to another substrate such as carbon tape for additional analysis.
Optical Crystallography Using Refractive Index Liquids | 10 | Section Title
Optical Crystallography Using Refractive Index Liquids | 10.1 | Informational Text | Organic and inorganic compounds present in explosives are characterized by their optical crystallographic properties by mounting intact material in a liquid of known refractive index.
Optical Crystallography Using Refractive Index Liquids | 10.2 | Recommendation | One to three particles or grains (approximately 1 mg or less) of the sample, or dried crystals obtained during recrystallization, as described in Section 9, are mounted in a refractive index oil in the 1.400 to 1.800 range. If previous examinations indicate a particular compound (for example, potassium nitrate or RDX), the examiner should select a refractive index oil that will provide characteristic optical crystallographic data based on Tables 1 and 2.
Optical Crystallography Using Refractive Index Liquids | 10.3 | Informational Text | The crystals are examined using PLM to determine the optical crystallographic properties such as refractive indices, birefringence, extinction type (parallel, symmetrical, or oblique), optic sign, and optic axial angle (2V).
Optical Crystallography Using Refractive Index Liquids | 10.4 | Informational Text | Refractive index can be determined using the Becke line method or dispersion staining. The specimen can be mounted in additional refractive index liquids to confirm one or more refractive indices of the indicated compound.
Optical Crystallography Using Refractive Index Liquids | 10.5 | Informational Text | The optical crystallographic properties of the specimen are compared to known reference materials or published references (for example, Refs (1-4, 6-10)). A tentative identification is made if the optical crystallographic properties of the specimen are the same as a given compound. Table 1 lists optical crystallographic properties for three fuels (sulfur, ascorbic acid and sucrose) and twelve common oxidizers. Table 2 lists optical crystallographic properties for four organic high explosives.
Microcrystal Tests | 11 | Section Title
Microcrystal Tests | 11.1 | Informational Text | Microcrystal tests are chemical precipitation reactions in which the target ion forms an insoluble reaction product with the reagent. The crystals formed are examined using a polarized light microscope. Microcrystal tests are used in conjunction with other independent techniques to identify explosive related compounds.
Microcrystal Tests | 11.2 | Informational Text | Microcrystal tests are used to test for anions and cations of oxidizers and other substances such as aluminum that are present in explosives. Many microcrystal tests are available, those commonly used in explosives analysis are listed in Table 3.
Microcrystal Tests | 11.3 | Informational Text | The presence of additional water-soluble compounds can interfere with, or affect the formation of, microcrystals of the target anion or cation. If this occurs, further isolate the target compound and repeat the microcrystal test or use a different analytical technique.
Microcrystal Tests | 11.4 | Informational Text | Prior to casework, the reagents used for the microcrystal tests are tested for reliability using the appropriate positive and negative controls. The crystals obtained with the positive control are compared to the published References (11-17).
Microcrystal Tests | 11.5 | Recommendation | There are four routine methods for conducting microcrystal tests. Test drops and reagent drops used for microcrystal tests should be approximately 5 mm to 7 mm in diameter or smaller. Most reactions take place within one minute. Test drops with lower concentrations may take longer to occur. NOTE 2—The methods described below could have different number designations as found in Ref (11).
Microcrystal Tests | 11.5.1 | Section Title | Method 1:
Microcrystal Tests | 11.5.1.1 | Recommendation | A drop of deionized water is placed on a clean microscope slide and one or more particles of the sample is added with stirring, crushing and dispersing as needed to dissolve the water-soluble components. The test drop should be kept small. Alternatively, one to five grains or particles of the sample are placed in a spot well plate or test tube and three to four drops of deionized water are added. The specimen is stirred with a glass rod to disperse and dissolve any water-soluble components. A test drop of the aqueous solution is placed on a clean microscope slide.
Microcrystal Tests | 11.5.1.2 | Informational Text | A drop of reagent is placed near, but not touching, the test drop. Depending on the microcrystal test being conducted some reagent solutions are pre-made and a drop added to the slide. Other reagent drops are created on the slide by placing a drop of water near the test drop and adding one to five particles of the reagent to the water droplet.
Microcrystal Tests | 11.5.1.3 | Informational Text | The test drop and reagent drop are drawn together using a clear glass rod or toothpick. The preparation is immediately examined microscopically using a 10× objective. Higher magnification can be used but care must be taken to ensure the objective does not contact the test drop.
Microcrystal Tests | 11.5.1.4 | Informational Text | The preparation is examined for the presence of characteristic microcrystals or the lack of a reaction.
Microcrystal Tests | 11.5.1.5 | Informational Text | The formation of microcrystals corresponding to those obtained with the positive control indicates the presence of that anion or cation.
Microcrystal Tests | 11.5.2 | Section Title | Method 2:
Microcrystal Tests | 11.5.2.1 | Informational Text | Method 1 (see 11.5.1) is followed except the reagent drop is added to the middle of the test drop.
Microcrystal Tests | 11.5.2.2 | Informational Text | The preparation is examined microscopically as described in Method 1 for the presence of characteristic microcrystals or the lack of a reaction.
Microcrystal Tests | 11.5.2.3 | Informational Text | The formation of microcrystals corresponding to those obtained with the positive control indicates the presence of that anion or cation.
Microcrystal Tests | 11.5.3 | Section Title | Method 3:
Microcrystal Tests | 11.5.3.1 | Informational Text | Method 1 (see 11.5.1) is followed except add reagent particles into the middle of the test drop.
Microcrystal Tests | 11.5.3.2 | Informational Text | The preparation is examined microscopically as described in Method 1 for the presence of characteristic microcrystals or the lack of a reaction.
Microcrystal Tests | 11.5.3.3 | Informational Text | The formation of microcrystals corresponding to those obtained with the positive control indicates the presence of that anion or cation.
Microcrystal Tests | 11.5.4 | Section Title | Method 4:
Microcrystal Tests | 11.5.4.1 | Recommendation | A small drop of deionized water is placed on a clean microscope slide. One or more particles of the sample is added to the drop with stirring, crushing, and dispersing as needed to dissolve the water-soluble components. The test drop should be kept small.
Microcrystal Tests | 11.5.4.2 | Informational Text | A glass ring with an internal diameter of about 10 mm to 12 mm is placed around the test drop so the drop is in the center of the ring.
Microcrystal Tests | 11.5.4.3 | Informational Text | A small drop of the prepared reagent is placed on a coverslip.
Microcrystal Tests | 11.5.4.4 | Informational Text | A small drop of the volatilizing solution (for example, 10 % sodium hydroxide) is added to the test drop inside the center of the ring.
Microcrystal Tests | 11.5.4.5 | Informational Text | The coverslip is immediately placed onto the glass ring such that the reagent drop is suspended in the center of the ring above the sample.
Microcrystal Tests | 11.5.4.6 | Informational Text | The slide preparation is placed on the microscope stage ensuring sufficient working distance between the top of the glass ring and the objective.
Microcrystal Tests | 11.5.4.7 | Informational Text | The reagent drop is examined for the presence of microcrystals or the lack of reaction.
Microcrystal Tests | 11.5.4.8 | Informational Text | The formation of microcrystals corresponding to those obtained with the positive control indicates the presence of that anion or cation.
Microcrystal Tests | 11.6 | Informational Text | Table 3 lists twelve tests for anions and cations common to low explosives along with the reagent, literature reference, and method as described in 11.5. Microcrystal tests for additional ions can be found in Chamot & Mason, Benedetti-Pichler, Wills, and Hollifield.
Fusion Methods | 12 | Section Title
Fusion Methods | 12.1 | Informational Text | Fusion methods are techniques that allow for the characterization of crystals by determining the melting point (MP) and observing optical crystallographic properties as the sample recrystallizes from the melt. This method is most useful for organic high explosives but can also be applied to some inorganic explosives. Crystalline compounds examined using fusion methods must first be isolated from mixtures by physical or chemical separation.
Fusion Methods | 12.2 | Section Title | Examination Using Temperature Controlled Hot Stage:
Fusion Methods | 12.2.1 | Informational Text | The isolated crystalline substance is placed on a microscope slide with a cover slip, or on a cover slip (according to the hot stage manufacturer’s instructions).
Fusion Methods | 12.2.2 | Informational Text | The preparation is placed in the hot stage at a temperature of approximately 50 °C. If a particular explosive compound has been indicated from prior analysis, a temperature approximately 10 °C to 20 °C lower than the expected melting point can be used.
Fusion Methods | 12.2.3 | Informational Text | The specimen is brought into the field of view. The temperature of the hot stage is raised while the specimen is viewed using the polarized light microscope. The melting point is recorded. The temperature is slowly lowered while observing the recrystallization of the sample from the melt.
Fusion Methods | 12.2.4 | Informational Text | The optical crystallographic properties such as morphology, crystal front shape, polymorphism, interference colors, anomalous interference colors, extinction characteristics, interference figure, and optic sign are observed for each solid state as appropriate.
Fusion Methods | 12.3 | Informational Text | Alternatively, the sample is heated on a microscope slide using an alcohol lamp. This method is especially useful for substances with melting points above 300 °C, including most inorganic oxidizers. An accurate melting point is not determined, but the sample is observed through the microscope as the slide cools to obtain various optical crystallographic properties, as described in 12.2.4.
Fusion Methods | 12.4 | Informational Text | The optical crystallographic properties of the specimen are compared to published reference descriptions or a known reference material.
Fusion Methods | 12.5 | Section Title | Mixed Fusions:
Fusion Methods | 12.5.1 | Informational Text | If an explosive compound is indicated using optical crystallography, microcrystal tests, or other techniques, a mixed fusion using a known reference material of the suspected compound can confirm the identity of the unknown.
Fusion Methods | 12.5.2 | Recommendation | A small amount of isolated crystalline substance from the sample is placed on a slide, under a coverslip, but near the edge of the coverslip. The sample is melted over an alcohol lamp. The melted sample should fill approximately half of the area under the coverslip.
Fusion Methods | 12.5.3 | Informational Text | Once the unknown sample has cooled and recrystallized, the known reference material is placed near the opposite edge of the coverslip and melted over an alcohol lamp such that the melted standard flows under the coverslip and contacts the previously cooled unknown specimen. The portion of the unknown specimen that contacts the reference material will also melt during this process.
Fusion Methods | 12.5.4 | Informational Text | Using the PLM, the zone of mixing is viewed as the preparation cools and recrystallizes. If the unknown compound is the same as the reference material, the crystals of the unknown will continue to grow through the zone of mixing with no change in crystal growth rate or in appearance. If the unknown compound and reference material are different, a change in the crystal growth rate occurs and the crystals in the zone of mixing usually appear different.
Fusion Methods | 12.5.5 | Informational Text | Once cooled, the mixed fusion preparation can be inserted into the hot stage at a temperature approximately 10 degrees lower than the melting point of the reference material. While observing the zone of mixing, slowly raise the temperature (1 to 3 degrees/minute) of the hot stage to the melting point of the reference material If the two compounds are the same, the melting point will be the same across the zone of mixing. NOTE 3—This can only be performed if the sample melts below the upper temperature range of the hot stage.
Documentation | 13. | Section Title
Documentation | 13.1 | Informational Text | All notes and supporting analytical data used for the identification or tentative identification of explosive related compounds are retained in accordance with E620, E860, and E3255. Examples of such data include photomicrographs and detailed descriptions of microscopical observations.
Documentation | 13.2 | Informational Text | Case notes are recorded in sufficient detail such that an independent analyst could understand and evaluate the work performed, independently interpret the data, and form an opinion.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed | Clause involves options; this option was not chosen | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Forensic Document Examination
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics