## Instructions for Use
AAFS Standards Resources and Training
This checklist is made possible through the following financial assistance award 70NANB24H078 awarded to AAFS from U.S. Department of Commerce, National Institute of Standards and Technology Each checklist is specific to a version of a standard, which is hyperlinked in the checklist. Not all sections of a standard are included in a checklist. A checklist is a supplementary tool and should not be used independently. To properly use a checklist, reference the complete standard. Go to https://www.nist.gov/organization-scientific-area-committees-forensic-science/access-standards for information on how to access published standards. A checklist does not provide interpretation guidance. If you have questions related to interpretation, please contact the standard developing organization (SDO). The SDO may have standard specific training available.
A checklist can be used for one or both of the following purposes: • to evaluate the implementation of a standard, or • to audit (internal or external) conformance with requirements in the standard and an FSSP’s management system
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions and an on-demand training webinar.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASTM E3497-26
ANSI/ASTM E3497-26
Standard Practice for Collection of Primer Gunshot Residue (pGSR) Particles from Clothing, Vehicles, and Other Inanimate Objects using Scanning Electron Microscopy (SEM) Stubs
Discipline: | Gunshot Residue Analysis
Checklist version: | V1
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Materials and Equipment | 6 | Section Title
Materials and Equipment | 6.1 | Informational Text | Single-use SEM Stubs with Affıxed Adhesive Tape, individually enclosed in a protective plastic container which protects the surface of the tape from contamination. Double-sided carbon adhesive tape is recommended.
Materials and Equipment | 6.2 | Informational Text | Clean Outerwear (for example, coveralls or laboratory coat). This can be either a single-use garment or a freshly laundered one.
Materials and Equipment | 6.3 | Informational Text | Single-use Powder-free Gloves—nitrile, latex, or similar.
Materials and Equipment | 6.4 | Informational Text | Large Format Paper, Paper Roll, or Other Workspace Cover.
Materials and Equipment | 6.5 | Informational Text | Scalpel, Blade, Tweezers, or Other Appropriate Tool (single-use or freshly cleaned) for opening exhibit packages and removing the protective film from the adhesive tape, if present.
Materials and Equipment | 6.6 | Informational Text | Laboratory Wipes, non-woven, lint-free, or similar.
Procedure | 7 | Section Title
Procedure | 7.1 | Requirement | Establish a collection plan based on consultation with other potential examiners.
Procedure | 7.1.1 | Requirement | Collection of pGSR shall typically precede collection of other evidence from the same area, unless more probative evidence is likely and requires prioritized collection. Objects to be sampled for pGSR can be divided into sub-areas for independent sampling.
Procedure | 7.1.2 | Requirement | pGSR is easily lost from hard smooth surfaces such as painted vehicle panels, metal fittings and glass. Samples from these types of surfaces and from surfaces that could be disturbed during evidence processing shall be collected before samples from other surfaces, unless more probative evidence is likely and requires prioritized collection.
Procedure | 7.2 | Requirement | Minimize risk of transfer of pGSR and other forms of trace evidence.
Procedure | 7.2.1 | Requirement | Change outerwear between items from different individuals. If the outerwear contacts the item or the items container, change the outerwear prior to processing the next item.
Procedure | 7.2.2 | Requirement | Change gloves between each item.
Procedure | 7.2.3 | Requirement | For items small enough to examine on a workbench, clean the work surface prior to laying out each item.
Procedure | 7.2.3.1 | Informational Text | The item can be placed on top of clean paper in order to collect and preserve other potential evidence.
Procedure | 7.2.3.2 | Requirement | Wipe down the packaging before removing the item or remove the item from the packaging in a location away from the work surface and in a manner where the item does not come into contact with the outside of the package. Change gloves between touching the outside of the package and removing the item from the package.
Procedure | 7.2.4 | Requirement | Store SEM stubs in their protective plastic containers.
Procedure | 7.3 | Requirement | Document the items in accordance with Practice E1492.
Procedure | 7.4 | Requirement | Determine collection area(s) (refer to Appendix X1).
Procedure | 7.5 | Requirement | Label each SEM stub container with a unique identifier.
Procedure | 7.6 | Requirement | Collect from each designated area using an SEM stub until tackiness is lost.
Environmental Control Samples | 8 | Section Title
Environmental Control Samples | 8.1 | Requirement | Collect environmental controls as a means of monitoring potential pGSR contamination in the collection process through one or more of the following:
Environmental Control Samples | 8.1.1 | Requirement | Exposing a collection stub to the room environment for either an established interval or prior to each collection from an item.
Environmental Control Samples | 8.1.2 | Requirement | Collect directly from workspaces at an established interval or prior to each collection from an item.
Environmental Control Samples | 8.1.3 | Requirement | Collect directly from the personal protective equipment (PPE) of the collection personnel, prior to each collection from an item.
Documentation | 9 | Section Title
Documentation | 9.1 | Requirement | Record the following details, at minimum:
Documentation | 9.1.1 | Requirement | Description of the purpose of the examination, each item examined, and the sampling procedure, including any deviation from a typical collection plan and the reason for the deviation.
Documentation | 9.1.2 | Requirement | Details of any other relevant observations made during the examination, for example, stains, cuts/tears, and so forth.
Documentation | 9.1.3 | Requirement | Description of the pGSR samples collected and their unique identifier.
Documentation | 9.1.4 | Requirement | Chain-of-custody pertaining to the pGSR samples and examined items.
Preservation for Re-Analysis | 10 | Section Title
Preservation for Re-Analysis | 10.1 | Requirement | Since pGSR analysis via SEM/EDS is non-destructive, the samples will last indefinitely as long as the stubs are secured in their protective plastic containers. The plastic containers shall be labeled and either individually sealed or sealed in a labeled package.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed | Clause involves options; this option was not chosen | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Forensic Document Examination
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics