## Instructions for Use
AAFS Standards Resources and Training
This checklist is made possible through the following financial assistance award 70NANB24H078 awarded to AAFS from U.S. Department of Commerce, National Institute of Standards and Technology Each checklist is specific to a version of a standard, which is hyperlinked in the checklist. Not all sections of a standard are included in a checklist. A checklist is a supplementary tool and should not be used independently. To properly use a checklist, reference the complete standard. Go to https://www.nist.gov/organization-scientific-area-committees-forensic-science/access-standards for information on how to access published standards. A checklist does not provide interpretation guidance. If you have questions related to interpretation, please contact the standard developing organization (SDO). The SDO may have standard specific training available.
A checklist can be used for one or both of the following purposes: • to evaluate the implementation of a standard, or • to audit (internal or external) conformance with requirements in the standard and an FSSP’s management system
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions and an on-demand training webinar.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASTM E2329-25
ANSI/ASTM E2329-25
Standard Practice for Designing Analytical Schemes for the Identification of Chemical Substances in Suspected Seized Drug Evidence
Discipline: | Seized Drugs
Checklist version: | V2
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Categories of Analytical Techniques | 5 | Section Title
Categories of Analytical Techniques | 5.1 | Informational Text | For the purpose of this practice, analytical techniques are classified into three categories based on their capacity for chemical identification and relative selectivity (see Table 1).
Categories of Analytical Techniques | Table 1 | Informational Text | Commonly Used Analytical Techniques by Category Based on Capacity for Chemical Identification and Relative Selectivity NOTE 1—Analytical techniques within each category are presented in no particular order or ranking.
Categories of Analytical Techniques | Table 1 | Informational Text | Category A (High level of selectivity and capacity for chemical identification via structural information) Infrared Spectroscopy (IR) Mass Spectrometry (MS) Nuclear Magnetic Resonance Spectroscopy (NMR) Raman Spectroscopy X-ray Diffraction (XRD)A A X-ray diffraction provides crystallographic structural information, rather than molecular structural information.
Categories of Analytical Techniques | Table 1 | Informational Text | Category B (Intermediate to high selectivity; no structural information) Capillary Electrophoresis (CE) Gas Chromatography (GC) Fluorescence SpectroscopyB Ion Mobility Spectrometry (IMS) Liquid Chromatography (LC) Microcrystalline Tests Supercritical Fluid Chromatography (SFC) Thin Layer Chromatography (TLC) Ultraviolet-Visible Spectroscopy (UV-Vis)C X-ray Fluorescence Spectroscopy (XRF) B Fluorescence spectroscopy, when both excitation and emission spectra are obtained, has been placed in Category B. C Ultraviolet ⁄Visible Spectroscopy has been placed in Category B when used with a wavelength range resulting in a spectrum.
Categories of Analytical Techniques | Table 1 | Informational Text | Category C (Lower selectivity) Color Tests Immunoassay Melting Point Pharmaceutical IdentifiersD Equipment that does not generate interpretable data D Pharmaceutical Identifiers can provide a high degree of selectivity, but due to the potential for counterfeits, the technique has been placed in Category C.
Categories of Analytical Techniques | 5.1.1 | Informational Text | Category A analytical techniques provide a capacity for chemical identification through structural information and a high level of selectivity.
Categories of Analytical Techniques | 5.1.1.1 | Informational Text | Data generated by Category A analytical techniques are capable of providing information regarding the connectivity of atoms in molecules.
Categories of Analytical Techniques | 5.1.1.2 | Informational Text | Data obtained from Category A analytical techniques that do not provide structural information are not considered Category A, however the data can be considered as another category. The lack of structural information could be due to the mode of operation, limitations of the analytical method used, or limitations with particular samples. For example: (1) Mass spectral data without full-scan fragmentation (for example, pseudomolecular ion/molecular ion only, MRM, SIM). (2) An infrared spectrum obtained from a mixture without further data processing such as spectral subtraction.
Categories of Analytical Techniques | 5.1.2 | Informational Text | Category B analytical techniques provide an intermediate to high level of selectivity without structural information, and
Categories of Analytical Techniques | 5.1.3 | Informational Text | Category C analytical techniques achieve a lower level of selectivity.
Categories of Analytical Techniques | 5.2 | Requirement | All Category A and B analytical techniques shall have interpretable data included in the case documentation to allow for an independent review and interpretation by a competent forensic science practitioner.
Categories of Analytical Techniques | 5.2.1 | Recommendation | For Category C analytical techniques, the best practice for documenting the results is to take a digital photograph. The case documentation should include interpretable data, where practicable.
Categories of Analytical Techniques | 5.2.2 | Informational Text | Equipment that does not generate interpretable data (for example, devices that provide only an alert-type result) are considered Category C regardless of the categorization of the technique in Table 1.
Categories of Analytical Techniques | 5.3 | Informational Text | Examples of interpretable data for various analytical techniques include:
Categories of Analytical Techniques | 5.3.1 | Informational Text | Instrumental Techniques—spectra or chromatograms.
Categories of Analytical Techniques | 5.3.2 | Informational Text | TLC—photographic images or photocopies of the TLC plate (color, when possible).
Categories of Analytical Techniques | 5.3.3 | Informational Text | Color Tests—photographic images of color change.
Categories of Analytical Techniques | 5.4 | Informational Text | Table 1 presents a list of commonly used analytical techniques within each category for the identification of chemical substances. Analytical techniques are categorized according to their capacity for chemical identification and relative selectivity.
Categories of Analytical Techniques | 5.4.1 | Informational Text | Analytical techniques not listed in Table 1 can be evaluated by the FSSP for their ability to provide chemical structural information and level of selectivity.
Building an Analytical Scheme | 6 | Section Title
Building an Analytical Scheme | 6.1 | Informational Text | The identification of a chemical substance present in suspected seized drug samples can be achieved using a combination of analytical techniques with validated methods to meet the minimum requirements in Section 7.
Building an Analytical Scheme | 6.2 | Informational Text | The order of testing is not prescribed; testing can be conducted concurrently, or the results from one test can inform the selection of subsequent tests.
Building an Analytical Scheme | 6.3 | Informational Text | A complete analytical scheme provides a result that is scientifically supported when the level of selectivity required is achieved and the positive test results corroborate the reported chemical substance(s).
Building an Analytical Scheme | 6.3.1 | Informational Text | An individual test result within an analytical scheme is considered positive when it fulfills the FSSP-defined acceptance criteria.
Building an Analytical Scheme | 6.3.2 | Requirement | Analytical techniques and methods appropriate for the identification of the substance(s) reported shall be used. This includes using appropriate analytical techniques and methods suitable for determining isomer or salt form of the substance(s), when reported.
Building an Analytical Scheme | 6.3.3 | Informational Text | Limitations of selected analytical techniques or methods can result in additional testing being necessary in order to meet the requirements of this practice. Limitations could include:
Building an Analytical Scheme | 6.3.3.1 | Informational Text | Limitations of the analytical technique or method that limits the ability to distinguish the substance of interest, particularly from structurally similar or related chemical substances.
Building an Analytical Scheme | 6.3.3.2 | Informational Text | Limitation arising from properties or the complexity of the sample that limit the ability to distinguish the substance of interest.
Building an Analytical Scheme | 6.4 | Informational Text | Numerous combinations of analytical techniques and methods can form an appropriate analytical scheme to meet the requirements of this practice. The selected configuration of the analytical scheme could be informed by:
Building an Analytical Scheme | 6.4.1 | Informational Text | Visual examination of the material (for example, liquid, crystalline, plant material, etc.),
Building an Analytical Scheme | 6.4.2 | Informational Text | Testing results,
Building an Analytical Scheme | 6.4.3 | Informational Text | FSSP protocols,
Building an Analytical Scheme | 6.4.4 | Informational Text | Available analytical techniques and methods,
Building an Analytical Scheme | 6.4.5 | Informational Text | Decision-making thresholds or task-relevant contextual information, or
Building an Analytical Scheme | 6.4.6 | Informational Text | Jurisdictional requirements (for example, salt form or isomer determination).
Minimum Requirements for an Analytical Scheme | 7 | Section Title
Minimum Requirements for an Analytical Scheme | 7.1 | Informational Text | Fulfilling the requirements of this practice ensures that analytical schemes generate, at minimum, two independent test results to support the identification of each reported chemical substance.
Minimum Requirements for an Analytical Scheme | 7.2 | Requirement | The identification of each chemical substance shall use the data from at least two orthogonal techniques, at least one of which provides structural information from Category A.
Minimum Requirements for an Analytical Scheme | 7.2.1 | Informational Text | Subsection 7.4.4 addresses requirements for situations where the data obtained from a Category A technique provides structural information, but has selectivity limitations.
Minimum Requirements for an Analytical Scheme | 7.2.2 | Informational Text | The results from two tests using the same analytical technique can be used, provided the analytical methods used have differing selectivity or are based on different chemical or physical properties (for example, two NMR tests, one using 1H and one using 13C).
Minimum Requirements for an Analytical Scheme | 7.2.3 | Informational Text | A hyphenated analytical technique (for example, gas chromatography-mass spectrometry, liquid chromatography-ultraviolet/visible spectroscopy) can be considered one or two separate techniques within an analytical scheme, dependent upon whether one or both of the results are used.
Minimum Requirements for an Analytical Scheme | 7.2.3.1 | Requirement | Using the data from both analytical techniques enhances the selectivity of the analytical scheme. The FSSP shall assess the impact on and limitations to the analytical scheme associated with using the data from only one of the analytical techniques.
Minimum Requirements for an Analytical Scheme | 7.2.3.2 | Requirement | A single portion analyzed using the results from both analytical techniques from a hyphenated technique does not satisfy the requirement in 7.3. At a minimum, a second portion shall be analyzed.
Minimum Requirements for an Analytical Scheme | 7.3 | Requirement | As a quality assurance measure, the identification of each chemical substance shall use the data from at least two separate portions of the unknown sample.
Minimum Requirements for an Analytical Scheme | 7.3.1 | Requirement | Each portion shall be separately and independently removed from the unknown sample, unless the test conducted does not require the removal of a portion (for example, pharmaceutical identifier). Two aliquots removed from a dilution of a single portion does not fulfill this requirement.
Minimum Requirements for an Analytical Scheme | 7.3.2 | Informational Text | In the event the sample amount limits the analyst’s ability to remove two separate portions, a single portion can be used in the analysis and identification of each chemical substance provided all other requirements of this practice are met, including the requirements in 7.2. Additionally, either one of the following are required:
Minimum Requirements for an Analytical Scheme | 7.3.2.1 | Requirement | A blank encompassing the entire procedure (for example, swab, glassware, solvent, instrument, extractions) shall be analyzed in the same manner as the unknown sample; or
Minimum Requirements for an Analytical Scheme | 7.3.2.2 | Requirement | A statement shall be included on issued reports that substance identification was based on the analysis of a single portion.
Minimum Requirements for an Analytical Scheme | 7.3.3 | Requirement | Untested material shall remain within the item for possible reanalysis.
Minimum Requirements for an Analytical Scheme | 7.3.3.1 | Requirement | In the absence of remaining untested material, the remainder of the prepared samples (either dried or as prepared) shall be retained or a remark shall be included on the report that the original sample was consumed during testing, or both.
Minimum Requirements for an Analytical Scheme | 7.4 | Requirement | For results to be considered of value toward an identification of a substance, the results shall:
Minimum Requirements for an Analytical Scheme | 7.4.1 | Requirement | Be positive (that is, fulfills the FSSP-defined acceptance criteria), NOTE 1—While negative or inconclusive results can provide useful information, they do not contribute towards establishing the identification of a substance and cannot be counted as one of the analytical techniques required in 7.2.
Minimum Requirements for an Analytical Scheme | 7.4.2 | Requirement | Corroborate the reported chemical substance(s),
Minimum Requirements for an Analytical Scheme | 7.4.2.1 | Requirement | Document results that do not corroborate the reported chemical substance(s) and either explain or investigate further (that is, conduct additional testing using different analytical techniques or methods).
Minimum Requirements for an Analytical Scheme | 7.4.3 | Requirement | Meet all established quality control requirements, and
Minimum Requirements for an Analytical Scheme | 7.4.4 | Requirement | Achieve the selectivity required.
Minimum Requirements for an Analytical Scheme | 7.4.4.1 | Informational Text | FSPs continue to select additional analytical techniques and methods until the final analytical scheme reaches the selectivity required to report the identification of the chemical substance.
Minimum Requirements for an Analytical Scheme | 7.4.4.2 | Informational Text | Where the required selectivity is not achieved, the data can still form part of an analytical scheme provided the results are positive and: (1) The selectivity limitations are addressed through the use of another suitable analytical technique or method, which achieves the overall level of selectivity required for identification, or (2) The limitations are clearly reported.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed | Clause involves options; this option was not chosen | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Forensic Document Examination
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics