## Instructions for Use
AAFS Standards Resources and Training
This checklist is made possible through the following financial assistance award 70NANB24H078 awarded to AAFS from U.S. Department of Commerce, National Institute of Standards and Technology Each checklist is specific to a version of a standard, which is hyperlinked in the checklist. Not all sections of a standard are included in a checklist. A checklist is a supplementary tool and should not be used independently. To properly use a checklist, reference the complete standard. Go to https://www.nist.gov/organization-scientific-area-committees-forensic-science/access-standards for information on how to access published standards. A checklist does not provide interpretation guidance. If you have questions related to interpretation, please contact the standard developing organization (SDO). The SDO may have standard specific training available.
A checklist can be used for one or both of the following purposes: • to evaluate the implementation of a standard, or • to audit (internal or external) conformance with requirements in the standard and an FSSP’s management system
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions and an on-demand training webinar.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## OSAC Proposed Std 2025-S-0010
OSAC Proposed Standard 2025-S-0010, Version 2.1
Standard Practice for Reporting Results of the Analysis of Seized Drugs
Discipline: | Seized Drugs
Checklist version: | V1
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
General Report Requirements | 5 | Section Title
General Report Requirements | 5.1 | Requirement | Reports issued for seized drug analyses shall follow the general requirements for reporting results of scientific or technical analyses in Practice E620, the requirements of this standard, and any jurisdictional requirements.
General Report Requirements | 5.1.1 | Informational Text | When differences arise between this standard and jurisdictional requirements, jurisdictional requirements can take precedence.
General Report Requirements | 5.2 | Requirement | Reported results shall be based on the test results.
General Report Requirements | 5.2.1 | Requirement | The test results and any corresponding scientific data shall be included in the case record (see Practice E3255).
General Report Requirements | 5.3 | Informational Text | Test results can be reported in either a narrative or tabular format.
General Report Requirements | 5.4 | Requirement | The following shall be included on the report:
General Report Requirements | 5.4.1 | Requirement | A statement that additional information is found in the case record. EXAMPLE: “Supporting documentation is maintained separate from this report and is necessary for independent evaluation of the work, interpretation of the data, and drawing of conclusions.”
General Report Requirements | 5.4.2 | Requirement | Documentation to indicate when the FSSP is not accredited, not accredited in seized drugs analysis, or when work conducted is outside the FSSP’s scope of accreditation.
General Report Requirements | 5.4.3 | Requirement | Nonconformities that required a change to the reported results.
General Report Requirements | 5.4.4 | Requirement | Documentation of disagreements between the analyst(s) or technical reviewer(s) related to the accuracy of the reported results that could not be resolved through the normal course of technical review and that required formal mediation through laboratory protocols.
General Report Requirements | 5.4.5 | Requirement | Documentation of deviations from the FSSP’s analytical SOP, normal test procedure, quality assurance procedures, or from a published method, if the deviation could affect the accuracy of the reported results.
General Report Requirements | 5.4.6 | Requirement | Documentation of abnormal environmental or sample conditions that could affect the accuracy of the reported results.
General Report Requirements | 5.5 | Requirement | The following shall be included on the report or in the case record:
General Report Requirements | 5.5.1 | Requirement | Customer requests for testing that was not conducted.
General Report Requirements | 5.5.2 | Requirement | The name of technical reviewers.
General Report Requirements | 5.5.2.1 | Requirement | Documentation shall be included on the report when a technical review was not conducted.
General Report Requirements | 5.5.2.2 | Requirement | An explanation as to why a technical review was not done shall be included either on the report or in the case record.
General Report Requirements | 5.5.3 | Requirement | Documentation of verbal results that were provided prior to the issuance of the written report.
General Report Requirements | 5.5.3.1 | Recommendation | An accurate reflection of the verbal results should be recorded promptly after the results are communicated.
General Report Requirements | 5.5.3.2 | Requirement | Documentation shall be included on the report when there are discrepancies between the verbal results and the written reported results.
General Report Requirements | 5.5.4 | Requirement | Documentation of nonconformities in the performance of the analysis that did not require a change to the reported results.
General Report Requirements | 5.6 | Requirement | Reports that are issued to amend, supersede, or supplement a prior report shall be clearly notated as such, reference the original report, and all changes shall be clearly identified. The reason for the additional report shall also be included on the report. EXAMPLES: • “This report corrects an administrative error previously reported in report number [unique identifier] dated June 12, 2021. The corrected language is underlined. This is an administrative error and does not affect the integrity of results previously reported.” • “Amended report to reflect the addition of the uncertainty measurement estimate for the reported purity value. Refer to the original laboratory report for [unique identifier] dated 01/24/2022.” • “Supplemental report to [unique identifier] dated 06/05/2022 to include additional analysis to determine the purity.” • “Report issued to supplement report [unique identifier] dated 12/11/2022 to include analysis of additional evidentiary items.” • “Report issued to supersede previously issued report [unique identifier] dated June 3, 2018 to reflect the results of a reanalysis.”
General Report Requirements | 5.7 | Requirement | Reports that contain preliminary results shall be clearly notated as such, and the limitations of the information and results that are inappropriate to be drawn shall be clearly stated on the report. EXAMPLE: “This is provided for informational purposes only. Further analysis is required prior to use in any legal proceedings. No substance identification has been made, and any implication that an identification has occurred is inappropriate based on this preliminary report.”
General Report Requirements | 5.7.1 | Requirement | The title of the report shall clearly indicate that it is a preliminary report.
General Report Requirements | 5.7.2 | Informational Text | Additional requirements for reporting indicated results are listed in Section 8.
Reporting Substance Identifications | 6 | Section Title
Reporting Substance Identifications | 6.1 | Section Title | General Requirements
Reporting Substance Identifications | 6.1.1 | Informational Text | An identification of a substance is reported when testing meets the requirements of Practice E2329 and FSSP policy.
Reporting Substance Identifications | 6.1.2 | Informational Text | The scope of substances reported is subject to jurisdictional requirements and FSSP policy.
Reporting Substance Identifications | 6.1.3 | Requirement | Language used to report an identified substance shall include the name of the substance as listed in the relevant statute, where practical.
Reporting Substance Identifications | 6.1.4 | Requirement | Reports shall use the terms “identified” or “confirmed” to denote substances that are identified.
Reporting Substance Identifications | 6.1.4.1 | Requirement | Narrative reporting shall use language that clearly denotes an identification was made.
Reporting Substance Identifications | 6.1.4.2 | Requirement | Tabular reporting shall use titles, captions, or column headings to clearly denote identifications.
Reporting Substance Identifications | 6.1.5 | Requirement | If the FSSP opts to include control status on the report, the jurisdictional or legal reference and the date used to determine the control status shall be documented (e.g., date of report, date of incident).
Reporting Substance Identifications | 6.1.5.1 | Recommendation | When the incident date is not used to determine the control status, the scheduling date should be included on the report for substances subject to recent control actions.
Reporting Substance Identifications | 6.1.6 | Informational Text | Examples of scenarios and reporting that fall under this section are depicted in Figures 1 and 2.
Reporting Substance Identifications | 6.2 | Section Title | Reporting an Identified Substance as Belonging to a Class of Substances
Reporting Substance Identifications | 6.2.1 | Requirement | If the FSSP opts to report an identified substance as a part of a legally defined structural class of substances, the substance identified shall be named and accompanied by language stating the structural class.
Reporting Substance Identifications | 6.2.2 | Informational Text | Examples of scenarios and reporting that fall under this section are depicted in Figures 3 and 4.
Reporting Substance Identifications | 6.3 | Section Title | Reporting an Identified Substance as an Analog or Structurally Similar Substance
Reporting Substance Identifications | 6.3.1 | Requirement | If the FSSP opts to report an identified substance as an analog or structurally similar to another substance, the case record shall clearly note what elements of the legal requirements were and were not evaluated.
Reporting Substance Identifications | 6.3.2 | Requirement | The basis of an analog or structural similarity determination shall follow FSSP policy, be documented in the case record, and referenced on the report.
Reporting Substance Identifications | 6.3.3 | Informational Text | Examples of scenarios and reporting that fall under this section are depicted in Figures 5 and 6.
Reporting Substance Identifications | 6.4 | Section Title | Reporting Limitations to Identifications
Reporting Substance Identifications | 6.4.1 | Requirement | Limitations to identifications shall be disclosed on the report.
Reporting Substance Identifications | 6.4.1.1 | Informational Text | Reported limitations can include one or more of the following: method performance, analytical technique, or analytical scheme limitations.
Reporting Substance Identifications | 6.4.1.2 | Requirement | The FSSP shall evaluate the risk associated with how a substance is reported and the impact to the transparency of the reported result. The FSSP may determine that additional transparency is warranted. For example, reporting "methamphetamine" does not imply a particular optical isomer, however, the FSSP can opt to report "methamphetamine, optical isomer not determined" to emphasize the limitation of this analysis.
Reporting Substance Identifications | 6.4.1.3 | Informational Text | Factors to consider when assessing risk include, but are not limited to, impacts to control status and sentencing.
Reporting Substance Identifications | 6.4.2 | Informational Text | Examples of scenarios and reporting that fall under this section are depicted in Figures 7 – 10.
Reporting When No Controlled Substances are Identified | 7 | Section Title
Reporting When No Controlled Substances are Identified | 7.1 | Requirement | The language “No controlled substances identified based on the testing conducted” or “No substances identified based on the testing conducted” shall be used to report results obtained under the following situations, unless the results are reported according to Section 6 or Section 8:
Reporting When No Controlled Substances are Identified | 7.1.1 | Requirement | No substances are detected in a complete analytical scheme as defined by the FSSP (i.e., negative results).
Reporting When No Controlled Substances are Identified | 7.1.2 | Requirement | Only non-controlled substances are detected.
Reporting When No Controlled Substances are Identified | 7.1.2.1 | Requirement | Depending on jurisdictional requirements, non-controlled substances can be identified and reported according to section 6. This shall be clearly defined by the FSSP.
Reporting When No Controlled Substances are Identified | 7.1.3 | Requirement | Controlled substances are detected, but with insufficient data to meet the requirements of E2329 or the FSSP’s acceptance criteria for identification.
Reporting When No Controlled Substances are Identified | 7.1.3.1 | Requirement | Depending on jurisdictional requirements, this situation can also be reported according to section 8. This shall be clearly defined by the FSSP.
Reporting When No Controlled Substances are Identified | 7.2 | Informational Text | Examples of scenarios and reporting that fall under this section are depicted in Figures 11 and 12.
Reporting Inconclusive and Indicated Results | 8 | Section Title
Reporting Inconclusive and Indicated Results | 8.1 | Informational Text | Inconclusive or indicated results can be reported when the analysis conducted does not support reporting the identification of a substance per section 6 or “no controlled substances identified” per section 7.
Reporting Inconclusive and Indicated Results | 8.2 | Requirement | The difference between inconclusive and indicated results is how they are reported and the FSSP shall determine which term(s) meet their operational and jurisdictional needs.
Reporting Inconclusive and Indicated Results | 8.3 | Requirement | When reporting inconclusive results, the reported result shall include the term “inconclusive” either in narrative or in tabular headings.
Reporting Inconclusive and Indicated Results | 8.4 | Requirement | When reporting indicated results, the reported result shall include:
Reporting Inconclusive and Indicated Results | 8.4.1 | Requirement | The term “indicated”, “presumptive”, or “preliminary” either in narrative or in tabular headings,
Reporting Inconclusive and Indicated Results | 8.4.2 | Requirement | Language that no identification was made,
Reporting Inconclusive and Indicated Results | 8.4.3 | Requirement | The indicated substance(s) name, and
Reporting Inconclusive and Indicated Results | 8.4.4 | Requirement | The limitations of the information and results that are inappropriate to be drawn.
Reporting Inconclusive and Indicated Results | 8.5 | Requirement | The report shall include a qualifying statement that explains why an inconclusive result was reported or why an indicated substance was not identified.
Reporting Inconclusive and Indicated Results | 8.6 | Informational Text | Examples of scenarios and reporting that fall under this section are depicted in Figures 13 and 14 (inconclusive results) and Figures 15 and 16 (indicated results).
Reporting When No Analysis is Performed | 9 | Section Title
Reporting When No Analysis is Performed | 9.1 | Requirement | Evidence that is not analyzed shall be clearly noted on the report, whether this applies to the entire submitted item or only to portions of the submitted item. How sub-items or sub-exhibits are documented on the report shall be established by the FSSP.
Reporting When No Analysis is Performed | 9.1.1 | Informational Text | Refer to section 12 for sampling plan and sample selection reporting requirements.
Reporting When No Analysis is Performed | 9.1.2 | Informational Text | Weights and unit counts can be obtained and reported without chemical analysis of the submitted material.
Reporting When No Analysis is Performed | 9.2 | Informational Text | An FSSP can issue cancellation or no analysis reports that include no results in accordance with FSSP policy.
Reporting When No Analysis is Performed | 9.3 | Informational Text | Examples of scenarios and reporting that fall under this section are depicted in Figures 17 and 18.
Reporting Weights and Volumes | 10 | Section Title
Reporting Weights and Volumes | 10.1 | Requirement | Weights and volumes shall include the appropriate unit (e.g., g, kg, mL).
Reporting Weights and Volumes | 10.2 | Requirement | Weights shall be identified as net or gross weights.
Reporting Weights and Volumes | 10.3 | Requirement | For weights or volumes not directly measured, a statement shall be included on the report documenting that weight extrapolations, volume calculations, or estimations were performed.
Reporting Weights and Volumes | 10.4 | Requirement | The term “residue” shall be reported for samples that consist of a small amount of substance of which there is insufficient quantity for the practical determination of a weight or volume.
Reporting Weights and Volumes | 10.5 | Informational Text | Laboratories can report weights or volumes under a defined threshold as “less than X g” or “less than Y mL.”
Reporting Weights and Volumes | 10.6 | Requirement | The report shall include the expanded measurement uncertainty associated with all weights or volumes listed on the report in the same unit as the measured value or in a term relative to the measured value (e.g. percent) and the coverage probability. The measurement uncertainty shall also:
Reporting Weights and Volumes | 10.6.1 | Requirement | be in the format of y ± U or listed as a range;
Reporting Weights and Volumes | 10.6.2 | Requirement | be limited to at most two significant digits, unless there is a documented rationale for reporting additional significant digits; and
Reporting Weights and Volumes | 10.6.3 | Requirement | be reported to the same number of decimal places or digits as the measurement result. DISCUSSION: All reported measurements must include an associated uncertainty for transparency and in the interest of providing information to the end user. As the end use of the reported results is unknown and are being used by those external to the laboratory, the measurement uncertainty may be important in any instance and shall be included on the report.
Reporting Weights and Volumes | 10.7 | Informational Text | Examples of scenarios and reporting that fall under this section are depicted in Figures 19 and 20.
Reporting Unit Counts | 11 | Section Title
Reporting Unit Counts | 11.1 | Requirement | When reporting the number of units (e.g., bags, tablets, sublingual films, patches, or paper squares) in an item, the report shall specify if the count is:
Reporting Unit Counts | 11.1.1 | Requirement | reflective of the total number received, the total number analyzed, or both, and
Reporting Unit Counts | 11.1.2 | Requirement | an extrapolated value.
Reporting Unit Counts | 11.2 | Requirement | When the count is extrapolated, the report shall include the measurement uncertainty associated with the extrapolation.
Reporting Unit Counts | 11.2.1 | Requirement | The report shall include the expanded measurement uncertainty associated with the calculated unit count in the same unit as the measured value or in a term relative to the measured value (e.g., percent) and the coverage probability. The measurement uncertainty shall also:
Reporting Unit Counts | 11.2.1.1 | Requirement | be in the format of y ± U or listed as a range;
Reporting Unit Counts | 11.2.1.2 | Requirement | be limited to at most two significant digits, unless there is a documented rationale for reporting additional significant digits; and
Reporting Unit Counts | 11.2.1.3 | Requirement | be reported to the same number of decimal places or digits as the measurement result.
Reporting Unit Counts | 11.2.2 | Requirement | Approximate unit count extrapolations shall be clearly denoted as estimates on the report.
Reporting Unit Counts | 11.3 | Informational Text | Examples of scenarios and reporting that fall under this section are depicted in Figures 21 and 22.
Reporting Sampling and Statistical Inferences | 12 | Section Title
Reporting Sampling and Statistical Inferences | 12.1 | Requirement | When not analyzing all units within an item, the report shall clearly document that the results apply only to the portion analyzed, unless a probability-based sampling plan is used (See Practice E2548).
Reporting Sampling and Statistical Inferences | 12.2 | Requirement | When a probability-based sampling plan is used, the number of units tested, the statistical inference being made, the results of the units tested, and the confidence level shall be stated on the report.
Reporting Sampling and Statistical Inferences | 12.3 | Informational Text | Examples of scenarios and reporting that fall under this section are depicted in Figures 23 and 24.
Reporting Quantitative Results | 13 | Section Title
Reporting Quantitative Results | 13.1 | Requirement | Quantitative analysis results shall be reported numerically with an appropriate unit and the uncertainty of measurement, including the confidence level.
Reporting Quantitative Results | 13.1.1 | Requirement | The form of the drug (base or salt) used in the calculation shall be included on the report.
Reporting Quantitative Results | 13.1.2 | Informational Text | The equivalent amount of pure drug can be listed on the report with its associated measurement uncertainty.
Reporting Quantitative Results | 13.2 | Informational Text | Examples of scenarios and reporting that fall under this section are depicted in Figures 25 and 26.
Reporting Decision Point Analysis Results | 14 | Section Title
Reporting Decision Point Analysis Results | 14.1 | Requirement | The use of a decision point analysis and the administratively defined cutoff value or concentration shall be documented on the report.
Reporting Decision Point Analysis Results | 14.2 | Requirement | Assessment of the concentration of a substance relative to a defined decision point shall be reported as follows:
Reporting Decision Point Analysis Results | 14.2.1 | Requirement | Using a defined term, such as a legal definition of marijuana.
Reporting Decision Point Analysis Results | 14.2.2 | Requirement | Over a defined cut-off value (e.g. greater than X%).
Reporting Decision Point Analysis Results | 14.2.3 | Requirement | Under a defined cut-off value (e.g. less than Y%).
Reporting Decision Point Analysis Results | 14.3 | Requirement | Use of the term “trace” shall be reserved for situations in which a sample consists of a substance present at a low-level (usually <1% by weight).
Reporting Decision Point Analysis Results | 14.3.1 | Informational Text | An example of a trace component includes, but is not limited to, a sample consisting of 400 mg of a material containing 99% heroin hydrochloride and 0.50% cocaine hydrochloride or a sample consisting of 1000 g of a material containing 99% sucrose and 0.20% cocaine hydrochloride. Cocaine hydrochloride is considered a trace component in these samples.
Reporting Decision Point Analysis Results | 14.4 | Informational Text | Examples of scenarios and reporting that fall under this section are depicted in Figures 27 and 28.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed | Clause involves options; this option was not chosen | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Forensic Document Examination
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics