## Instructions for Use
AAFS Standards Resources and Training
This checklist is made possible through the following financial assistance award 70NANB24H078 awarded to AAFS from U.S. Department of Commerce, National Institute of Standards and Technology Each checklist is specific to a version of a standard, which is hyperlinked in the checklist. Not all sections of a standard are included in a checklist. A checklist is a supplementary tool and should not be used independently. To properly use a checklist, reference the complete standard. Go to https://www.nist.gov/organization-scientific-area-committees-forensic-science/access-standards for information on how to access published standards. A checklist does not provide interpretation guidance. If you have questions related to interpretation, please contact the standard developing organization (SDO). The SDO may have standard specific training available.
A checklist can be used for one or both of the following purposes: • to evaluate the implementation of a standard, or • to audit (internal or external) conformance with requirements in the standard and an FSSP’s management system
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions and an on-demand training webinar.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASTM E2926-25e1
ANSI/ASTM E2926-25e1
Standard Test Method for Forensic Comparison of Glass Using Micro X-ray Fluorescence (µ-XRF) Spectrometry
Discipline: | Trace Evidence
Checklist version: | V2
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Apparatus | 6 | Section Title
Apparatus | 6.1 | Informational Text | A μ-XRF spectrometer with an EDS detector having the following performance specifications:
Apparatus | 6.1.1 | Informational Text | A minimum spot size no smaller than 10 μm; the spot size and choice of optics are adjustable on some instruments.
Apparatus | 6.1.2 | Informational Text | A X-ray source capable of operating at an accelerating voltage of 35 kV or greater.
Apparatus | 6.1.3 | Informational Text | A X-ray source that does not yield significant spectral interferences with the characteristic X-ray lines for the elements typically found in glass.
Apparatus | 6.1.3.1 | Recommendation | Several X-ray sources are available; a rhodium X-ray source is preferred for appropriate excitation energy and minimal spectral interferences for elements in glass Other X-ray sources, such as molybdenum X-ray tubes, cause interferences with discriminating elements, such as zirconium, and should not be used.
Apparatus | 6.1.4 | Informational Text | An EDS detector capable of a resolution that is equal to or better than 180 eV, measured as the full width at half the \maximum height of the manganese Ka peak.
Apparatus | 6.1.5 | Informational Text | An EDS detector capable of being calibrated from the low (<2 keV) through high (>6 keV) X-ray spectral regions.
Apparatus | 6.1.6 | Informational Text | A calibrated, scaled display of energy units (keV) and the ability to identify and label X-ray lines.
Apparatus | 6.1.7 | Informational Text | A sample chamber capable of achieving a vacuum.
Apparatus | 6.2 | Informational Text | Sample holder, sample support film, and mounting material with minimal background interferences (for example, adhesive with low trace elements).
Apparatus | 6.3 | Informational Text | Primary beam filters, used to address X-ray source interferences, are optional.
Hazards | 7 | Section Title
Hazards | 7.1 | Requirement | The X-ray sources emit radiation when energized. For operator safety, use manufacturer’s recommended shielding and safety interlocks while operating the instrument.
Calibration and Standardization | 8 | Section Title
Calibration and Standardization | 8.1 | Requirement | Apparatus— Optimize the instrument in accordance with manufacturer’s instruction and validate according to the FSSP’s policies.
Calibration and Standardization | 8.1.1 | Requirement | Energy Calibration— Calibrate the X-ray energy scale to characteristic X-ray emission lines by either measuring the centroid energy of a low- (<2 keV) and high- (>6 keV) energy peak or by using software provided by the instrument manufacturer. For example, the aluminum (1.486 keV) and copper (8.040 keV) Ka-X-ray energy lines can be used.
Calibration and Standardization | 8.1.2 | Requirement | Stage Calibration—For automated or multiple point analysis, ensure that the stage coordinates accurately reflect the stage position.
Calibration and Standardization | 8.1.3 | Section Title | Optical Alignment:
Calibration and Standardization | 8.1.3.1 | Requirement | Align X-ray optics to obtain the maximum count rate.
Calibration and Standardization | 8.1.3.2 | Requirement | Align visualization optics to ensure that the visual target area coincides with the X-ray beam position.
Calibration and Standardization | 8.1.4 | Requirement | Spot Size Measurement— Determine spot size of the X-ray beam at the focal point of the visualization optics. For instruments with continuous variable spot size options, determine the spot size at multiple settings and interpolate the others.
Calibration and Standardization | 8.1.5 | Requirement | Reference Materials— Analyze a glass certified reference material (CRM) (for example, NIST SRM 1831) to verify the calibration of X-ray energy lines for elements present in glass and determine if the instrument response is within acceptable limits. Measure this glass CRM using the same instrument operating conditions as the glass samples. Use this reference glass sample to normalize element ratios for interlaboratory comparisons, interlaboratory data collection from different analytical runs, and databasing applications to improve precision.
Calibration and Standardization | 8.1.6 | Requirement | Blanks— Collect a spectrum of a sample devoid of elements having an atomic number of 11 and greater, such as the plastic stage plate or an area of the support material having no glass present. Record the system peaks present for future reference.
Calibration and Standardization | 8.2 | Section Title | Quality Assurance:
Calibration and Standardization | 8.2.1 | Requirement | Monitor the performance of the instrument routinely and the frequency and tolerance set by each FSSP.
Calibration and Standardization | 8.2.1.1 | Requirement | Check the system calibration prior to the performance of analysis.
Calibration and Standardization | 8.2.1.2 | Requirement | Check the performance of the X-ray source using a known element standard (for example, copper). Maximum counts for the system should be obtained utilizing system operating parameters established by the FSSP. Maximum counts should not show appreciable drift from acceptable parameters established by the FSSP for this procedure (for example, 10 % tolerance).
Calibration and Standardization | 8.2.2 | Requirement | Demonstrate that titanium and strontium have LOD in a soda-lime glass matrix of 75 ppm or less (see 12.1) for the instrumental parameters used for collection of spectra from the glass samples. NIST SRM 1831 is a suitable sample for this purpose.
Procedure | 9 | Section Title
Procedure | 9.1 | Section Title | Sample Preparation:
Procedure | 9.1.1 | Requirement | Examine glass fragments using stereomicroscopy to determine an appropriate preparation method for the sample.
Procedure | 9.1.2 | Requirement | When surface contamination is present, clean the sample. Cleaning can include washing samples with soap and water, with or without ultrasonication, and rinsing in deionized water, followed by rinsing in acetone, methanol, or ethanol, and drying. Soaking in various concentrations of nitric acid for 30 min or longer, rinsing with deionized water and ethanol, and drying prior to analysis removes most surface contamination without affecting the measured concentrations of elements inherent in the glass. However, the use of nitric acid could remove surface coatings that might be present and relevant.
Procedure | 9.1.3 | Requirement | Mount the sample for analysis.
Procedure | 9.1.3.1 | Informational Text | Factors influencing the sample mounting technique include the sample size and shape, beam size, and the instrument’s beam/sample interaction angle.
Procedure | 9.1.3.2 |  | For samples under 1.5 mm in thickness, raise samples off the stage using an X-ray transparent sample holder, supportive X-ray film, or both. This positioning reduces X-ray scatter from the stage, improving sample signal-to-noise.
Procedure | 9.1.3.3 | Requirement | Positioning of the sample is important. Ensure that each sample retains its position on the sample holder when under vacuum and presents the flattest possible surface parallel to the stage. A flat surface minimizes takeoff angle effects. If necessary, use a small amount of adhesive or wax to facilitate this positioning. Prior to analysis, analyze a small amount of the adhesive or wax to determine if background elements are present that could interfere with those in the sample. When small amounts of adhesive are used and beam overspill (in other words, X-ray beam extending beyond the perimeter of the sample) is avoided, little to no interference from the adhesive will be observed.
Procedure | 9.1.3.4 | Requirement | For comparisons, glass samples should be of similar size, shape, and thickness to each other to minimize critical depth and scattering effects. For full thickness fragments of float glass, comparisons should be made between similar surface types (for example, non-float surface to non-float surface). For glass fragments that are not full thickness, ensure that the sampled region of some fragments of the known glass are slightly thicker than the questioned fragment, and other known fragment sampled regions are slightly thinner. In this way, the sampled thicknesses of the known fragments will encompass the sampled thickness of the questioned fragment. NOTE 1—To assess sampled thickness of small fragments, a variety of strategies can be employed, including assessment under a microscope, use of the Z-axis coordinate values within the XRF software (assuming mounting height is constant), and evaluation of intensity of the strontium or zirconium peaks in the questioned and known samples.
Procedure | 9.1.4 | Requirement | Place sample(s) in the instrument’s analysis chamber. For automated multiple point analyses, it can be necessary to secure the sample/sample holder to the instrument stage.
Procedure | 9.1.5 | Requirement | Evacuate the chamber; glass samples are analyzed under vacuum.
Procedure | 9.1.6 | Requirement | Focus the imaging optics. Target sample areas that are relatively flat in topography and that maximize the beam interaction with the sample. Avoid excitation beam overspill when possible and position samples to minimize interactions of the beam with mounting media. An instrument’s X-ray beam angle (for example, perpendicular to stage versus 45°) can impact selection of targeted areas for analysis.
Procedure | 9.2 | Informational Text | Operating Conditions—The following are provided as a general guide for instrument operating conditions:
Procedure | 9.2.1 | Requirement | Turn on the X-ray source. Set the excitation voltage to at least 35 kV in order to provide sufficient overvoltage necessary for efficient X-ray excitation of the K-lines of higher atomic number elements, such as arsenic, rubidium, strontium, zirconium and molybdenum. Higher beam energies will typically improve detection limits of those elements. Once the beam excitation voltage is established, it is to remain constant between samples in a given comparison set. Most of the X-ray lines produced are displayed within an energy range of 0 keV to 20 keV.
Procedure | 9.2.2 | Requirement | Select an appropriate X-ray optic size for the analysis of the sample. For instruments with variable spot size options, this size is determined from the setpoint calibrated as described in 8.1.4. Once the spot size is established, it is to remain constant between samples in a given comparison set.
Procedure | 9.2.3 | Section Title | Pulse Processor Time Constant:
Procedure | 9.2.3.1 | Requirement | For instruments equipped with a silicon drift detector (SDD): If the parameter is adjustable, set the pulse processor time constant at the setting that maximizes the count rate, or as determined by the validation protocols. Once established, the pulse processor time is to remain constant between samples in a given comparison set.
Procedure | 9.2.3.2 | Requirement | For instruments equipped with a lithium-doped silicon (Si(Li)) detector: Set the pulse processor time constant at a midrange value; this is a compromise between maximum count rate and maximum spectral resolution. The optimal count rate is generally provided by the instrument manufacturer. Once established, the pulse processor time is to remain constant between samples in a given comparison set.
Procedure | 9.2.4 | Requirement | Adjust the beam current for each sample as needed to yield a maximum X-ray detector dead time not to exceed 50 %. NOTE 2—The use of primary beam filters can improve signal-to-noise ratio for specific areas of the spectrum.
Procedure | 9.3 | Section Title | Sample Analysis:
Procedure | 9.3.1 | Informational Text | Preliminary screening can be performed to evaluate for exclusionary differences between glass samples that are distinct in elemental composition (for example, glass samples manufactured with different formulations or different raw materials that lead to the detection of different elements or distinct relative compositions). See Fig. X1.1 and Fig. X1.2 for pairs demonstrating presence and absence of exclusionary differences in elemental composition at the preliminary screen step.
Procedure | 9.3.1.1 | Informational Text | The number of replicates and the instrument parameters for a preliminary screening can vary depending on sample type and instrument configuration (for example, two replicates per questioned fragment, three replicates per known sample, 30 live seconds per replicate using an XRF equipped with polycapillary or collimator optics and SDD; 300 live seconds per replicate using an XRF equipped with monocapillary optics or Si(Li) detector). NOTE 3—In the context of sample analysis via XRF, the following are treated as replicates: (1) Multiple measurements collected at different spots on a questioned fragment. (2) Multiple measurements collected at spots on separate fragments of the same known glass source. (3) Multiple measurements collected at different spots on a single known fragment.
Procedure | 9.3.1.2 | Requirement | As appropriate, examine questioned fragments prior to the known glass.
Procedure | 9.3.1.3 | Informational Text | If known and questioned samples do not exhibit exclusionary differences in detected elements (see 10.3.1) or relative peak heights by spectral overlay (see 10.3.2), analysis proceeds as described below.
Procedure | 9.3.2 | Requirement | For each sample, collect a spectrum for a live time that provides reasonable counting statistics for trace element peaks and achieves the LOD listed in 8.2.2. This live time should be established by the validation protocols. For a μ-XRF system with SDD and utilizing either polycapillary or collimator optics, 120 live seconds is generally sufficient. For a μ-XRF system with a Si(Li) detector or a monocapillary optic with SDD, 1200 live seconds is generally sufficient.
Procedure | 9.3.3 | Requirement | Collect replicate spectra to ensure that the questioned glass fragments and known glass source(s) are adequately characterized. When practical, analyze a minimum of three replicates on each questioned sample examined and nine replicates on each known glass source. NOTE 4—Due to the typically high level of elemental homogeneity in manufactured glass objects, high intra-sample spectral reproducibility is expected. Surface deposits, poor placement or focus of the system optics on the sample surface, and extreme differences in the sample’s surface angle in relation to the beam can create abnormally high variation in replicate spectra. Spectral overlay and sample imagery can assist a practitioner in assessing whether it is appropriate to replace individual replicates by re-analysis. NOTE 5—Optimal characterization of the elemental composition of a known sample involves sampling from areas that are spaced apart rather than tightly grouped relative to the entire object (for example, nine separate fragments from the perimeter of the missing glass in a window, from scattered locations on the remaining broken object). A lack of sufficient known glass to characterize its elemental composition can limit the interpreted value of the comparison.
Calculations and Interpretation of Results | 10 | Section Title
Calculations and Interpretation of Results | 10.1 | Requirement | Examine the spectrum, identify and label the peaks, and use the criteria described as follows to compare elemental glass data in a forensic glass comparison:
Calculations and Interpretation of Results | 10.1.1 | Informational Text | Characteristic X-ray energies can be obtained from automatic element identification software; however, the FSP verifies all peak identifications. Energy slide rules, computer generated theoretical fit curves that can be superimposed on the spectrum, and published tables can be used for this purpose.
Calculations and Interpretation of Results | 10.1.2 | Recommendation | Spectral or system artifacts, such as sum peaks and escape peaks associated with the major peaks, should be considered and labeled or corrected.
Calculations and Interpretation of Results | 10.1.3 | Requirement | In addition to the higher energy peaks, verify the presence of lower energy peaks and their expected relative intensities. Individual asymmetric peaks and inconsistent peak ratios within an element’s expected energies can indicate a peak overlap. NOTE 6—Caution should be exercised when accepting background fits generated by automatic peak integration software; if the generated background does not fit the spectrum, the background can be manually adjusted for a better fit.
Calculations and Interpretation of Results | 10.1.4 | Informational Text | When the area of a characteristic energy of an element has a signal-to-noise ratio of three or more, that element is identifiable. This criterion is not applicable when spectral artifacts, overlapping energies of other elements, shoulder peaks, or baseline slope changes, or a combination thereof, are present within the characteristic energy range of that element. When one or more of these factors are present and the area of a characteristic energy of an element has a signal-to-noise ratio between three and ten, the element is indicated rather than identified.
Calculations and Interpretation of Results | 10.2 | Requirement | Compare the spectra using peak identification, spectral comparisons, and peak intensity ratio comparisons. Comparisons should only be performed with data collected using the same system parameters. NOTE 7—Peak identification and spectral comparisons are appropriate for all glass types. Peak intensity ratio comparisons are appropriate for those glasses shown to have a high level of elemental homogeneity, such as modern mass-produced soda-lime glass.
Calculations and Interpretation of Results | 10.2.1 | Requirement | Peak Identification Comparisons— Compare detected elements of the questioned and known glass spectra.
Calculations and Interpretation of Results | 10.2.2 | Requirement | Spectral Comparisons— Visually compare the spectral shapes and relative peak heights of the questioned and known glass sample spectra.
Calculations and Interpretation of Results | 10.2.3 | Section Title | Peak Intensity Ratio Comparisons:
Calculations and Interpretation of Results | 10.2.3.1 | Requirement | Determine which elements are suitable for use in semi-quantitative analysis by peak intensity ratio comparisons. When the area of a characteristic energy peak of an element has a signal-to-noise ratio of ten or more, that element is suitable for peak intensity ratio comparisons. This criterion may not apply when spectral artifacts, overlapping energies of other elements, shoulder peaks, or baseline slope changes, or a combination thereof, are present within the characteristic energy range of that element.
Calculations and Interpretation of Results | 10.2.3.2 | Requirement | Evaluate all elements that are suitable for comparison using elemental peak intensity ratios of the questioned and known glass spectra. Typical ratios for evaluation can include: Na/Mg, K/Ca, Ca/Mg, Ca/Fe, Ti/Fe, Mn/Fe, Sr/Fe or Zr/Fe, and Sr/Zr, if those elements are present above the limit of quantitation (LOQ). For all other element pairs, use elements close in atomic number. Examples of other elements that can be used for comparison are listed in Table X5.1. NOTE 8—Unless the glass has low iron content, it is recommended to use iron as the denominator for unlisted ratios involving elements with an atomic number greater than twenty. NOTE 9—Ratios using peak intensities of elements close in atomic number have improved precision because the effects of take-off angle are reduced. NOTE 10—Sulfur is generally avoided for peak intensity ratio comparisons because of higher levels of intra-sample variability between surface and bulk locations. Tin is omitted from ratios due to its surface content in float glasses, and silicon is not chosen for ratios because of its high concentration. Small peaks of apparent chromium can be misinterpreted due to the sum peak produced by the high levels of silicon and calcium in most soda-lime glasses.
Calculations and Interpretation of Results | 10.3 | Section Title | Interpretation of Comparisons:
Calculations and Interpretation of Results | 10.3.1 | Requirement | Peak Identification Comparisons— Reproducible differences in detected elements demonstrate exclusionary differences between samples. These comparisons can be conducted with preliminary screening data or full-length runs. When peak identification does not discriminate between the samples, conduct further spectral comparisons.
Calculations and Interpretation of Results | 10.3.2 | Requirement | Spectral Comparisons— Reproducible differences in spectral shapes and relative peak heights demonstrate exclusionary differences between samples. In the example provided (Fig. X1.1), reproducible, exclusionary differences are observed with multiple elements, including manganese, iron, and potassium. These spectral comparisons can be conducted with preliminary screening data or full-length runs. Peak intensity ratios can be calculated to numerically demonstrate this difference. When evaluation of spectral shapes and relative peak heights do not discriminate between the samples, calculate peak intensity ratios. In Fig. X1.2, an example is provided of a spectral overlay comparison that does not clearly discriminate between two samples and would therefore be suitable for peak intensity ratio comparisons.
Calculations and Interpretation of Results | 10.3.3 | Requirement | Peak Intensity Ratio Comparisons— Reproducible differences in peak intensity ratios demonstrate exclusionary differences between samples. Utilize one of the three following statistical measures to assess the association or discrimination of the samples based on elemental ratios.
Calculations and Interpretation of Results | 10.3.3.1 | Requirement | Modified ±3 s— The modified ±3 s interval has been demonstrated to have better performance for systems utilizing polycapillary optics and SDDs. The modified ±3 s interval can also be used for systems with collimator or monocapillary optics or Si(Li) detectors. For each elemental ratio, calculate the standard deviation of the known measurements. This is the measured standard deviation. Calculate 3 % of the average of the known measurements. This is the minimum standard deviation. Calculate an interval equal to the average of the known measurements plus or minus three times the standard deviation (the measured or the minimum standard deviation, whichever is greater). Compare the average for the questioned sample to the interval for the known sample. An exclusionary difference is present when the average ratio of the questioned sample does not fall within the interval for the known sample for at least one of the compared ratios.
Calculations and Interpretation of Results | 10.3.3.2 | Requirement | ±3 s— The ±3 s interval can be used for systems with collimators, monocapillary optics or with Si(Li) detectors. This criterion is not recommended for systems with polycapillary optics and SDD due to the increase in false exclusions related to their superior precision of the measurements. For each elemental ratio, compare the average ratio for the questioned sample to the average ratio for the known samples plus or minus three times the measured standard deviation. An exclusionary difference is present when the average ratio of the questioned sample does not fall within the interval for the known sample for at least one of the compared ratios.
Calculations and Interpretation of Results | 10.3.3.3 | Requirement | Elemental Ratio Range Overlap— The elemental ratio range overlap can be used for systems with collimators, monocapillary optics or with Si(Li) detectors. This criterion is not recommended for systems with polycapillary optics and SDD due to the increase in false exclusions related to the superior precision of the measurements. For each elemental ratio, compare the minimum-to-maximum range of the questioned sample replicates to the minimum-to-maximum range for the known sample replicates. An exclusionary difference is present when the range of the questioned sample does not overlap with the range for the known sample for at least one of the compared ratios.
Calculations and Interpretation of Results | 10.3.4 | Informational Text | If suitable spectra are produced, spectral comparisons provide information regarding the potential relationship between the sources of the samples. Sources are distinguishable when exclusionary differences are present and not explained by considerations such as sample heterogeneity or contamination. Sources are indistinguishable by XRF spectral comparisons when differences in peak intensity ratio comparisons between compared sets of spectra are within the variability of spectra established for the known source. Glass comparison by μ-XRF is one part of a multi-analytical comparative approach. Though μ-XRF data alone can be used to distinguish sources, it is not used independent of data obtained from other analytical techniques to reach an overall conclusion of indistinguishable sources. NOTE 11—The ability of this method to discriminate samples from different sources can be limited by sample fragment size or an elemental composition that results in few ratios suitable for semi-quantitative comparison. Source determinations can also be adversely affected by a known glass sample that is so minimal that it does not sufficiently represent the inherent variation in the broken glass, increasing the possibility of false exclusions.
Precision and Bias | 11 | Section Title
Precision and Bias | 11.1 | Section Title | Precision for Instruments with Si(Li) Detector:
Precision and Bias | 11.1.1.1 | Informational Text | An interlaboratory study was conducted in 2009 by the Elemental Analysis Working Group (EAWG) under National Institute of Justice grant 2009-DN-BX-K252. Standard reference glasses FGS 1 and FGS 2 of Latkoczy et al. (2005), which are soda-lime-silicate glasses manufactured by Schott (Schott, Germany) for the Bundeskriminalamt (BKA), were analyzed using XRF spectrometers equipped with Si(Li) detectors. Participating FSSP (see Table X4.2) performed seven replicate analyses on full thickness fragments of the FGS glasses. A normalization of the data with the CRM NIST SRM 1831 was conducted in order to standardize the responses from each participant and allow for direct comparison of the responses.
Precision and Bias | 11.1.2 | Informational Text | Results were reported based upon semi-quantitative analysis using elemental ratios. The following ratios were used for evaluation: Ca/Mg, Ca/Ti, Ca/Fe, Sr/Zr, Fe/Zr, and Ca/K. Element concentrations of NIST SRM 1831, FGS 1, and FGS 2, are presented in Appendix X2.
Precision and Bias | 11.1.3 | Informational Text | The precision data for FGS 1 and FGS 2 using a Si(Li) detector are tabulated in Table X3.1. The terms repeatability and reproducibility are used as specified in Practice E177. The 95 % limits were calculated by multiplying the respective standard deviations by a factor of 2.8.
Precision and Bias | 11.2 | Section Title | Precision for Instruments with SDD:
Precision and Bias | 11.2.1 | Informational Text | Another interlaboratory study was conducted in 2023 to evaluate the impact of improved μ-XRF technology (SDD and polycapillary optics) on the sensitivity (LOD) and precision for the forensic analysis of glass. For the 2023 interlaboratory study, standard reference glasses FGS 1 and FGS 2, normalized with SRM 1831, were analyzed. Eleven SDD μ-XRF configurations performed seven replicate analyses on full thickness fragments.
Precision and Bias | 11.2.2 | Informational Text | Results were reported based upon semi-quantitative analysis using elemental ratios. Repeatability and reproducibility was evaluated for the same six element intensity ratios as in the 2009 interlaboratory study and four additional element intensity ratios: Ca/Mg, Ca/K, Ca/Ti, Ca/Fe, Fe/Zr, Sr/Zr, Na/Mg, Ti/Fe, Mn/Fe, and Sr/Fe. The 2023 interlaboratory results showed improved precision for FGS 1 and FGS 2 compared to the precision originally reported in 2009. The 2023 interlaboratory study repeatability for the six element intensity ratios ranged from 1 % to 6 %, while the originally reported values using Si(Li)-detector-equipped systems ranged from 1 % to 11 %. The 2023 interlaboratory study reproducibility ranged from 2 % to 6 %, while the 2009 original values ranged from 3 % to 16 %.
Precision and Bias | 11.2.3 | Informational Text | The precision data for FGS 1 and FGS 2 using a SDD system are tabulated in Table X3.2.
Precision and Bias | 11.3 | Informational Text | Bias—No information can be presented on the bias of the procedure in this test method because this test method only allows for a semi-quantitative analysis of glass samples. Relative areas of the characteristic X-ray energy peaks are compared and evaluated between samples. The results of this test method are not directly comparable to known element concentrations.
Limit of Detection (LOD) and Limit of Quantitation (LOQ) | 12 | Section Title
Limit of Detection (LOD) and Limit of Quantitation (LOQ) | 12.1 | Informational Text | Limit of Detection (LOD)—The LOD is equal to three times the concentration of an element in a standard divided by the signal-to-noise ratio of the peak of that element.
Limit of Detection (LOD) and Limit of Quantitation (LOQ) | 12.2 | Informational Text | Limit of Quantitation (LOQ)—The LOQ is equal to ten times the concentration of an element in a standard divided by the signal-to-noise ratio of the peak of that element.
Limit of Detection (LOD) and Limit of Quantitation (LOQ) | 12.3 | Informational Text | LOD were determined for several elements in NIST SRM 1831, FGS 1, and FGS 2, from the data contained in the 2009 (see 11.1.1) and 2023 (see 11.2.1) interlaboratory studies. These results for μ-XRF systems used by the participants in both studies are presented in Table X4.1 and Table X4.3.
Limit of Detection (LOD) and Limit of Quantitation (LOQ) | 12.4 | Informational Text | In the 2023 interlaboratory study, polycapillary, monocapillary, and collimated optics were included among the participants (See Appendix Table X4.4), demonstrating a lower sensitivity when the monocapillary optic was employed, even when combined with an SDD. A polycapillary optic in combination with an Si(Li) detector showed better sensitivity than monocapillary/SDD, and the greatest sensitivity was obtained with the SDD combined with either polycapillary or collimated optics.
Limit of Detection (LOD) and Limit of Quantitation (LOQ) | 12.5 | Informational Text | Signal-to-noise ratio calculations are described in Appendix X5.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed | Clause involves options; this option was not chosen | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Forensic Document Examination
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics