## Instructions for Use
AAFS Standards Resources and Training
This checklist is made possible through the following financial assistance award 70NANB24H078 awarded to AAFS from U.S. Department of Commerce, National Institute of Standards and Technology Each checklist is specific to a version of a standard, which is hyperlinked in the checklist. Not all sections of a standard are included in a checklist. A checklist is a supplementary tool and should not be used independently. To properly use a checklist, reference the complete standard. Go to https://www.nist.gov/organization-scientific-area-committees-forensic-science/access-standards for information on how to access published standards. A checklist does not provide interpretation guidance. If you have questions related to interpretation, please contact the standard developing organization (SDO). The SDO may have standard specific training available.
A checklist can be used for one or both of the following purposes: • to evaluate the implementation of a standard, or • to audit (internal or external) conformance with requirements in the standard and an FSSP’s management system
Instructions for Use of this Checklist Basic information on use of the checklist is included in select Column Headers as a Comment. Beyond this, use the link above to the AAFS Standards Resources and Training web page to access written instructions and an on-demand training webinar.
NOTE: A Forensic Science Service Provider can use space on this tab to provide agency specific instructions to their staff that will complete this checklist.

## ANSI ASTM E3405-26
ANSI/ASTM E3405-26
Standard Practice for Forensic Fiber Training Program
Discipline: | Trace Evidence
Checklist version: | V1
Standard Section | Section or Clause Number | Clause Type | Clause Wording | FSSP Objective Evidence Document(s) or Records(s) | Implementation | Implementation Status | Reason for Less than Full Implementation | Implementation Plan/Other Notes | Date Implemented or Implementation Timeline Date | Auditing | Auditor Objective Evidence | Auditor Notes | Audit Status | Audit - Opportunity for Improvement | Audit - Nonconformance | Resolution of Nonconformance
Syllabus | 5 | Section Title
Syllabus | 5.1 | Requirement | Topics for fiber training shall include:
Syllabus | 5.1.1 | Requirement | Occurrence, transfer, and persistence of fibers;
Syllabus | 5.1.2 | Requirement | Evidence recovery procedures;
Syllabus | 5.1.3 | Requirement | Appropriate evidence handling to minimize contamination and loss;
Syllabus | 5.1.4 | Requirement | Evidence packaging and documentation;
Syllabus | 5.1.5 | Requirement | Fiber and microscopy terminology;
Syllabus | 5.1.6 | Requirement | Use and maintenance of microscopes;
Syllabus | 5.1.7 | Requirement | Understanding of fiber chemistry, biology, structure, and function;
Syllabus | 5.1.8 | Requirement | Identification, classification, and characterization of fibers;
Syllabus | 5.1.9 | Requirement | Classification of textiles and cordage;
Syllabus | 5.1.10 | Requirement | Understanding the principles of cognitive bias and their relationship to fiber analysis (see Practice E2917);
Syllabus | 5.1.11 | Requirement | Comparison of questioned and known fibers;
Syllabus | 5.1.12 | Requirement | Comparison of questioned and known fabrics and textiles;
Syllabus | 5.1.13 | Requirement | Comparison of questioned and known cordage;
Syllabus | 5.1.14 | Requirement | Recognition and characterization of textile and cordage damage;
Syllabus | 5.1.15 | Requirement | Recognition of fabric and cordage impressions;
Syllabus | 5.1.16 | Requirement | Additional analytical techniques that can be used for fiber analysis;
Syllabus | 5.1.17 | Requirement | Interpretation of comparison results;
Syllabus | 5.1.18 | Requirement | Preparation of laboratory reports; and
Syllabus | 5.1.19 | Requirement | Appropriate testimony of results and interpretations (see Practice E2917 for additional legal training recommendations).
Responsibilities | 6 | Section Title
Responsibilities | 6.1 | Section Title | Trainer Responsibilities:
Responsibilities | 6.1.1 | Requirement | The trainer shall be a FSP who is technically qualified in fiber examinations and comparison, including fabric and cordage analysis. The trainer is required to:
Responsibilities | 6.1.1.1 | Requirement | Document and review each stage of the training process.
Responsibilities | 6.1.1.2 | Requirement | Introduce the relevant scientific literature, appropriate procedures, training material, and reference collections.
Responsibilities | 6.1.1.3 | Requirement | Demonstrate and teach basic microscopy and instrumental procedures for the analysis and comparison of fiber evidence.
Responsibilities | 6.1.1.4 | Requirement | Teach case management, to include: chain of custody documentation; evidence processing, preservation, and storage; decision-making criteria (including the effects of cognitive bias); data interpretation; documentation of analyses; report writing; and laboratory safety protocols.
Responsibilities | 6.1.1.5 | Requirement | Foster ethical, unbiased, and appropriate professional conduct.
Responsibilities | 6.1.1.6 | Requirement | Teach appropriate quality assurance and quality control procedures (see Practice E3255 for additional information).
Responsibilities | 6.2 | Section Title | Trainee Responsibilities:
Responsibilities | 6.2.1 | Requirement | Through completion of this training, the trainee shall build on their formal educational background and acquire theoretical knowledge of and practical skills in:
Responsibilities | 6.2.1.1 | Requirement | Equipment and instrumentation use, routine maintenance, and functionality assessment;
Responsibilities | 6.2.1.2 | Requirement | Fiber and textile history and usage, including common end-uses of different fiber, yarn, fabric and cordage types;
Responsibilities | 6.2.1.3 | Requirement | Fiber, textile, and cordage terminology (see Terminology D123);
Responsibilities | 6.2.1.4 | Requirement | Fiber and textile chemistry;
Responsibilities | 6.2.1.5 | Requirement | Manufacturing processes, including chemical treatments, mechanical treatments, and dyeing and finishing processes;
Responsibilities | 6.2.1.6 | Requirement | Search, recovery, preservation, and examination techniques, including appropriate sample handling, packaging, and documentation of fibrous materials collected from a variety of substrates;
Responsibilities | 6.2.1.7 | Requirement | The principles of cognitive bias and their relationship to fiber analysis;
Responsibilities | 6.2.1.8 | Requirement | Classification of natural and manufactured fibers used in textile materials;
Responsibilities | 6.2.1.9 | Requirement | Identification and comparison of natural and manufactured fibers by optical, chemical, and physical property examinations;
Responsibilities | 6.2.1.10 | Requirement | Examination and comparison of textiles and cordage for physical construction and fiber composition;
Responsibilities | 6.2.1.11 | Requirement | The assessment of fibers and textiles for physical wear, damage, and manufacturing artifacts;
Responsibilities | 6.2.1.12 | Requirement | The interpretation of the results of fiber, textile, and cordage examinations, identifications, and comparisons, including factors affecting (1) the analytical interpretation and (2) the significance of the evidence with respect to fiber transfer and persistence;
Responsibilities | 6.2.1.13 | Requirement | Appropriate completion of laboratory reports;
Responsibilities | 6.2.1.14 | Requirement | Appropriate technical assessment of fiber reports for review;
Responsibilities | 6.2.1.15 | Requirement | Appropriate presentation of testimonial evidence; and
Responsibilities | 6.2.1.16 | Requirement | Detection and assessment of other types of physical evidence that could be encountered during fiber and textile examinations.
Training Program Objectives | 7 | Section Title
Training Program Objectives | 7.1 | Section Title | Expectations:
Training Program Objectives | 7.1.1 | Requirement | Provide a written schedule of expected completion dates for training goals.
Training Program Objectives | 7.1.2 | Requirement | Conduct periodic progress assessments between the trainer, trainee, and supervisor.
Training Program Objectives | 7.1.2.1 | Requirement | Establish objective evaluation criteria prior to beginning the training program, as well as contingencies for not passing a test.
Training Program Objectives | 7.1.2.2 | Requirement | Address any deficiencies in performance and make any necessary remediation available in a timely manner through additional readings, training, and re-evaluation of the training program.
Training Program Objectives | 7.1.2.3 | Requirement | Recognize that continued deficiencies suggest the unsuitability of the trainee for casework in fiber analysis.
Training Program Objectives | 7.1.3 | Requirement | A trainee with experience in other areas of forensic science could have previous knowledge and experience in microscopy, instrumentation, other areas of trace analysis, and in testimony, and therefore would not require such an extensive training regimen. Based on previous training and experience, a modified training program may be implemented; however, a trainee in this situation shall still demonstrate competency at the completion of the training program.
Training Program Objectives | 7.1.4 | Requirement | Once the training has been completed, the trainee shall understand the legal implications and common misconceptions of their work, and be able to communicate, both orally and in writing, without overstating the results or their significance, relevant information in terms non-expects will understand.
Training Program Objectives | 7.2 | Section Title | Instruction:
Training Program Objectives | 7.2.1 | Requirement | Select and discuss reading assignments in relevant scientific literature to provide a sound theoretical background and solid foundation in topics necessary for fiber analysis.
Training Program Objectives | 7.2.1.1 | Informational Text | Appendix X1 provides recommended readings to supplement subsequent sections. Other relevant readings can also be selected by the trainer.
Training Program Objectives | 7.2.2 | Requirement | Demonstrate and discuss basic and essential skills in sample preparation, microscopy, and instrumental procedures. The trainee then practices these skills until they exhibit competency in the technique(s) by demonstration to the trainer.
Training Program Objectives | 7.3 | Section Title | Observations:
Training Program Objectives | 7.3.1 | Requirement | Enable the trainee to observe (an) experienced FSP(s) in all aspects of casework, including:
Training Program Objectives | 7.3.1.1 | Requirement | Record keeping;
Training Program Objectives | 7.3.1.2 | Requirement | Evidence processing;
Training Program Objectives | 7.3.1.3 | Requirement | Sample preparation;
Training Program Objectives | 7.3.1.4 | Requirement | Examination of prepared samples;
Training Program Objectives | 7.3.1.5 | Requirement | Characterization, identification, comparison, and interpretation of fiber evidence; and
Training Program Objectives | 7.3.1.6 | Requirement | Development of a written laboratory report.
Training Program Objectives | 7.3.2 | Requirement | Enable the trainee to observe experienced FSPs testifying in court.
Training Program Objectives | 7.4 | Section Title | Practical Exercises:
Training Program Objectives | 7.4.1 | Requirement | Design practical exercises to allow the trainee to learn and practice the skills necessary to perform casework.
Training Program Objectives | 7.4.1.1 | Requirement | Include analysis of both reference materials and known samples.
Training Program Objectives | 7.4.2 | Requirement | Review the exercises with the trainee, with particular attention to development of critical-thinking skills and continual development of practical skills.
Training Program Objectives | 7.4.2.1 | Requirement | Include a discussion of the limitations and any known error rates for each individual technique and for the overall fiber examination process.
Training Program Objectives | 7.4.3 | Requirement | Design higher-level exercises to mimic the range of difficulty found in actual casework and to assess practical and critical-thinking skills.
Training Program Objectives | 7.4.4 | Requirement | Review performance and documentation during the exercises to evaluate the ability to make determinations based on fiber examinations.
Training Program Objectives | 7.4.5 | Requirement | Allow the trainee to assist in or observe casework performed by trained FSPs.
Training Program Objectives | 7.4.6 | Requirement | Document completion of the exercises.
Training Program Objectives | 7.4.7 | Requirement | Encourage continuous experimentation of skills beyond the required exercises.
Training Program Objectives | 7.5 | Section Title | Tests:
Training Program Objectives | 7.5.1 | Requirement | Design tests for each topic of fiber analysis to:
Training Program Objectives | 7.5.1.1 | Requirement | Provide focus and continual feedback on comprehension of the topic;
Training Program Objectives | 7.5.1.2 | Requirement | Provide documentation on the ability to meet training objectives;
Training Program Objectives | 7.5.1.3 | Requirement | Demonstrate the mastery of practical basic skills and theoretical knowledge; and
Training Program Objectives | 7.5.1.4 | Requirement | Maintain a record of satisfactory completion of each topic area.
Training Program Objectives | 7.5.2 | Requirement | Design practical laboratory tests for each area of fiber analysis to:
Training Program Objectives | 7.5.2.1 | Requirement | Enable the trainee to independently perform all aspects (administrative and technical) of the task being tested at simulated casework level.
Training Program Objectives | 7.5.2.2 | Requirement | Objectively evaluate the tests at casework level.
Training Program Objectives | 7.5.2.3 | Requirement | Document satisfactory completion.
Training Program Objectives | 7.5.3 | Requirement | Provide written or oral tests as a means of determining comprehension of the material and to document the training.
Training Program Objectives | 7.5.3.1 | Recommendation | Questions should be designed to test the trainee’s theoretical and practical knowledge.
Training Program Objectives | 7.6 | Section Title | Competency and Mock Trial:
Training Program Objectives | 7.6.1 | Requirement | Administer a competency test prior to authorizing the trainee to analyze and compare fiber evidence in supervised casework.
Training Program Objectives | 7.6.2 | Recommendation | The competency test should be designed to mimic the range of difficulty found in actual casework, requiring demonstration of knowledge of the laboratory procedures for (1) handling evidence; (2) case documentation; (3) maintaining chain of custody; (4) examining fiber evidence; (5) comparing fiber evidence; and (6) making determinations and writing reports based on the interpretations made.
Training Program Objectives | 7.6.3 | Requirement | Establish objective criteria for successful completion of a competency test.
Training Program Objectives | 7.6.4 | Requirement | If necessary, note any deficiencies or failures and develop a remediation plan.
Training Program Objectives | 7.6.5 | Requirement | Conduct a mock trial exercise.
Training Program Objectives | 7.6.5.1 | Requirement | Evaluate the ability of the trainee to orally express themselves appropriately in all aspects of their exercise. This includes testimony that is accurate, clear, transparent, and scientifically supportable.
Training Program Objectives | 7.7 | Section Title | Evaluation of Fiber Training:
Training Program Objectives | 7.7.1 | Requirement | Allow the trainee to evaluate the fiber training and the trainer.
Training Program Objectives | 7.7.2 | Requirement | Address any perceived deficiencies in the training and the trainer in a timely manner.
Training Program Objectives | 7.8 | Section Title | Casework Authorization:
Training Program Objectives | 7.8.1 | Requirement | Provide the trainee with written approval from designated laboratory personnel (for example, quality control officer, training manager) to perform supervised casework upon successful completion of the training program and a comprehensive competency test.
Training Program Objectives | 7.8.1.1 | Requirement | During this period of supervised casework, discuss and review laboratory results and documentation with the new FSP.
Training Program Objectives | 7.8.2 | Requirement | Provide the trainee with approval from designated laboratory personnel (for example, quality control officer, training manager) to perform independent casework in fiber examinations after successful completion of supervised casework.
Training Program Objectives | 7.8.2.1 | Requirement | Maintain written documentation of this completion.
Training Program Objectives | 7.8.3 | Requirement | Provide written approval for the trainee to perform independent casework.
Training Program Objectives | 7.9 | Section Title | Tailored Training Program:
Training Program Objectives | 7.9.1 | Recommendation | The topics covered in Sections 8 – 23 should be included in any laboratory training procedure, unless a laboratory can demonstrate that a topic is not applicable to the services offered in their laboratory.
Introduction to Fibers and Textiles | 8 | Section Title
Introduction to Fibers and Textiles | 8.1 | Requirement | Introduce the basic concepts and theoretical knowledge of fiber and textile product manufacture, construction, and use, in addition to commercial and forensic classifications, and provide an overview of forensic examinations for identification and comparisons. This area of training covers both historical and contemporary topics and provides the foundation upon which practical analytical skills are developed in the subsequent sections.
Introduction to Fibers and Textiles | 8.2 | Section Title | Textiles:
Introduction to Fibers and Textiles | 8.2.1 | Requirement | Instruct in the manufacturing, use, construction, and composition of different types of fibers and fabrics, to include the following:
Introduction to Fibers and Textiles | 8.2.1.1 | Requirement | Weaves, knits, and non-woven fabrics;
Introduction to Fibers and Textiles | 8.2.1.2 | Requirement | End-use applications of fibers, fabrics, and cordage, incorporating both household and clothing materials;
Introduction to Fibers and Textiles | 8.2.1.3 | Requirement | Dyeing and printing of fibers and fabrics;
Introduction to Fibers and Textiles | 8.2.1.4 | Requirement | Fiber components of textiles, including yarns, threads, embroidery, and button threads;
Introduction to Fibers and Textiles | 8.2.1.5 | Requirement | Delustrant and inclusions in fibers; and
Introduction to Fibers and Textiles | 8.2.1.6 | Requirement | Bicomponent fibers.
Introduction to Fibers and Textiles | 8.2.2 | Requirement | Require the trainee to:
Introduction to Fibers and Textiles | 8.2.2.1 | Requirement | Understand textile terminology.
Introduction to Fibers and Textiles | 8.2.2.2 | Requirement | Understand the physical construction of household and clothing textiles.
Introduction to Fibers and Textiles | 8.2.3 | Requirement | Practical exercises for the trainee:
Introduction to Fibers and Textiles | 8.2.3.1 | Requirement | Classify fabrics as to weave, knit, or non-woven.
Introduction to Fibers and Textiles | 8.2.3.2 | Requirement | Identify the warp and weft in woven fibers.
Introduction to Fibers and Textiles | 8.2.4 | Requirement | Evaluate by an oral or written test and a practical test, incorporating various textiles types.
Introduction to Fibers and Textiles | 8.3 | Section Title | Cordage:
Introduction to Fibers and Textiles | 8.3.1 | Requirement | Instruct in the manufacturing and construction of cordage. NOTE 1—Cordage terminology can vary within the literature.
Introduction to Fibers and Textiles | 8.3.2 | Requirement | Instruct in the documentation and handling of knots, to include refraining from altering knots when possible. This section is not intended to instruct in the identification of knots.
Introduction to Fibers and Textiles | 8.3.3 | Requirement | Require the trainee to:
Introduction to Fibers and Textiles | 8.3.3.1 | Requirement | Understand cordage terminology.
Introduction to Fibers and Textiles | 8.3.3.2 | Requirement | Understand how cordage is constructed.
Introduction to Fibers and Textiles | 8.3.3.3 | Requirement | Provide a physical description of cordage, to include where applicable: diameter, length, type of structure (for example, twisted, braided), number of plies/strands, twist directions (S or Z), type of braiding, length and angle of lay (crowns or turns/inch), color, and presence of internal or external marker yarns.
Introduction to Fibers and Textiles | 8.3.3.4 | Requirement | Provide a physical description of the plies and yarns from each component, to include if applicable: twist direction of yarns or fibers, number of yarns twisted together, number of filament fibers, length of lay of twisted yarns, type of twisted fibers (for example, staple, filament, film), and type of core that could be present (mono- or multifilament).
Introduction to Fibers and Textiles | 8.3.4 | Requirement | Practical exercise for the trainee:
Introduction to Fibers and Textiles | 8.3.4.1 | Requirement | Determine the physical construction of cordage samples.
Introduction to Fibers and Textiles | 8.3.5 | Requirement | Evaluate by an oral or written test and a practical test, incorporating various cordage types.
Introduction to Fibers and Textiles | 8.4 | Section Title | Overview of Fiber Examinations:
Introduction to Fibers and Textiles | 8.4.1 | Requirement | Introduce the basic steps in fiber examinations and how these steps are used (1) to identify and characterize a fiber, textile, or cordage and (2) to conduct comparisons.
Introduction to Fibers and Textiles | 8.4.1.1 | Informational Text | See Guides E2225 and E3404 for additional guidance.
Introduction to Fibers and Textiles | 8.4.2 | Requirement | Evaluate by an oral or written test.
Introduction to Fibers and Textiles | 8.5 | Section Title | Optional Training:
Introduction to Fibers and Textiles | 8.5.1 | Informational Text | External training experiences may additionally be offered, such as textile museum or industrial manufacturing plant tours, videos of textile processing, visits to fabric and carpet stores, and so forth.
Fiber Evidence | 9 | Section Title
Fiber Evidence | 9.1 | Section Title | Transfer and Persistence:
Fiber Evidence | 9.1.1 | Requirement | Introduce the basic concepts and theory of transfer and persistence of fibers. Discuss loss and contamination as it relates to transfer and persistence of fibers.
Fiber Evidence | 9.1.2 | Requirement | Instruct in the following concepts:
Fiber Evidence | 9.1.2.1 | Requirement | Locard’s Exchange Principle;
Fiber Evidence | 9.1.2.2 | Requirement | The potential significance of fibers as associative trace evidence in forensic cases;
Fiber Evidence | 9.1.2.3 | Requirement | The varying potential for different types of fibers to shed;
Fiber Evidence | 9.1.2.4 | Requirement | Fiber transfer mechanisms; and
Fiber Evidence | 9.1.2.5 | Requirement | Factors affecting fiber transfer and persistence (for example, amount of friction, physical characteristics of the fabric, duration of contact, force of contact, damage or lack of damage to material).
Fiber Evidence | 9.1.3 | Requirement | Instruct in techniques to prevent or reduce fiber evidence contamination and loss during laboratory examinations, including:
Fiber Evidence | 9.1.3.1 | Requirement | Wearing appropriate protective apparel;
Fiber Evidence | 9.1.3.2 | Requirement | Appropriate packaging, handling, and labeling;
Fiber Evidence | 9.1.3.3 | Requirement | Cleaning equipment and work surfaces;
Fiber Evidence | 9.1.3.4 | Requirement | Maintaining a controlled environment; and
Fiber Evidence | 9.1.3.5 | Requirement | Separating evidence from different sources by location and time.
Fiber Evidence | 9.1.4 | Requirement | Ensure the trainee can demonstrate comprehension of contamination and loss prior to training in basic practical skills.
Fiber Evidence | 9.1.5 | Requirement | Practical exercises for the trainee:
Fiber Evidence | 9.1.5.1 | Requirement | Demonstrate knowledge of the types of cases in which fiber evidence is encountered and transferred through an oral or written exercise.
Fiber Evidence | 9.1.5.2 | Requirement | Assess the potential for transfer and persistence of fibers by simulating crime scene activity and by varying (1) fabric construction and composition, (2) fabric damage, (3) amount and force of contact, (4) time of collection, and (5) additional activity after the simulation.
Fiber Evidence | 9.1.6 | Requirement | Evaluate by an oral or written test.
Fiber Evidence | 9.2 | Section Title | Search, Collection, and Preservation Techniques:
Fiber Evidence | 9.2.1 | Requirement | Introduce the basic procedures and processes for appropriately documenting, detecting, collecting, and preserving all types of fiber evidence.
Fiber Evidence | 9.2.1.1 | Informational Text | See Practices E1459 and E1492 for additional guidance.
Fiber Evidence | 9.2.2 | Requirement | Expose the trainee to practical evidence handling issues such as transfer, persistence, and loss of trace evidence.
Fiber Evidence | 9.2.3 | Requirement | Allow the trainee to observe fiber collection in the laboratory and in the field, if possible.
Fiber Evidence | 9.2.4 | Requirement | Demonstrate how to maintain control and integrity of fiber evidence throughout collection, examination, and de-mounting.
Fiber Evidence | 9.2.5 | Requirement | Complete this training section in conjunction with Section 10.
Fiber Evidence | 9.2.6 | Requirement | Require the trainee to:
Fiber Evidence | 9.2.6.1 | Requirement | Recognize fiber evidence.
Fiber Evidence | 9.2.6.2 | Requirement | Understand and discuss laboratory requirements for documentation of fiber evidence.
Fiber Evidence | 9.2.6.3 | Requirement | Coordinate fiber collection with other types of evidence collection.
Fiber Evidence | 9.2.6.4 | Requirement | Use picking, taping, scraping, and vacuuming procedures to collect fibers from a variety of surfaces, in conjunction with (1) understanding the benefits and disadvantages of each collection procedure, (2) preventing contamination and loss of fiber evidence, (3) using alternate lighting techniques, and (4) documenting examination and collection.
Fiber Evidence | 9.2.6.5 | Requirement | Understand and discuss preservation techniques appropriate for various types of fiber evidence.
Fiber Evidence | 9.2.7 | Requirement | Practical exercises for the trainee:
Fiber Evidence | 9.2.7.1 | Requirement | Perform collection of several fiber samples from various surfaces using procedures outlined above. Assess the efficiency and discrimination of each collection procedure.
Fiber Evidence | 9.2.7.2 | Requirement | Demonstrate appropriate packaging techniques and documentation for trace material collected from items of evidence.
Fiber Evidence | 9.2.7.3 | Requirement | Demonstrate the ability to appropriately handle and preserve fiber evidence, from collection and mock examination to de-mounting.
Fiber Evidence | 9.2.7.4 | Requirement | Tape lift or vacuum a “clean” laboratory surface and examine for any fibers.
Fiber Evidence | 9.2.7.5 | Requirement | Practice awareness for the potential of fiber transfer and contamination (for example, place textile items on clean surfaces, remove, and collect from the surface; then place textile items on clean surfaces, remove, place other items on the surface, and then collect from the second item and evaluate results).
Fiber Evidence | 9.2.8 | Requirement | Evaluate by an oral or written test as well as a practical test.
Microscopy and Fiber Evidence | 10 | Section Title
Microscopy and Fiber Evidence | 10.1 | Section Title | Introduction to Microscopy:
Microscopy and Fiber Evidence | 10.1.1 | Requirement | Introduce the theory, basic procedures and techniques, and proper operation of a stereomicroscope, polarized light microscope (PLM), comparison microscope, and fluorescence microscope, to include:
Microscopy and Fiber Evidence | 10.1.1.1 | Requirement | Proper illumination;
Microscopy and Fiber Evidence | 10.1.1.2 | Requirement | Verification of ocular micrometer;
Microscopy and Fiber Evidence | 10.1.1.3 | Requirement | Care and maintenance of microscopes; and
Microscopy and Fiber Evidence | 10.1.1.4 | Requirement | Location and function of each microscope component.
Microscopy and Fiber Evidence | 10.1.1.5 | Informational Text | See Guide E2228 for additional guidance.
Microscopy and Fiber Evidence | 10.1.2 | Requirement | Require the trainee to:
Microscopy and Fiber Evidence | 10.1.2.1 | Requirement | Understand the optics of the microscope.
Microscopy and Fiber Evidence | 10.1.2.2 | Requirement | Properly set up, operate, and maintain each type of microscope and its accessories, including making adjustments, cleaning, and diagnosing problems.
Microscopy and Fiber Evidence | 10.1.2.3 | Requirement | Understand and discuss the strengths and limitations of each type of microscope.
Microscopy and Fiber Evidence | 10.1.2.4 | Requirement | Center microscope stages and objectives.
Microscopy and Fiber Evidence | 10.1.2.5 | Requirement | Establish and optimize proper illumination, to include Köhler or modified Köhler illumination.
Microscopy and Fiber Evidence | 10.1.2.6 | Requirement | Perform basic micrometry.
Microscopy and Fiber Evidence | 10.1.2.7 | Requirement | Observe samples under brightfield and crossed polars.
Microscopy and Fiber Evidence | 10.1.2.8 | Requirement | Observe relative refractive indices of various materials by the Becke line method.
Microscopy and Fiber Evidence | 10.1.2.9 | Requirement | Distinguish isotropic and anisotropic materials.
Microscopy and Fiber Evidence | 10.1.2.10 | Requirement | Determine extinction positions of various materials.
Microscopy and Fiber Evidence | 10.1.2.11 | Requirement | Observe interference colors of various materials.
Microscopy and Fiber Evidence | 10.1.2.12 | Requirement | Optimize lighting to achieve and recognize proper color-balancing on a comparison microscope for a similar visual response to color, clarity, and brightness.
Microscopy and Fiber Evidence | 10.1.2.13 | Requirement | Observe fluorescence of various materials, noting both color and intensity.
Microscopy and Fiber Evidence | 10.1.2.14 | Requirement | Practice taking photomicrographs using each type of microscope with appropriate camera equipment (if possible).
Microscopy and Fiber Evidence | 10.1.3 | Requirement | Practical exercises for the trainee:
Microscopy and Fiber Evidence | 10.1.3.1 | Requirement | Become familiar with the stereomicroscope.
Microscopy and Fiber Evidence | 10.1.3.2 | Requirement | Become familiar with the compound light microscope, to include performing Köhler or modified Köhler illumination and verifying an ocular micrometer for each objective.
Microscopy and Fiber Evidence | 10.1.3.3 | Requirement | Become familiar with the PLM, to include (1) determining refractive indices by the Becke line method; (2) observing samples using the polarizer and analyzer in different positions; (3) observing extinction positions and interference colors under crossed polars; and (4) inserting a compensator or full-wave plate and observing the resulting colors.
Microscopy and Fiber Evidence | 10.1.3.4 | Requirement | Become familiar with the comparison light microscope, to include making reference slides for color-balancing and achieving color-balancing.
Microscopy and Fiber Evidence | 10.1.3.5 | Requirement | Become familiar with the fluorescence microscope, to include using excitation and barrier filters and observing fluorescent colors and intensity.
Microscopy and Fiber Evidence | 10.1.3.6 | Requirement | Take photomicrographs of samples using each type of microscope, if possible.
Microscopy and Fiber Evidence | 10.1.4 | Requirement | Evaluate by a written and practical test.
Microscopy and Fiber Evidence | 10.2 | Section Title | Fiber Sample Preparation:
Microscopy and Fiber Evidence | 10.2.1 | Requirement | Instruct in handling and mounting of textiles, cordage, and single-fiber samples by:
Microscopy and Fiber Evidence | 10.2.1.1 | Requirement | Demonstrating manipulation and sampling of various textiles, cordage, and fibers; and
Microscopy and Fiber Evidence | 10.2.1.2 | Requirement | Selecting mounting media and tools appropriate to the evidence.
Microscopy and Fiber Evidence | 10.2.2 | Requirement | Require the trainee to:
Microscopy and Fiber Evidence | 10.2.2.1 | Requirement | Select the appropriate tools for fiber sample manipulation;
Microscopy and Fiber Evidence | 10.2.2.2 | Requirement | Select the appropriate mounting media for sample observation;
Microscopy and Fiber Evidence | 10.2.2.3 | Requirement | Prepare slides from various textiles, cordage, and fiber samples for microscopical observation; and
Microscopy and Fiber Evidence | 10.2.2.4 | Requirement | Select appropriate microscopes and accessories for the required task.
Microscopy and Fiber Evidence | 10.2.3 | Requirement | Practical exercises for the trainee:
Microscopy and Fiber Evidence | 10.2.3.1 | Requirement | Practice retrieving fibers from tape lifts.
Microscopy and Fiber Evidence | 10.2.3.2 | Requirement | Practice de-mounting fibers from slides.
Microscopy and Fiber Evidence | 10.2.4 | Requirement | Evaluate by a written and practical test.
Microscopy and Fiber Evidence | 10.3 | Section Title | Recognition of Fibers by Microscopy:
Microscopy and Fiber Evidence | 10.3.1 | Requirement | Introduce the process of describing and recognizing basic fiber features, including:
Microscopy and Fiber Evidence | 10.3.1.1 | Requirement | Color (both macroscopic and microscopic);
Microscopy and Fiber Evidence | 10.3.1.2 | Requirement | Natural versus manufactured;
Microscopy and Fiber Evidence | 10.3.1.3 | Requirement | Longitudinal appearance;
Microscopy and Fiber Evidence | 10.3.1.4 | Requirement | Cross-sectional shape; and
Microscopy and Fiber Evidence | 10.3.1.5 | Requirement | Presence or absence of delustrant/inclusions.
Microscopy and Fiber Evidence | 10.3.2 | Requirement | Instruct in the ability to discern:
Microscopy and Fiber Evidence | 10.3.2.1 | Requirement | Differences in color using the unaided eye as well as the stereomicroscope and higher-powered microscopes;
Microscopy and Fiber Evidence | 10.3.2.2 | Requirement | Fiber shapes by using various cross-sectioning techniques;
Microscopy and Fiber Evidence | 10.3.2.3 | Requirement | Surface features;
Microscopy and Fiber Evidence | 10.3.2.4 | Requirement | Internal structure;
Microscopy and Fiber Evidence | 10.3.2.5 | Requirement | Dichroism;
Microscopy and Fiber Evidence | 10.3.2.6 | Requirement | Fiber diameter (both longitudinal and cross-sectional); and
Microscopy and Fiber Evidence | 10.3.2.7 | Requirement | Basic differences between manufactured, animal, mineral, and vegetable fibers.
Microscopy and Fiber Evidence | 10.3.3 | Requirement | Require the trainee to:
Microscopy and Fiber Evidence | 10.3.3.1 | Requirement | Observe fiber samples under brightfield and crossed polars using PLM.
Microscopy and Fiber Evidence | 10.3.3.2 | Requirement | Demonstrate an understanding of color and colorimetry.
Microscopy and Fiber Evidence | 10.3.3.3 | Requirement | Assess color and dichroism of fiber samples.
Microscopy and Fiber Evidence | 10.3.3.4 | Requirement | Understand metamerism and the usage of various light sources in the evaluation and comparison of color.
Microscopy and Fiber Evidence | 10.3.3.5 | Requirement | Assess the shape, surface, and internal features by optical cross-sectioning.
Microscopy and Fiber Evidence | 10.3.3.6 | Requirement | Prepare and mount cross sections of single fibers, multiple fibers, and fiber tufts using various techniques.
Microscopy and Fiber Evidence | 10.3.3.7 | Requirement | Measure fiber dimensions using ocular and stage micrometers.
Microscopy and Fiber Evidence | 10.3.3.8 | Requirement | Differentiate general morphological features distinguishing natural and manufactured fibers.
Microscopy and Fiber Evidence | 10.3.4 | Requirement | Practical exercises for the trainee:
Microscopy and Fiber Evidence | 10.3.4.1 | Requirement | Observe various different types of fibers, textiles, and cordage under the different microscopes, to include (1) different types of woven, non-woven, and knitted textiles; (2) textiles dyed by different methods; (3) textiles with prints, embroidery, and so forth; (4) textiles of varying colors, depth of color, texture, and luster.
Microscopy and Fiber Evidence | 10.3.4.2 | Requirement | Become familiar with the use of the stereomicroscope for fibers, to include sampling and practicing to recognize “target” fibers.
Microscopy and Fiber Evidence | 10.3.4.3 | Requirement | Become familiar with the use of the compound light microscope for fibers, to include (1) determining and comparing fiber diameters at each magnification and (2) observing and comparing fibers mounted in different mounting media,
Microscopy and Fiber Evidence | 10.3.4.4 | Requirement | Cross section various fibers using the different techniques learned.
Microscopy and Fiber Evidence | 10.3.4.5 | Requirement | Become familiar with the use of PLM for fibers.
Microscopy and Fiber Evidence | 10.3.4.6 | Requirement | Observe extinction, interference colors, and cross sections of various fibers.
Microscopy and Fiber Evidence | 10.3.4.7 | Requirement | Determine refractive indices of various fibers using the Becke line method.
Microscopy and Fiber Evidence | 10.3.4.8 | Requirement | Observe and note fiber texture, surface debris, and the presence or absence of pigment particles, inclusions, voids, draw marks, and striations.
Microscopy and Fiber Evidence | 10.3.4.9 | Requirement | Observe and note fiber color: uniformity, dyed/pigmented/printed, variation among sample set; and color and intensity under different orientations.
Microscopy and Fiber Evidence | 10.3.5 | Requirement | Evaluate by a written and practical test.
Microscopy of Vegetable Fibers | 11 | Section Title
Microscopy of Vegetable Fibers | 11.1 | Requirement | Instruct in the techniques used in the identification of plant fibers commonly used in textile products and cordage (for example, cotton, flax, jute, sisal, hemp).
Microscopy of Vegetable Fibers | 11.1.1 | Informational Text | See Guide E2228 for additional guidance.
Microscopy of Vegetable Fibers | 11.1.2 | Informational Text | The scope of this practice does not include other botanical identifications.
Microscopy of Vegetable Fibers | 11.2 | Requirement | Instruct in the information that can be obtained from cross-sectioning.
Microscopy of Vegetable Fibers | 11.3 | Requirement | Require the trainee to:
Microscopy of Vegetable Fibers | 11.3.1 | Requirement | Perform ashing/clearing and maceration of fibers for further observation.
Microscopy of Vegetable Fibers | 11.3.2 | Requirement | Use brightfield and PLM to:
Microscopy of Vegetable Fibers | 11.3.2.1 | Requirement | Observe (both longitudinally and in cross section) and identify plant tissue and cellular structural features that can be present;
Microscopy of Vegetable Fibers | 11.3.2.2 | Requirement | Compare and contrast the types and quality of information obtained from optical cross-sectioning versus physical cross-sectioning;
Microscopy of Vegetable Fibers | 11.3.2.3 | Requirement | Identify and measure cell structures (for example, entire cell length and width, cell wall, and lumen; spiral thickenings; pits; dislocations; cytoplasmic remnants; crystals; and resins);
Microscopy of Vegetable Fibers | 11.3.2.4 | Requirement | Identify basic plant tissues, including epidermis, xylem, phloem, seed and leaf hairs;
Microscopy of Vegetable Fibers | 11.3.2.5 | Requirement | Determine sign of elongation and direction of twist (Herzog test);
Microscopy of Vegetable Fibers | 11.3.2.6 | Requirement | Examine relative dimensions of the lumens in fiber cross sections; and
Microscopy of Vegetable Fibers | 11.3.2.7 | Requirement | Observe other optical properties of individual fibers, fiber tissue, and cells.
Microscopy of Vegetable Fibers | 11.3.3 | Requirement | Determine direction of twist by visual/macroscopical observation.
Microscopy of Vegetable Fibers | 11.3.4 | Requirement | Perform microchemical tests for degree of lignification (for example, Graff C, phloroglucinol, Herzberg).
Microscopy of Vegetable Fibers | 11.3.5 | Requirement | Classify fibers as vegetable, and further classify as bast (stem), leaf, or seed (fruit) fibers.
Microscopy of Vegetable Fibers | 11.3.6 | Requirement | Determine botanical identification as specifically as possible, using reference sources and comparisons.
Microscopy of Vegetable Fibers | 11.3.7 | Requirement | Understand the processing, dyeing techniques, and end-use products of various vegetable fibers.
Microscopy of Vegetable Fibers | 11.3.8 | Requirement | Understand and discuss the strengths and limitations of each technique used in the identification of vegetable fibers.
Microscopy of Vegetable Fibers | 11.4 | Requirement | Practical exercises for the trainee:
Microscopy of Vegetable Fibers | 11.4.1 | Requirement | Use known samples to study textile vegetable fibers (for example, cotton, coir, flax, hemp, ramie, jute, kapok, sisal, and manila (abaca)).
Microscopy of Vegetable Fibers | 11.4.2 | Requirement | Perform ashing/clearing and maceration to obtain samples for observation.
Microscopy of Vegetable Fibers | 11.4.3 | Requirement | Prepare and interpret cross sections by the various techniques learned.
Microscopy of Vegetable Fibers | 11.4.4 | Requirement | Prepare, observe, and characterize longitudinal and cross sections of textile vegetable fibers and note:
Microscopy of Vegetable Fibers | 11.4.4.1 | Requirement | Presence or absence of transverse dislocations;
Microscopy of Vegetable Fibers | 11.4.4.2 | Requirement | Variation in cell wall;
Microscopy of Vegetable Fibers | 11.4.4.3 | Requirement | Lumen dimension and diameter;
Microscopy of Vegetable Fibers | 11.4.4.4 | Requirement | Degree of cell separation from bundles;
Microscopy of Vegetable Fibers | 11.4.4.5 | Requirement | Shape of cell tips;
Microscopy of Vegetable Fibers | 11.4.4.6 | Requirement | Presence or absence of striations, markings, pits, spiral cell wall thickenings, and so forth;
Microscopy of Vegetable Fibers | 11.4.4.7 | Requirement | Presence, shape, and position of crystalline inclusions;
Microscopy of Vegetable Fibers | 11.4.4.8 | Requirement | Longitudinal appearance versus cross-sectional appearance;
Microscopy of Vegetable Fibers | 11.4.4.9 | Requirement | Cross-sectional shape; and
Microscopy of Vegetable Fibers | 11.4.4.10 | Requirement | Variation and arrangement of ultimates.
Microscopy of Vegetable Fibers | 11.4.5 | Requirement | Observe and interpret optical cross sections.
Microscopy of Vegetable Fibers | 11.4.6 | Requirement | Compare optical and created cross sections.
Microscopy of Vegetable Fibers | 11.4.7 | Requirement | Compare and contrast microscopic morphological features of fibers.
Microscopy of Vegetable Fibers | 11.4.8 | Requirement | Examine and compare dyed or printed fiber samples with untreated samples.
Microscopy of Vegetable Fibers | 11.4.9 | Requirement | Prepare single-fiber ultimates and determine natural fiber twist using the Herzog Effect.
Microscopy of Vegetable Fibers | 11.4.10 | Requirement | Perform the Drying Twist test and correlate with results from the Herzog test.
Microscopy of Vegetable Fibers | 11.5 | Requirement | Evaluate by an oral or written test and a practical test on identification of vegetable fibers.
Microscopy of Animal Textile Fibers | 12 | Section Title
Microscopy of Animal Textile Fibers | 12.1 | Informational Text | For the purposes of this practice, “animal” refers to non-human mammalian hairs that are used as fibers.
Microscopy of Animal Textile Fibers | 12.2 | Requirement | Instruct in the techniques used in the identification of animal textile fibers, which could include such products as silk, leather, and animal hairs.
Microscopy of Animal Textile Fibers | 12.2.1 | Informational Text | See Guide E2228 for additional guidance.
Microscopy of Animal Textile Fibers | 12.2.2 | Informational Text | The scope of this practice does not include animal hair species identification.
Microscopy of Animal Textile Fibers | 12.2.3 | Requirement | Instruct on the following topics:
Microscopy of Animal Textile Fibers | 12.2.3.1 | Requirement | Microscopic features of animal hairs;
Microscopy of Animal Textile Fibers | 12.2.3.2 | Requirement | Various domestic and local wild animal hairs that can be encountered in casework; and
Microscopy of Animal Textile Fibers | 12.2.3.3 | Requirement | Differences among domestic animal hairs (cat, dog) and animal textile fibers.
Microscopy of Animal Textile Fibers | 12.3 | Requirement | Require the trainee to:
Microscopy of Animal Textile Fibers | 12.3.1 | Requirement | Characterize optical and physical properties of animal textile fibers.
Microscopy of Animal Textile Fibers | 12.3.1.1 | Requirement | Make scale casts.
Microscopy of Animal Textile Fibers | 12.3.1.2 | Requirement | Identify and distinguish “wild” and “cultivated” types of silk.
Microscopy of Animal Textile Fibers | 12.3.1.3 | Requirement | Identify and describe the major morphological and structural features of animal hairs, including, but not limited to, root, cortex, medulla, scales, and shield, as appropriate for fur or guard hairs.
Microscopy of Animal Textile Fibers | 12.3.2 | Requirement | Distinguish human from animal hairs.
Microscopy of Animal Textile Fibers | 12.3.3 | Requirement | Identify the animal hairs and hides most commonly used in textile products:
Microscopy of Animal Textile Fibers | 12.3.3.1 | Requirement | Wool;
Microscopy of Animal Textile Fibers | 12.3.3.2 | Requirement | Goat family (mohair, cashmere);
Microscopy of Animal Textile Fibers | 12.3.3.3 | Requirement | Camel family (camel, alpaca, vicuna);
Microscopy of Animal Textile Fibers | 12.3.3.4 | Requirement | Rabbit (angora); and
Microscopy of Animal Textile Fibers | 12.3.3.5 | Requirement | Fur-bearing (mink, ermine, chinchilla).
Microscopy of Animal Textile Fibers | 12.3.4 | Requirement | Understand the processing, grading, finishing, and dyeing techniques for animal hairs, as well as the end uses.
Microscopy of Animal Textile Fibers | 12.3.5 | Requirement | Understand appropriate animal taxonomy and morphological terminology.
Microscopy of Animal Textile Fibers | 12.3.6 | Requirement | Understand and discuss the strengths and limitations of identifying animal textile hairs by microscopy.
Microscopy of Animal Textile Fibers | 12.4 | Requirement | Practical exercises for the trainee:
Microscopy of Animal Textile Fibers | 12.4.1 | Requirement | Examine human hairs and animal hairs to distinguish them from each other.
Microscopy of Animal Textile Fibers | 12.4.1.1 | Recommendation | Animal hairs that are more difficult to distinguish from human hairs, such as cattle, horse, and bear, should be emphasized.
Microscopy of Animal Textile Fibers | 12.4.2 | Requirement | Identify and characterize the structures in various types of animal-based textiles.
Microscopy of Animal Textile Fibers | 12.4.3 | Requirement | Perform scale casts on various animal hairs used in textiles.
Microscopy of Animal Textile Fibers | 12.4.4 | Requirement | Determine scale margin distances.
Microscopy of Animal Textile Fibers | 12.4.5 | Requirement | Examine silk.
Microscopy of Animal Textile Fibers | 12.4.6 | Requirement | Examine leather.
Microscopy of Animal Textile Fibers | 12.5 | Requirement | Evaluate by an oral or written test and a practical test, with emphasis on identification of animal hairs used in the textile industry.
Microscopy of Mineral Fibers | 13 | Section Title
Microscopy of Mineral Fibers | 13.1 | Requirement | Instruct in the history and use of mineral fibers.
Microscopy of Mineral Fibers | 13.1.1 | Informational Text | Manufactured textile products that could also fall under the classification of mineral fibers, such as glass wool, certain anti-static fibers, and metallic fibers, are addressed in Section 14.
Microscopy of Mineral Fibers | 13.1.2 | Requirement | Naturally-occurring mineral fibers such as asbestos can be encountered as fibrous evidence, although their use has declined significantly due to health risks. These types of fibers could be encountered as evidence from sources such as building insulation, old textile products, and current textile products containing chrysotile. Provide additional training regarding health and safety issues if handling such evidence.
Microscopy of Mineral Fibers | 13.1.3 | Informational Text | The emerging use of basalt fibers in fireproof textiles can be studied in this section of training as well.
Microscopy of Mineral Fibers | 13.2 | Requirement | Require the trainee to:
Microscopy of Mineral Fibers | 13.2.1 | Requirement | Understand the historical and current processing practices and end uses of the asbestos minerals, including:
Microscopy of Mineral Fibers | 13.2.1.1 | Requirement | Chrysotile;
Microscopy of Mineral Fibers | 13.2.1.2 | Requirement | Amosite;
Microscopy of Mineral Fibers | 13.2.1.3 | Requirement | Crocidolite;
Microscopy of Mineral Fibers | 13.2.1.4 | Requirement | Fibrous tremolite/actinolite; and
Microscopy of Mineral Fibers | 13.2.1.5 | Requirement | Fibrous anthophyllite.
Microscopy of Mineral Fibers | 13.2.2 | Requirement | Understand the crystalline nature, chemistry, and differences between layer and chain silicates.
Microscopy of Mineral Fibers | 13.2.3 | Requirement | Determine the optical properties of asbestos fibers by PLM and by dispersion staining.
Microscopy of Mineral Fibers | 13.2.4 | Requirement | Identify and classify asbestos by optical properties, particularly chrysotile.
Microscopy of Mineral Fibers | 13.2.5 | Requirement | Understand the applicability of instrumental techniques (for example, infrared spectroscopy, X-ray diffraction, and elemental analytical techniques) to this type of fiber identification.
Microscopy of Mineral Fibers | 13.2.6 | Requirement | Understand and discuss the strengths and limitations of identification of asbestos by microscopy.
Microscopy of Mineral Fibers | 13.3 | Requirement | Practical exercises for the trainee:
Microscopy of Mineral Fibers | 13.3.1 | Requirement | Use authenticated samples of asbestos, other natural fibers, and building materials to compare and contrast morphological features. Exercise caution when handling samples of asbestos.
Microscopy of Mineral Fibers | 13.3.2 | Requirement | Practice judging dispersion staining colors with known materials.
Microscopy of Mineral Fibers | 13.3.3 | Requirement | Examine and learn to identify the different types of asbestos using microscopy and dispersion staining techniques. Exercise caution when handling samples of asbestos.
Microscopy of Mineral Fibers | 13.3.4 | Requirement | Examine pulped polyethylene, pulped Kevlar, and leather to learn to differentiate from asbestos.
Microscopy of Mineral Fibers | 13.4 | Requirement | Evaluate by an oral or written test and a practical test.
Microscopy of Manufactured Fibers | 14 | Section Title
Microscopy of Manufactured Fibers | 14.1 | Informational Text | Manufactured fibers include fibers that are:
Microscopy of Manufactured Fibers | 14.1.1 | Informational Text | Made by chemical synthesis, such as thermoplastics, glass, and steel;
Microscopy of Manufactured Fibers | 14.1.2 | Informational Text | Made by regenerating natural polymers, such as rayon and bamboo; and
Microscopy of Manufactured Fibers | 14.1.3 | Informational Text | Derived from chemically-modified natural polymers, such as cellulose acetates.
Microscopy of Manufactured Fibers | 14.2 | Requirement | Include manufactured fibers such as fiberglass; metal-coated decorative threads; and antistatic, ceramic, and metal fibers in the training.
Microscopy of Manufactured Fibers | 14.3 | Informational Text | Refer to Guide E2228 for additional guidance.
Microscopy of Manufactured Fibers | 14.4 | Section Title | Optical Properties:
Microscopy of Manufactured Fibers | 14.4.1 | Requirement | Instruct in the appropriate techniques and observations for determining the optical properties of manufactured fibers.
Microscopy of Manufactured Fibers | 14.4.2 | Requirement | Require the trainee to:
Microscopy of Manufactured Fibers | 14.4.2.1 | Requirement | Determine refractive indices, sign of elongation, and birefringence of various manufactured fibers using the immersion method, and by using compensators and a quartz wedge.
Microscopy of Manufactured Fibers | 14.4.2.2 | Requirement | Determine refractive indices of fibers at different wavelengths through use of a dispersion staining objective.
Microscopy of Manufactured Fibers | 14.4.2.3 | Requirement | Use appropriate mounting media to reveal internal structures in fibers.
Microscopy of Manufactured Fibers | 14.4.2.4 | Requirement | Obtain optical property values of reference materials (from literature and reference collections).
Microscopy of Manufactured Fibers | 14.4.2.5 | Requirement | Classify manufactured fibers into the appropriate generic class based on optical properties.
Microscopy of Manufactured Fibers | 14.4.3 | Requirement | Practical exercises for the trainee:
Microscopy of Manufactured Fibers | 14.4.3.1 | Requirement | Determine sign of elongation using a first-order red compensator.
Microscopy of Manufactured Fibers | 14.4.3.2 | Requirement | Determine sign of elongation using a quartz wedge.
Microscopy of Manufactured Fibers | 14.4.3.3 | Requirement | Measure the birefringence of various fibers using a compensator or wedge.
Microscopy of Manufactured Fibers | 14.4.3.4 | Requirement | Measure the refractive indices of various fibers using the immersion method.
Microscopy of Manufactured Fibers | 14.4.3.5 | Requirement | Observe the amount of contrast and determine the relative refractive indices of multiple fibers in various mounting media.
Microscopy of Manufactured Fibers | 14.4.3.6 | Requirement | Observe the dispersion staining colors of various fibers and determine the refractive index matchpoints.
Microscopy of Manufactured Fibers | 14.4.3.7 | Requirement | Observe and note pigment particles, inclusions, voids, draw marks, and striations, and the amount, size, and shape of each.
Microscopy of Manufactured Fibers | 14.4.4 | Requirement | Evaluate by an oral or written test and a practical test.
Microscopy of Manufactured Fibers | 14.5 | Section Title | Cross Sections:
Microscopy of Manufactured Fibers | 14.5.1 | Requirement | Instruct in the information that can be obtained from each of the cross-sectional techniques learned. Cross sections can reveal the physical shape of the fiber, distribution of internal structures, and depth of dye penetration into the fiber.
Microscopy of Manufactured Fibers | 14.5.2 | Requirement | Require the trainee to:
Microscopy of Manufactured Fibers | 14.5.2.1 | Requirement | Measure fiber dimensions in cross section and determine the modification ratio of multi-lobed fibers.
Microscopy of Manufactured Fibers | 14.5.2.2 | Requirement | Describe and compare observed fiber features, such as: shape, delustrant, pigment particle distribution, presence and size of spherulites or voids, dye penetration depth, and bi-component fibers/biconstituent fibers in both cross- and longitudinal-sections.
Microscopy of Manufactured Fibers | 14.5.2.3 | Requirement | Determine fiber diameter and shape from longitudinal sections (optical cross sections).
Microscopy of Manufactured Fibers | 14.5.2.4 | Requirement | Compare and contrast the types and quality of information obtained from optical cross-sectioning versus physical cross-sectioning.
Microscopy of Manufactured Fibers | 14.5.2.5 | Requirement | Observe the relationship of fiber cross-sectional shape to generic class and end usage.
Microscopy of Manufactured Fibers | 14.5.3 | Requirement | Practical exercises for the trainee:
Microscopy of Manufactured Fibers | 14.5.3.1 | Requirement | Interpret cross sections made by the various techniques learned.
Microscopy of Manufactured Fibers | 14.5.3.2 | Requirement | Observe and interpret optical cross sections.
Microscopy of Manufactured Fibers | 14.5.3.3 | Requirement | Compare optical and created cross sections.
Microscopy of Manufactured Fibers | 14.5.3.4 | Requirement | Determine the modification ratio of multi-lobed fibers.
Microscopy of Manufactured Fibers | 14.5.4 | Requirement | Evaluate by an oral or written test and a practical test.
Microscopy of Manufactured Fibers | 14.6 | Section Title | Solubility:
Microscopy of Manufactured Fibers | 14.6.1 | Requirement | Instruct in solubility testing and the judicious use of this destructive technique. Advise as to the applicability of solubility testing, and how it can provide information for fiber identification of manufactured fibers or distinctions between manufactured fibers that cannot easily be provided by other techniques.
Microscopy of Manufactured Fibers | 14.6.2 | Requirement | Require the trainee to:
Microscopy of Manufactured Fibers | 14.6.2.1 | Requirement | Understand the procedure and applications of solubility testing.
Microscopy of Manufactured Fibers | 14.6.2.2 | Requirement | Micro-sample appropriately-sized fiber segments.
Microscopy of Manufactured Fibers | 14.6.2.3 | Requirement | Observe and describe solubility test reactions (for example, swelling, gelling, color change, soluble, insoluble).
Microscopy of Manufactured Fibers | 14.6.2.4 | Requirement | Use solubility testing to determine fiber generic class distinctions.
Microscopy of Manufactured Fibers | 14.6.2.5 | Requirement | Recognize the situations in which solubility testing is appropriate and select appropriate tests.
Microscopy of Manufactured Fibers | 14.6.2.6 | Requirement | Recognize solvent reactions indicative of bi-component/bi-constituent fiber compositions.
Microscopy of Manufactured Fibers | 14.6.3 | Requirement | Practical exercises for the trainee:
Microscopy of Manufactured Fibers | 14.6.3.1 | Requirement | Perform solvent testing on a variety of manufactured fibers.
Microscopy of Manufactured Fibers | 14.6.3.2 | Requirement | Perform solubility testing on acetate and triacetate fibers specifically.
Microscopy of Manufactured Fibers | 14.6.3.3 | Requirement | Practice re-using minimal fiber samples by solvent washing.
Microscopy of Manufactured Fibers | 14.6.3.4 | Requirement | Compare fiber types in side-by-side solubility reactions.
Microscopy of Manufactured Fibers | 14.6.4 | Requirement | Evaluate by an oral or written test and a practical test.
Microscopy of Manufactured Fibers | 14.7 | Section Title | Thermal Microscopy:
Microscopy of Manufactured Fibers | 14.7.1 | Requirement | Instruct in the use of PLM equipped with a hot stage to observe the effect of heat on thermoplastic fibers and to determine fiber melting point.
Microscopy of Manufactured Fibers | 14.7.1.1 | Informational Text | If a laboratory does not have a PLM equipped with a hot stage, but has a melting point apparatus, this module may be executed using the melting point apparatus.
Microscopy of Manufactured Fibers | 14.7.2 | Requirement | Advise as to the applicability and judicious use of this destructive technique.
Microscopy of Manufactured Fibers | 14.7.3 | Requirement | Require the trainee to:
Microscopy of Manufactured Fibers | 14.7.3.1 | Requirement | Properly set up, operate, and calibrate a hot stage apparatus attached to a microscope.
Microscopy of Manufactured Fibers | 14.7.3.2 | Requirement | Perform micro-sampling on appropriately-sized fiber segments.
Microscopy of Manufactured Fibers | 14.7.3.3 | Requirement | Use the hot stage for melting point determinations.
Microscopy of Manufactured Fibers | 14.7.3.4 | Requirement | Observe, describe, and evaluate thermal reactivity in fibers (for example, softening, charring, melting).
Microscopy of Manufactured Fibers | 14.7.3.5 | Requirement | Identify those situations in which thermal microscopy is appropriate.
Microscopy of Manufactured Fibers | 14.7.3.6 | Requirement | Obtain and compare melting point values from reference materials and from the literature.
Microscopy of Manufactured Fibers | 14.7.3.7 | Requirement | Understand alternative procedures of melting point determination.
Microscopy of Manufactured Fibers | 14.7.4 | Requirement | Practical exercises for the trainee:
Microscopy of Manufactured Fibers | 14.7.4.1 | Requirement | Determine melting range of various manufactured fibers.
Microscopy of Manufactured Fibers | 14.7.4.2 | Requirement | Identify and discriminate Nylon 6 and 6,6 by melting points.
Microscopy of Manufactured Fibers | 14.7.4.3 | Requirement | Observe and describe thermal reactions in bi-component and bi-constituent fibers.
Microscopy of Manufactured Fibers | 14.7.4.4 | Requirement | Compare fiber types in side-by-side thermal reactions.
Microscopy of Manufactured Fibers | 14.7.5 | Requirement | Evaluate by an oral or written test and a practical test.
Microscopy of Manufactured Fibers | 14.8 | Requirement | Evaluate the trainee in all the microscopical techniques for the identification of manufactured fibers by an oral or written test and a practical test.
Comparative Microscopy | 15 | Section Title
Comparative Microscopy | 15.1 | Requirement | Instruct in the microscopical comparison of fibers.
Comparative Microscopy | 15.1.1 | Informational Text | Refer to Guide E2228 and AATCC Test Method 20 for additional guidance.
Comparative Microscopy | 15.2 | Section Title | Compound Comparison Microscope:
Comparative Microscopy | 15.2.1 | Requirement | Instruct in the use and proper setup of the comparison microscope/comparison polarized light microscope for fiber comparisons.
Comparative Microscopy | 15.2.2 | Requirement | Discuss the necessity of using the comparison microscope/comparison polarized light microscope for the comparison of physical and optical properties of fibers.
Comparative Microscopy | 15.2.2.1 | Informational Text | If the laboratory does not possess a comparison polarized light microscope, a single polarized light microscope may be used to assess the optical properties of the fibers being compared.
Comparative Microscopy | 15.3 | Section Title | Fluorescence Microscopy:
Comparative Microscopy | 15.3.1 | Requirement | Instruct in the use of the fluorescence microscope for comparison, for both natural and manufactured fibers.
Comparative Microscopy | 15.3.2 | Requirement | Discuss the various filters or filter cubes (wavelength ranges, excitation, barrier filter, and dichromatic mirror) that are available to observe fluorescence in fibers.
Comparative Microscopy | 15.3.3 | Requirement | Discuss sample variability, mounting media, sample handling, photobleaching, quenching, and case circumstances that affect the fluorescence of fibers, as well as the significance and limitations for discriminating between samples.
Comparative Microscopy | 15.4 | Requirement | Require the trainee to:
Comparative Microscopy | 15.4.1 | Requirement | Perform comparisons of fiber features under the stereomicroscope (for example, color, diameter, luster).
Comparative Microscopy | 15.4.2 | Requirement | Perform comparisons of fiber features under PLM (for example, birefringence).
Comparative Microscopy | 15.4.3 | Requirement | Perform side-by-side comparison of fiber features using the comparison microscope (for example, color, diameter, delustrant, cross-sectional shape).
Comparative Microscopy | 15.4.4 | Requirement | Perform visual examinations and comparisons to assess the presence/absence of fluorescence and its dependence on various excitation conditions.
Comparative Microscopy | 15.4.4.1 | Requirement | Distinguish between fluorescence originating from dyes and that originating from optical brighteners.
Comparative Microscopy | 15.4.4.2 | Requirement | Recognize fluorescence from adherent material.
Comparative Microscopy | 15.4.4.3 | Requirement | Understand and discuss the factors which could affect fluorescence.
Comparative Microscopy | 15.4.5 | Requirement | Interpret the significance of the compared fiber features under each type of microscope.
Comparative Microscopy | 15.4.6 | Requirement | Sample fabric standards to represent the textile as a whole.
Comparative Microscopy | 15.5 | Requirement | Practical exercises for the trainee:
Comparative Microscopy | 15.5.1 | Requirement | Examine and compare various fibers to determine whether each sample can be distinguished by stereomicroscopy and PLM.
Comparative Microscopy | 15.5.2 | Requirement | Select and characterize fiber standard samples that represent the textile in its entirety.
Comparative Microscopy | 15.5.3 | Requirement | Conduct a performance check of the comparison microscope to ensure that lighting, color, background color, and magnification are balanced.
Comparative Microscopy | 15.5.4 | Requirement | Perform color comparisons of fibers under the comparison microscope.
Comparative Microscopy | 15.5.5 | Requirement | Perform comparisons of morphological features of fibers under the comparison microscope. Include the comparison of silk fibers to man-made fibers such as nylon and rayon.
Comparative Microscopy | 15.5.6 | Requirement | Perform comparisons of optical features of fibers under the comparison microscope/comparison polarized light microscope.
Comparative Microscopy | 15.5.7 | Requirement | Mount fibers in different media (for example, methanol, xylene, Entellan, Permount, Cargille) and observe any fluorescence.
Comparative Microscopy | 15.5.8 | Requirement | Wash unbleached cotton in detergent to observe optical brighteners under fluorescence.
Comparative Microscopy | 15.5.9 | Requirement | Expose textiles to products that can fluoresce (for example, watercolor paint, oil, lubricants, wallboard particles), sample the fibers and observe.
Comparative Microscopy | 15.5.10 | Requirement | Observe fibers longitudinally and in cross section under fluorescence.
Comparative Microscopy | 15.5.11 | Requirement | Perform comparisons of fibers based on their fluorescent properties.
Comparative Microscopy | 15.6 | Requirement | Evaluate by an oral or written test and a practical test. These tests should include:
Comparative Microscopy | 15.6.1 | Recommendation | Analytical procedures learned to this point.
Comparative Microscopy | 15.6.2 | Recommendation | Identification in addition to comparison on the test(s).
Comparative Microscopy | 15.6.3 | Recommendation | Both natural and manufactured fibers on the test(s).
Comparative Microscopy | 15.6.4 | Recommendation | An evaluation of the trainee’s critical-thinking skills as to the selection of examination processes and sequence of procedures.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16 | Section Title
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.1 | Requirement | Introduce the use of Infrared (IR) spectroscopy as a valuable technique in fiber polymer identification and comparison.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.1.1 | Informational Text | IR spectroscopy can provide additional compositional information to what is obtained from the use of PLM.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.1.2 | Informational Text | The IR spectrometer is primarily used in the identification of manufactured fibers.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.1.3 | Informational Text | While cellulosic and animal fibers are indistinguishable from one another using IR spectroscopy, the trainee will find it useful to analyze natural fibers using an IR spectrometer to gain experience from the spectral information obtained by this technique.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.2 | Requirement | Advise on the appropriate use of IR analysis for fibers in the analytical scheme.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.2.1 | Recommendation | IR spectroscopy should follow visible and fluorescence comparison microscopy and PLM. IR spectral analysis should also follow ultraviolet (UV)/visible spectroscopy, if sample preparation (for example, flattening) irreversibly changes fiber morphology. If fibers have been differentiated by a previous analytical technique, IR spectral analysis is not necessary.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.2.2 | Recommendation | IR spectroscopy should be conducted before dye extraction for chromatography due to the semi-destructive nature of the extraction technique.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.2.3 | Informational Text | Examination of acrylic and modacrylic fibers is likely to significantly benefit from IR spectral analysis due to the large number of sub-generic classes. Sub-types of nylon and polyester fibers can also be differentiated by IR spectroscopy.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.2.4 | Informational Text | Fiber dyes and pigments are difficult to discern by IR spectroscopy as they are often present at concentrations below the detection limits of the instrument and the polymer composition of the fiber often masks their absorption information.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.2.5 | Informational Text | Refer to Guide E2224 for additional guidance.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.3 | Requirement | Require the trainee to:
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.3.1 | Requirement | Properly operate and maintain an IR spectrometer and its accessories.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.3.2 | Requirement | Understand the theory of infrared absorption and Fourier-Transform IR spectroscopy.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.3.3 | Requirement | Understand and discuss the strengths and limitations of the instrument and its accessories.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.3.4 | Requirement | Identify those situations in which infrared analysis is appropriate.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.3.5 | Requirement | Prepare samples by a variety of techniques.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.3.6 | Requirement | Acquire spectra from various samples.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.3.7 | Requirement | Perform spectral library searches.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.3.8 | Requirement | Interpret the spectral data.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.3.9 | Requirement | Compare spectral data between samples.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.4 | Requirement | Practical Exercises for the trainee:
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.4.1 | Requirement | Set up, operate, and do a performance check on the bench and microscope.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.4.2 | Requirement | Adjust apertures, objectives, and condensers for optimum performance.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.4.3 | Requirement | Practice sample handling and preparation.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.4.4 | Requirement | Achieve sample alignment with the aperture.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.4.5 | Requirement | Run several different types and sizes of fibers on the IR spectrometer.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.4.5.1 | Requirement | Run samples of cellulosic fibers for informational purposes.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.4.5.2 | Requirement | Run samples of animal textile fibers for informational purposes.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.4.5.3 | Requirement | Run samples of a wide variety of manufactured fibers, to include a variety of acrylics, modacrylics, nylons, and polyesters.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.4.6 | Requirement | Examine the effects of fiber thickness, flattening, and orientation.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.4.7 | Requirement | Examine a variety of fibers using the various techniques and sample preparation procedures available on the laboratory instrument (such as transmission, diamond cell, KBr salt plate, and ATR) and by using different detectors, if available.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.4.8 | Requirement | Interpret spectra and search spectral libraries.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.4.9 | Requirement | Identify the fiber type by IR spectroscopy.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.4.10 | Requirement | Perform spectral comparisons between fibers.
Fourier-Transform Infrared (FTIR) Spectroscopy | 16.5 | Requirement | Evaluate by an oral or written test and a practical test.
Microspectrophotometry | 17 | Section Title
Microspectrophotometry | 17.1 | Requirement | Instruct in the use of UV and visible light as a qualitative, quantitative, and objective process of color analysis.
Microspectrophotometry | 17.1.1 | Informational Text | Color analysis by spectrophotometry is applicable to both natural and manufactured fibers.
Microspectrophotometry | 17.1.2 | Informational Text | Refer to Guide E3406 for additional guidance.
Microspectrophotometry | 17.2 | Requirement | Require the trainee to:
Microspectrophotometry | 17.2.1 | Requirement | Properly operate, maintain, and conduct performance checks on the microspectrophotometer (MSP) and its accessories.
Microspectrophotometry | 17.2.2 | Requirement | Understand the theory of microspectrophotometry.
Microspectrophotometry | 17.2.3 | Requirement | Understand and optimize the optical properties of the MSP.
Microspectrophotometry | 17.2.4 | Requirement | Identify those situations in which microspectrophotometry is appropriate.
Microspectrophotometry | 17.2.5 | Requirement | Prepare samples for analysis by microspectrophotometry and select appropriate mounting media.
Microspectrophotometry | 17.2.6 | Requirement | Select appropriate parameters and apertures for the sample and acquire spectra.
Microspectrophotometry | 17.2.7 | Requirement | Evaluate the number of fibers required within a control sample to yield representative spectra.
Microspectrophotometry | 17.2.8 | Requirement | Interpret spectra.
Microspectrophotometry | 17.2.9 | Requirement | Demonstrate the ability to use the technique to compare spectra.
Microspectrophotometry | 17.2.10 | Requirement | Understand and discuss the strengths and limitations of the technique.
Microspectrophotometry | 17.3 | Requirement | Practical exercises for the trainee:
Microspectrophotometry | 17.3.1 | Requirement | Do performance checks using certified filters.
Microspectrophotometry | 17.3.2 | Requirement | Acquire spectra from various samples of fibers.
Microspectrophotometry | 17.3.2.1 | Requirement | Vary the parameters to obtain maximum absorbance values.
Microspectrophotometry | 17.3.2.2 | Requirement | Compare reproducibility in uniformly-dyed fibers.
Microspectrophotometry | 17.3.2.3 | Requirement | Vary fiber orientation and compare reproducibility.
Microspectrophotometry | 17.3.2.4 | Requirement | Vary fiber sample area on a single fiber and compare reproducibility.
Microspectrophotometry | 17.3.2.5 | Requirement | Vary fiber sample area on a set of fibers and compare reproducibility.
Microspectrophotometry | 17.3.2.6 | Requirement | Acquire and compare spectra from samples that exhibit variable dye uptake (for example, cotton).
Microspectrophotometry | 17.3.3 | Requirement | Acquire and compare spectra from metameric fibers.
Microspectrophotometry | 17.3.4 | Requirement | Acquire and compare spectra from multiple MSP instruments, if available.
Microspectrophotometry | 17.3.5 | Requirement | Acquire spectral sets of known and questioned samples and compare spectral curves between samples.
Microspectrophotometry | 17.3.6 | Requirement | Acquire spectra of various samples of light-colored wool, silk, and polyester fibers and compare the spectra within the fiber type.
Microspectrophotometry | 17.4 | Requirement | Evaluate through an oral or written test and a practical test.
Thin-Layer Chromatography (TLC) | 18 | Section Title
Thin-Layer Chromatography (TLC) | 18.1 | Requirement | Instruct in the appropriate application of thin-layer chromatography (TLC) to fiber dye analysis and comparison.
Thin-Layer Chromatography (TLC) | 18.1.1 | Informational Text | Dye analysis by TLC is applicable to both natural and manufactured fibers.
Thin-Layer Chromatography (TLC) | 18.1.2 | Informational Text | Refer to Guide E2227 for additional guidance.
Thin-Layer Chromatography (TLC) | 18.2 | Requirement | Require the trainee to:
Thin-Layer Chromatography (TLC) | 18.2.1 | Requirement | Understand the physical and chemical principles of TLC.
Thin-Layer Chromatography (TLC) | 18.2.2 | Requirement | Identify those situations in which TLC analysis is appropriate.
Thin-Layer Chromatography (TLC) | 18.2.3 | Requirement | Use standard dye mixtures for testing eluent, extraction chemical, and system performance.
Thin-Layer Chromatography (TLC) | 18.2.4 | Requirement | Classify dyes based on fiber type and extraction reactions in various solvents.
Thin-Layer Chromatography (TLC) | 18.2.5 | Requirement | Successfully extract dye from both bulk samples and single fibers.
Thin-Layer Chromatography (TLC) | 18.2.6 | Requirement | Effectively apply samples to a TLC plate.
Thin-Layer Chromatography (TLC) | 18.2.7 | Requirement | Select optimum eluent system(s) and develop TLC plates using the appropriate eluent(s).
Thin-Layer Chromatography (TLC) | 18.2.8 | Requirement | Develop and evaluate chromatograms for colors, fluorescence, position, and intensity of bands under both UV and visible light. Calculate the Rf values.
Thin-Layer Chromatography (TLC) | 18.2.9 | Requirement | Compare TLC results between samples.
Thin-Layer Chromatography (TLC) | 18.2.10 | Requirement | Interpret the significance of the observed chromatogram.
Thin-Layer Chromatography (TLC) | 18.3 | Requirement | Practical exercises for the trainee:
Thin-Layer Chromatography (TLC) | 18.3.1 | Requirement | Extract and classify fiber dyes.
Thin-Layer Chromatography (TLC) | 18.3.2 | Requirement | Perform TLC on various dyed fibers and textiles.
Thin-Layer Chromatography (TLC) | 18.3.3 | Requirement | Using different eluent systems, extract fibers from known dye classes and compare.
Thin-Layer Chromatography (TLC) | 18.3.4 | Requirement | Using different solvent systems, perform TLC on fibers from known dye classes and compare.
Thin-Layer Chromatography (TLC) | 18.3.5 | Requirement | Perform TLC on similarly-colored fibers and compare.
Thin-Layer Chromatography (TLC) | 18.3.6 | Requirement | Perform TLC on basic-dyed acrylic fibers (bulk samples).
Thin-Layer Chromatography (TLC) | 18.3.7 | Requirement | Perform TLC on basic-dyed acrylic fibers of differing lengths.
Thin-Layer Chromatography (TLC) | 18.4 | Requirement | Evaluate through a written or oral test and a practical test, covering sample application, plate development, and interpretation of bands.
Comparison | 19 | Section Title
Comparison | 19.1 | Requirement | Instruct the trainee in:
Comparison | 19.1.1 | Requirement | The classification and comparison of a variety of fibers, both natural and manufactured, based on their physical, optical, and chemical characteristics.
Comparison | 19.1.2 | Requirement | The appropriate sampling of textiles and cordage to obtain a known fiber standard, including the use of alternate lighting techniques for sample selection.
Comparison | 19.1.3 | Requirement | The comparison of cordage and textiles, including yarns, threads, fabrics, embroidery, and button threads.
Comparison | 19.1.4 | Requirement | The application of fiber examination to mock casework scenarios.
Comparison | 19.2 | Requirement | Require the trainee to:
Comparison | 19.2.1 | Requirement | Learn to select known samples representative of the variation within a textile, including color, pattern, fiber-type, and texture.
Comparison | 19.2.2 | Requirement | Understand and apply the techniques learned for the examination and comparison of the physical construction and composition of textiles, including yarns, threads, fabrics, embroidery, and button threads.
Comparison | 19.2.3 | Requirement | Understand and apply the techniques learned for the examination and comparison of the physical construction and composition of cordage.
Comparison | 19.2.4 | Requirement | Appropriately apply processes and techniques learned throughout the training period for fiber analysis and comparison.
Comparison | 19.2.5 | Requirement | Assess comparison results and understand and explain the significance of the results.
Comparison | 19.2.6 | Requirement | Define and recognize exclusionary differences.
Comparison | 19.2.7 | Requirement | Understand and discuss the discrimination power of the analytical protocol(s) used.
Comparison | 19.2.8 | Requirement | Evaluate the appropriate process of analysis, based on casework scenarios.
Comparison | 19.3 | Requirement | Practical exercises for the trainee:
Comparison | 19.3.1 | Requirement | Perform fiber comparisons.
Comparison | 19.3.2 | Requirement | Identify the types of fibers present in a textile, including both clothing and household textiles.
Comparison | 19.3.3 | Requirement | Compare the physical construction of textiles.
Comparison | 19.3.4 | Requirement | Determine the composition of various natural-fiber and manufactured-fiber cordages.
Comparison | 19.3.5 | Requirement | Compare the physical construction of cordages.
Comparison | 19.3.6 | Requirement | Interpret the completed exercises.
Comparison | 19.3.7 | Requirement | Assess the processes of fiber analysis that should be used in mock scenarios.
Comparison | 19.4 | Requirement | Evaluate by an oral or written test and a practical test, including:
Comparison | 19.4.1 | Requirement | Determination of textile content, incorporating both natural and manufactured fibers.
Comparison | 19.4.2 | Requirement | Comparison of textile construction and composition, incorporating both natural and manufactured products.
Comparison | 19.4.3 | Requirement | Determination of fiber content of cordage, incorporating both natural and manufactured fibers.
Comparison | 19.4.4 | Requirement | Comparison of cordage construction and composition, incorporating both natural and manufactured products.
Comparison | 19.4.5 | Requirement | An evaluation of the trainee’s critical-thinking skills as to selection of examination techniques and sequence of procedures.
Damage and Impressions | 20 | Section Title
Damage and Impressions | 20.1 | Requirement | Instruct the trainee in:
Damage and Impressions | 20.1.1 | Requirement | The recognition, examination, and possible cause(s) of damage to textile and cordage materials.
Damage and Impressions | 20.1.2 | Requirement | The recognition and documentation of fabric and cordage impressions. The analysis of fabric and cordage impressions is outside the scope of this practice.
Damage and Impressions | 20.1.3 | Requirement | The recognition, documentation, potential composition, and examination of fiber-plastic (thermoplastic) fusions. The analysis of the non-fiber (such as paint or other polymer) portions of a thermoplastic fusion is outside the scope of this practice.
Damage and Impressions | 20.1.4 | Requirement | The recognition of when a physical fit could be pursued, if relevant. Physical fitting of textile materials and cordage is beyond the scope of this practice.
Damage and Impressions | 20.2 | Requirement | Require the trainee to:
Damage and Impressions | 20.2.1 | Requirement | Identify and characterize the possible causes of physical, chemical, mechanical, and environmental damage to textile and cordage materials.
Damage and Impressions | 20.2.2 | Requirement | Recognize and characterize the types of damage that can occur from normal wear (for example, seam separation, stains, snags, runs, pills, holes, fraying).
Damage and Impressions | 20.2.3 | Requirement | Examine and identify different types of textile damage and identify characteristics commonly associated with each type (for example, cuts, tears, burned material, gunshots) by visual, stereomicroscopical, and microscopical procedures.
Damage and Impressions | 20.2.3.1 | Informational Text | Imaging by Scanning Electron Microscopy (SEM) can be useful in the recognition and characterization of textile damage. See 21.3.4.
Damage and Impressions | 20.2.4 | Requirement | Examine airbags and identify singe marks on textiles caused by airbags.
Damage and Impressions | 20.2.5 | Requirement | Reproduce different types of damage (for example, cuts, tears, gunshots) and understand how simulations are useful in examinations.
Damage and Impressions | 20.2.6 | Requirement | Understand how laundering can affect the characteristics of damage.
Damage and Impressions | 20.2.7 | Requirement | Identify and document fabric impressions.
Damage and Impressions | 20.2.7.1 | Requirement | Understand different procedures by which fabric impressions can be collected from a crime scene (for example, photography, tape lifts, gel lifts).
Damage and Impressions | 20.2.8 | Requirement | Identify, examine, and collect material from fiber-plastic fusions.
Damage and Impressions | 20.3 | Requirement | Practical exercises for the trainee:
Damage and Impressions | 20.3.1 | Requirement | Expose various textiles and cordage to environmental damage (for example, weathering such as sunlight and rain, burial, submersion), observe resulting characteristics, and compare to each other and to the original textile.
Damage and Impressions | 20.3.2 | Requirement | Expose various textiles and cordage to chemical damage (for example, acids, bases, ignitable liquids, household chemicals), observe resulting characteristics, and compare to each other and to the original textile.
Damage and Impressions | 20.3.3 | Requirement | Expose various textiles and cordage to mechanical damage (for example, laundering, crushing, burning, abrading), observe resulting characteristics, and compare to each other and to the original textile.
Damage and Impressions | 20.3.4 | Requirement | Subject various textiles and cordage to damage by weapons or other implements (for example, serrated knife, key, scissors, ice pick, double-edged knife, bullet, screwdriver, knitting needle) that can be used in stabbing, slashing, tearing, and projectile damage; observe resulting characteristics, and compare to each other and to the original textile.
Damage and Impressions | 20.3.5 | Requirement | Simulate fabric impressions using various types of textiles and cordage, including airbags.
Damage and Impressions | 20.3.6 | Requirement | Obtain exemplars of fiber-plastic fusions and fiber-airbag fusions (for example, from junkyards); examine, collect, and characterize material from these samples.
Damage and Impressions | 20.4 | Requirement | Evaluate by an oral or written test and a practical test, including:
Damage and Impressions | 20.4.1 | Requirement | Assessment and characterization of textile damage, to include physical, chemical, mechanical, and environmental damage, and damage by weapons;
Damage and Impressions | 20.4.2 | Requirement | Assessment of fabric impressions;
Damage and Impressions | 20.4.3 | Requirement | Assessment of damage versus wear;
Damage and Impressions | 20.4.4 | Requirement | Assessment of fiber-plastic fusions, to include collection and comparison of material from such fusions;
Damage and Impressions | 20.4.5 | Requirement | Assessment of fiber-airbag fusions, to include collection and comparison of material from such fusions; and
Damage and Impressions | 20.4.6 | Requirement | An evaluation of critical-thinking skills as to selection of examination techniques and sequence of procedures.
Fiber Examination—Additional Techniques | 21 | Section Title
Fiber Examination—Additional Techniques | 21.1 | Requirement | Familiarize the trainee with a variety of additional instrumental techniques that can be applied to fiber and textile examinations.
Fiber Examination—Additional Techniques | 21.2 | Recommendation | This section is intended to provide a basic introduction to the theoretical knowledge of these techniques. If the laboratory uses any of these procedures for fiber analysis, the modules should be amended to include:
Fiber Examination—Additional Techniques | 21.2.1 | Recommendation | Specifically-stated learning objectives;
Fiber Examination—Additional Techniques | 21.2.2 | Recommendation | Additional reading assignments;
Fiber Examination—Additional Techniques | 21.2.3 | Recommendation | Basic skills demonstrations;
Fiber Examination—Additional Techniques | 21.2.4 | Recommendation | Practical exercises; and
Fiber Examination—Additional Techniques | 21.2.5 | Recommendation | Oral or written tests and a practical test.
Fiber Examination—Additional Techniques | 21.3 | Informational Text | Upon satisfactory completion of this training module, the trainee will have developed theoretical knowledge in the applicability and use of alternative procedures in fiber examinations including, but not limited to, the use of:
Fiber Examination—Additional Techniques | 21.3.1 | Informational Text | Raman spectroscopy;
Fiber Examination—Additional Techniques | 21.3.2 | Informational Text | Pyrolysis-gas chromatography (PGC) and pyrolysis-gas chromatography/mass spectrometry (PGC/MS);
Fiber Examination—Additional Techniques | 21.3.3 | Informational Text | Capillary electrophoresis (CE) and high-performance liquid chromatography (HPLC) for dye analysis;
Fiber Examination—Additional Techniques | 21.3.4 | Informational Text | Scanning electron microscopy/energy dispersive x-ray spectroscopy (SEM/EDS) (refer to Guide E2809); and
Fiber Examination—Additional Techniques | 21.3.5 | Informational Text | X-ray fluorescence (XRF).
Fiber Examination—Additional Techniques | 21.4 | Requirement | For each of the techniques listed in 21.3, the trainee shall:
Fiber Examination—Additional Techniques | 21.4.1 | Requirement | Describe how the technique can be utilized in the forensic analysis of fibers and dyes.
Fiber Examination—Additional Techniques | 21.4.2 | Requirement | Describe the theory and basic principles of the technique.
Fiber Examination—Additional Techniques | 21.4.3 | Requirement | Describe the strengths and weaknesses of the technique.
Fiber Examination—Additional Techniques | 21.5 | Requirement | Evaluate by an oral or written test.
Interpretation and Report Writing | 22 | Section Title
Interpretation and Report Writing | 22.1 | Section Title | Interpretation:
Interpretation and Report Writing | 22.1.1 | Requirement | Instruct in integrating the factors that affect evidence interpretations and the significance of fiber evidence.
Interpretation and Report Writing | 22.1.2 | Requirement | Practical exercise for the trainee:
Interpretation and Report Writing | 22.1.2.1 | Requirement | Interpret technically-reviewed, completed laboratory casefiles on fiber evidence.
Interpretation and Report Writing | 22.1.2.2 | Requirement | Review and interpret previously-completed practical exercises.
Interpretation and Report Writing | 22.1.2.3 | Requirement | Understand and discuss the strengths and limitations of different fiber types, fabrics, and cordage, based upon factors such as color; commonness or uncommonness of fiber type; number of comparable characteristics; or texture of material.
Interpretation and Report Writing | 22.2 | Section Title | Report Writing:
Interpretation and Report Writing | 22.2.1 | Requirement | Instruct in writing technically- and administratively-accurate reports for fiber examinations.
Interpretation and Report Writing | 22.2.1.1 | Informational Text | Refer to Practice E620 for additional guidance.
Interpretation and Report Writing | 22.2.2 | Requirement | Require the trainee to:
Interpretation and Report Writing | 22.2.2.1 | Requirement | Provide appropriate interpretations from analytical data.
Interpretation and Report Writing | 22.2.2.2 | Requirement | Understand and discuss the factors affecting analytical data.
Interpretation and Report Writing | 22.2.2.3 | Requirement | Understand and discuss the factors affecting the interpretation of analytical data.
Interpretation and Report Writing | 22.2.2.4 | Requirement | Understand and discuss the significance of fiber evidence.
Interpretation and Report Writing | 22.2.2.5 | Requirement | Understand the current literature on the formal application of statistics and be able to discuss when the use of statistics would or would not be appropriate for the interpretation of fiber evidence.
Interpretation and Report Writing | 22.2.2.6 | Requirement | Write analytical reports with appropriate results, interpretations, and limitations.
Interpretation and Report Writing | 22.2.3 | Requirement | Practical exercise for the trainee:
Interpretation and Report Writing | 22.2.3.1 | Requirement | Write practice reports on completed, technically-reviewed laboratory reports on fiber evidence.
Interpretation and Report Writing | 22.2.3.2 | Requirement | Write a report communicating the results and interpretations of previously-completed practical exercises.
Interpretation and Report Writing | 22.2.4 | Requirement | Evaluate by reviewing and discussing the trainee’s interpretations and practice case reports.
Interpretation and Report Writing | 22.3 | Section Title | Interpretive Exercise:
Interpretation and Report Writing | 22.3.1 | Requirement | Provide a number of mock cases for analysis, either composed of analytical data or simulated evidence. Simulated evidence is handled as evidence according to laboratory protocols.
Interpretation and Report Writing | 22.3.2 | Requirement | Require the trainee to prepare an analytical report for each case based on the provided or generated information.
Interpretation and Report Writing | 22.3.3 | Requirement | Evaluate and discuss the reports with the trainee.
Testimony and Competency | 23 | Section Title
Testimony and Competency | 23.1 | Section Title | Testimony:
Testimony and Competency | 23.1.1 | Recommendation | Observation of experienced FSPs testifying in court should be done as often as possible.
Testimony and Competency | 23.1.1.1 | Recommendation | Observations should include a variety of FSPs testifying on a range of offenses and examinations.
Testimony and Competency | 23.1.1.2 | Requirement | Determine the number and frequency of testimony observations based on the testimony experience of the trainee and the depth of the testimonies observed.
Testimony and Competency | 23.1.1.3 | Requirement | Discuss the courtroom experience after each observation. If available, review the testimony transcript with the trainee.
Testimony and Competency | 23.1.1.4 | Informational Text | Testimony observations may be supplemented with trial transcript or video-recorded testimony reviews when an adequate number of in-person testimony observations is logistically difficult for the laboratory.
Testimony and Competency | 23.1.2 | Requirement | Practical exercises for the trainee:
Testimony and Competency | 23.1.2.1 | Requirement | Observe general courtroom procedures, witness appearance and demeanor, and the presentation of technical or expert knowledge in testimony; document observations.
Testimony and Competency | 23.1.2.2 | Requirement | Prepare a list of suggested questions on a mock case.
Testimony and Competency | 23.1.2.3 | Requirement | Prepare a list of questions and answers for educating the court on forensic fiber analysis.
Testimony and Competency | 23.1.2.4 | Requirement | Prepare a presentation that addresses the admissibility of fiber evidence. Review and discuss with the trainer the documents and questions prepared.
Testimony and Competency | 23.2 | Section Title | Competency:
Testimony and Competency | 23.2.1 | Requirement | Evaluate the knowledge, skills, and abilities of the trainee in fiber examinations.
Testimony and Competency | 23.2.2 | Requirement | The trainee shall:
Testimony and Competency | 23.2.2.1 | Requirement | Complete a final, comprehensive, written or oral examination on fiber examinations;
Testimony and Competency | 23.2.2.2 | Requirement | Complete mock case(s) for evaluation of competency; and
Testimony and Competency | 23.2.2.3 | Requirement | Participate in a mock trial using one of the mock cases completed during training. An oral review can replace the mock trial if there is previous experience in this area.
Testimony and Competency | 23.2.3 | Requirement | The trainee’s ability to express themselves both orally and in writing is evaluated throughout the competency examination. All communications shall be accurate, clear, transparent, and scientifically supportable. Where appropriate (for example, mock trial), the information presented shall be in terms non-experts will understand.
Testimony and Competency | 23.2.4 | Requirement | In order to achieve competency, a trainee shall:
Testimony and Competency | 23.2.4.1 | Requirement | Receive a passing grade on the written examination;
Testimony and Competency | 23.2.4.2 | Requirement | Successfully complete the competency evaluation; and
Testimony and Competency | 23.2.4.3 | Requirement | Successfully complete the mock trial or oral review.
Testimony and Competency | 23.3 | Section Title | Supervised Casework:
Testimony and Competency | 23.3.1 | Requirement | Subsequent to achieving competency, but prior to performing independent casework, require the trainee to perform supervised casework.
Testimony and Competency | 23.3.2 | Requirement | Practical exercises for the trainee:
Testimony and Competency | 23.3.2.1 | Requirement | Observe (an) experienced FSP(s) perform fiber analysis casework.
Testimony and Competency | 23.3.2.2 | Requirement | Perform actual casework under the supervision of a qualified FSP.
Testimony and Competency | 23.3.3 | Requirement | Review, evaluate, and discuss the supervised casework with the trainee.
Testimony and Competency | 23.3.3.1 | Requirement | In order to achieve independency, a trainee shall have no technical errors and minimal administrative errors in the supervised casework, based on a determined number of cases completed.
Testimony and Competency | 23.4 | Section Title | Administrative and Technical Review:
Testimony and Competency | 23.4.1 | Requirement | Practical exercise:
Testimony and Competency | 23.4.1.1 | Requirement | Complete mock technical and administrative review exercises.
Testimony and Competency | 23.4.2 | Requirement | Review, evaluate, and discuss the mock reviews with the trainee.
Testimony and Competency | 23.4.3 | Requirement | In order to achieve competency in peer review, there shall be no technical errors and minimal administrative errors in mock review.
Note on C6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) – No Fill o Recommendation (e.g., “should”) – Light Blue Fill o Informational Text (e.g., “can”) – Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause type will include "cont'd".
Note on D6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Wording is entered as written in the standard and the cell is color-coded (fill) as listed below: o Section Title - Light Gray Fill o Requirement (e.g., “shall”) - No Fill o Recommendation (e.g., “should”) - Light Blue Fill o Informational Text (e.g., “can”) - Light Gray Fill If a clause, table or annex contains multiple categories of wording, the “highest rank” is chosen to determine the cell fill color. If the length of a clause exceeds the maximum row height, the clause wording will continue in the next row.
Note on E6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: List applicable management system documents and records that show implementation of/conformance to the Standard.
Note on F6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns G - J are set up as a Group that can collapse into a single column F. Column F will be automatically color coded to match the Implementation Status chosen in Column G to provide a quick visual overview of Implementation.
Note on G6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Implementation Status - Single choice; Standardized drop-down list; Cell fill color for visual & data filtering
Note on H6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list that is dependent on the Implementation Status
Note on I6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field to document an implementation plan or other implementation notes (e.g., the reasons for no further implementation of only partial implementation or a conflicting law that will not allow implementation).
Note on J6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Format = MM/DD/YY
Note on K6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Columns L - Q are set up as a Group that can collapse into a single column K. Column K will be automatically color coded to match the Audit Status chosen in Column N to provide a quick visual overview of Auditing.
Note on L6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open Text field for the auditor to list the management system documents and records reviewed, examinations witnessed, interviews conducted during the audit that support the Audit Status chosen
Note on M6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field for the auditor to enter information related to their review of the documents and records listed in column K as well as information obtained during witnessing or interviews.
Note on N6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Single choice; Standardized drop-down list; Color-coded for visual & data sorting. oStatus Choices: Not Applicable: The requirement is not applicable to the scope of work being audited Document Review: A review of management system documents for conformance to requirements Conforming: Conforms with the requirement Opportunity for Improvement: Opportunity exists to improve a conforming practice Nonconforming: Does not conform to the requirement Resolved Nonconformity: Steps taken have resulted in conforming to the requirement
Note on O6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on the Audit Status choice; Only used when Audit Status = Opportunity for Improvement; Enter the wording of the Opportunity
Note on P6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when Audit Status = Nonconforming; Enter the wording of the Nonconformance
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Open text field; Cell fill color is dependent on Audit Status choice; Only used when original Audit Status = Nonconforming; Auditor enters information related to how the nonconformance was brought into conformance and changes the Audit Status to Resolved Nonconformity.

## Lists
Discipline | Clause Type | Implementation Status | Not Applicable | Will Not Implement | Not Yet Reviewed | Not Yet Implemented | Partial Implementation | Full Implementation | Audit Status
Anthropology | Section Title | Not Applicable | Not within scope of accreditation | Insufficient Resources | Evaluation of standard is pending | Insufficient Resources | Working to Full Implementation | Not Applicable | Not Applicable
Biology/DNA | Requirement | Will Not Implement | Method/Equipment not used | Conflicts with applicable law or regulation |  | Developing document | No Further Implementation Planned |  | Document Review
Bloodstain Pattern Analysis | Recommendation | Not Yet Reviewed | Clause involves options; this option was not chosen | Disagrees with the provision |  | Requires method validation |  |  | Conforming
Crime Scene Investigation | Informational Text | Not Yet Implemented |  | Other |  | Other |  |  | Opportunity for Improvement
Digital Evidence | Requirement cont'd | Partial Implementation | [6 empty] | Nonconforming
Dogs & Sensors | Recommendation cont'd | Full Implementation | [6 empty] | Resolved Nonconformity
Facial Identification | Informational Text cont'd
Fire & Explosion Investigation
Fire Debris & Explosives
Firearms & Toolmarks
Footwear & Tire
Forensic Document Examination
Friction Ridge
Gunshot Residue Analysis
Interdisciplinary
Medicolegal Death Investigation
Odontology
Seized Drugs
Toxicology
Trace Evidence
Video/Imaging Technology & Analysis
Wildlife Forensics